## Sheet1
Bill of Quantity
Item | Description | Unit | Qty | Rate | Total
LP GAS
1 | Supply a steel cage to house 2 x 48 kg LP gas cylinders | ea | 1
2 | Supply pigtails | ea | 1
3 | Supply manifold isolating valves | ea | 2
4 | Supply steel manifold that corrossion restistant coating | ea | 1
5 | Supply Low pressure regulator for the manifold | ea | 1
6 | Supply brackets and chains to secure the cylinders | pair | 2
7 | Supply 4.5kg DCP fire extinguishers with mountng brackets | ea | 2
8 | Supply safety signs for the gas cage | sum | 1
9 | Supply pipe stickers indicating LGP and flow directions | sum | 1
10 | Supply 15mm class 1 copper pipe | m | 40
11 | Supply 15mm copper elbows | ea | 12
12 | Supply 15mm pipe mounting brackets | ea | 50
13 | Supply cable tray and supports including the associated locking, securing devices and mounting devices | sum | 1
14 | Supply LP gas isolating valve to isolate 15mm copper pipiline | ea | 1
15 | Supply LP gas regulator (0 - 600kpa) | ea | 1
16 | Supply all fittings | sum | 1
17 | Labour (installation, brazzing, issue COC, pressure testing, issue pressure test certificates) | sum | 1
NITROGEN
18 | Supply 12.7mm class 1 copper pipe | m | 25
19 | Supply class 1 copper T pieces | ea | 3
20 | Supply class 1 copper elbows | ea | 6
21 | Supply braided steel hoses to connect to the nitrogen gas bundle (pigtail) with the bull nose connection | ea | 1
22 | Supply mounting brackets to support 12.7mm copper pipe | ea | 20
23 | Supply pressure regular at point of use (0 - 1000kpa) | ea | 1
24 | Supply Isolating valve for a 12.7mm pipe | ea | 2
25 | Supply fittings to connect the copper pipe to the regulator | ea | 1
26 | Supply fittings to join copper pipe tand braided steel hose | ea | 1
27 | Labour (installation, brazzing, issue COC, pressure testing, issue pressure test certificates) | ea | 1
28 | Supply pipe stickers indicating nitrogen and flow directions | sum | 1
ARGON GAS
29 | Supply 12.7mm class 1 copper pipe | m | 25
30 | Supply class 1 copper T pieces | ea | 3
31 | Supply class 1 copper elbows | ea | 6
32 | Supply braided steel hoses to connect to the Argon gas bundle (pigtail) with the bull nose connection | ea | 1
33 | Supply mounting brackets to support 12.7mm copper pipe | ea | 20
34 | Supply pressure regular at point of use (0 - 1000kpa) | ea | 1
35 | Supply Isolating valve for a 12.7mm pipe | ea | 2
36 | Supply fittings to connect the copper pipe to the regulator | ea | 1
37 | Supply fittings to join copper pipe and braided steel hose | ea | 1
38 | Labour (installation, brazzing, issue COC, pressure testing, issue pressure test certificates) | ea | 1
39 | Supply pipe stickers indicating Argon and flow directions | sum | 1
REPAIRS ON EXISTING PIPELINES
40 | Labour | sum | 1
41 | Pressure testing and Issue a COC | sum | 1
Total
10 % Contingency
15% Vat
Grand Total