## Schedule
Rate=F | CSIR - ROSEBANK: DATA CENTER
<NewDataSet>· <xs:schema id="NewDataSet" xmlns="" xmlns:xs="http://www.w3.org/2001/XMLSchema" xmlns:msdata="urn:schemas-microsoft-com:xml-msdata">· <xs:element name="NewDataSet" msdata:IsDataSet="true" msdata:MainDataTable="SummaryItems" msdata:UseCurrentLocale="true">· <xs:complexType>· <xs:choice minOccurs="0" maxOccurs="unbounded">· <xs:element name="SummaryItems">· <xs:complexType>· <xs:sequence>· <xs:element name="ContractNo" type="xs:short" minOccurs="0" />· <xs:element name="ScheduleNo" type="xs:short" minOccurs="0" />· <xs:element name="SortNo" type="xs:short" minOccurs="0" />· <xs:element name="Item" type="xs:string" minOccurs="0" />· <xs:element name="SubTotalText" type="xs:string" minOccurs="0" />· <xs:element name="Description" type="xs:string" minOccurs="0" />· <xs:element name="CalcType" type="xs:string" minOccurs="0" />· <xs:element name="CalcValue" type="xs:double" minOccurs="0" />· <xs:element name="UseFirstSubTotal" type="xs:boolean" minOccurs="0" />· <xs:element name="ExclFromWorks" type="xs:boolean" minOccurs="0" />· <xs:element name="ExclFromProjected" type="xs:boolean" minOccurs="0" />· </xs:sequence>· </xs:complexType>· </xs:element>· </xs:choice>· </xs:complexType>· </xs:element>· </xs:schema>· <SummaryItems>· <ContractNo>1</ContractNo>· <ScheduleNo>0</ScheduleNo>· <SortNo>1</SortNo>· <Item>1</Item>· <Description>PLUS 10% CONTINGENCIES</Description>· <CalcType>%</CalcType>· <CalcValue>10</CalcValue>· <UseFirstSubTotal>false</UseFirstSubTotal>· <ExclFromWorks>false</ExclFromWorks>· <ExclFromProjected>false</ExclFromProjected>· </SummaryItems>· <SummaryItems>· <ContractNo>1</ContractNo>· <ScheduleNo>0</ScheduleNo>· <SortNo>2</SortNo>· <Item>2</Item>· <Description>PLUS 15% VAT </Description>· <CalcType>%</CalcType>· <CalcValue>15</CalcValue>· <UseFirstSubTotal>false</UseFirstSubTotal>· <ExclFromWorks>false</ExclFromWorks>· <ExclFromProjected>false</ExclFromProjected>· </SummaryItems>·</NewDataSet> | CONTRACT NO. 32874.00E-2026-01
BILL OF QUANTITIES
SECTION A: PRELIMINARY AND GENERAL: TIME, FIXED CHARGE, VALUE
| Item No | Description | Unit | Qty | Rate | Amount R
199 | A | TIME RELATED
200 | A1.1 | Allow for all TIME related items of the Principal Building Agreement as well as any special requirements relating to this sub-contract
201 |  | List all TIME related items as required - specify
202 | A1.1.1 | (a) | Sum | 1 | 0 | 0
203 | A1.1.2 | (b) | Sum | 1 | 0 | 0
204 | A1.1.3 | (c) | Sum | 1 | 0 | 0
205 | A1.1.4 | (d) | Sum | 1 | 0 | 0
206 | A1.2 | Fixed Charge Related
207 |  | Allow for all FIXED charge related items in terms of the Principal Building Agreement as well as any special requirements relating to this sub-contract
208 |  | List all FIXED charge related items as required - specify
209 | A1.2.1 | (a) | Sum | 1 | 0 | 0
210 | A1.2.2 | (b) | Sum | 1 | 0 | 0
211 | A1.2.3 | (c) | Sum | 1 | 0 | 0
212 | A1.2.4 | (d) | Sum | 1 | 0 | 0
213 | A1.3 | Value Related
214 |  | Allow for all VALUE related items in terms of the Principal Building Agreement as well as any special requirements relating to this sub-contract
215 |  | List all VALUE related items as required - specify
216 | A1.3.1 | (a) | Sum | 1 | 0 | 0
217 | A1.3.2 | (b) | Sum | 1 | 0 | 0
218 | A1.3.3 | (c) | Sum | 1 | 0 | 0
219 | A1.3.4 | (d) | Sum | 1 | 0 | 0
| Total Carried Forward To Summary |  |  |  |  | 0
1
CSIR - ROSEBANK: DATA CENTER
CONTRACT NO. 32874.00E-2026-01
BILL OF QUANTITIES
SECTION B1: DISTRIBUTION BOARDS
| Item No | Description | Unit | Qty | Rate | Amount R
220 | B1 | DISTRIBUTION BOARDS
221 | B1.1 | Supply, install, connect and commission the new distribution board in position as indicated on drawings. Complete with internal equipment, switchgear, wiring, trays, panels, labels, architraves, busbars and conductor connections. Equipment type to be ABB, Schneider, Häger or Eaton. DIN rail mounted. All control equipment, components, contactors and circuit breakers to be SANS approved. Installation is to comply to latest wiring code SANS 10142-1.
222 |  | Quote for supply and installation of the distribution board for Room 27 DB-1: Essential complete with frame architrave, panels, 30% spare capacity, internal busbars, wiring and switching equipment as per the single line diagram drawings.
223 | B1.1.1 | Supply | No | 1 | 0 | 0
224 | B1.1.2 | Install | No | 1 | 0 | 0
884 |  | Quote for supply and installation of the distribution board for Room 27 DB-1:UPSA, complete with frame architrave, panels, 30% spare capacity, internal busbars, wiring and switching equipment as per the single line diagram drawings.
885 | B1.1.3 | Supply | No | 1 | 0 | 0
886 | B1.1.4 | Install | No | 1 | 0 | 0
1277 |  | Quote for supply and installation of the distribution board for Room 27 DB-1: UPS B, complete with frame architrave, panels, 30% capacity, internal busbards, woring and switching equipment as per the singe line diagram drawings.
1278 | B1.1.5 | Supply | No | 1 | 0 | 0
1279 | B1.1.6 | Install | No | 1 | 0 | 0
1522 |  | Quote for supply and instllation of the distributuion board for Room 27 DB-2: UPS A, complete with frame architrave, panels, 30% spare capacity, internal bubars, wiring and switching equipment as pe the singe lne diagram drawings.
1523 | B1.1.7 | Supply | No | 1 | 0 | 0
1524 | B1.1.8 | Install | No | 1 | 0 | 0
1525 |  | Quote for supply and installation of the distribution boards for Room 27 - DB - 2: UPS B, complete with frame architrave, panels, 30% spare capacity, internal busbars, wiring and switching equipment as per the singel line diangram drawings.
1526 | B1.1.9 | Supply | No | 1 | 0 | 0
1527 | B1.1.10 | Install | No | 1 | 0 | 0
1528 |  | Quote for supply and installation of the distribution board for Room 31 DB-1: Essential, complete with frame architrave, panels, 30% spare capacity, internal busbards, wiring and switching equipment as per the singe line diagram drawings.
| Total Carried Forward |  |  |  |  | 0
2
CSIR - ROSEBANK: DATA CENTER
CONTRACT NO. 32874.00E-2026-01
BILL OF QUANTITIES
SECTION B1: DISTRIBUTION BOARDS
| Item No | Description | Unit | Qty | Rate | Amount R
| Brought Forward |  |  |  |  | 0
1529 | B1.1.11 | Supply | No | 1 | 0 | 0
1530 | B1.1.12 | Install | No | 1 | 0 | 0
1531 |  | Quote for supply and installation of the distribution board for Room 31 DB-1: UPSA, complete with frame architrave, panels, 30% spare capacity, internal busbards, wiring and switching equipment as per the singe line diagram drawings.
1926 | B1.1.13 | Supply | No | 1 | 0 | 0
1928 | B1.1.14 | Install | No | 1 | 0 | 0
1927 |  | Quote for supply and installation of the distribution board for Room 31 DB 1 UPS B, complete with frame architrave, panels, 30% spare capacity, internal busbars, woring and switching equipment as per the singe line diagram drawings.
1929 | B1.1.15 | Supply | No | 1 | 0 | 0
1930 | B1.1.16 | Install | No | 1 | 0 | 0
1931 |  | Quote for upgrade of the existing distribution board for existing DB-A as per the singe line diagram drawings.
1532 | B1.1.17 | Supply | No | 1 | 0 | 0
1533 | B1.1.18 | Install | No | 1 | 0 | 0
1534 |  | Quote for upgrade of the existing distribution board for existing DB-B as per the singe line diagram drawings.
1535 | B1.1.19 | Supply | No | 1 | 0 | 0
1536 | B1.1.20 | Install | No | 1 | 0 | 0
| Total Carried Forward To Summary |  |  |  |  | 0
3
CSIR - ROSEBANK: DATA CENTER
CONTRACT NO. 32874.00E-2026-01
BILL OF QUANTITIES
SECTION B2: WIREWAYS, CONDUIT & ACCESSORIES
| Item No | Description | Unit | Qty | Rate | Amount R
227 | B2 | CONDUIT AND ACCESSORIES
228 | B2.1 | Conduit
229 |  | Supply and install, including bends, saddles, wastes and all accessories
230 |  | Galvanised type:
234 |  | 25mm diameter conduit
235 | B2.1.1 | Supply | m | 100 | 0 | 0
236 | B2.1.2 | Install | m | 100 | 0 | 0
237 |  | 20 mm diameter conduit
238 | B2.1.3 | Supply | m | 1 | 0 | Rate Only
239 | B2.1.4 | Install | m | 1 | 0 | Rate Only
240 |  | PVC type
244 |  | 25 mm diameter conduit
245 | B2.1.5 | Supply | m | 100 | 0 | 0
246 | B2.1.6 | Install | m | 100 | 0 | 0
247 |  | 20 mm diameter conduit
248 | B2.1.7 | Supply | m | 100 | 0 | 0
249 | B2.1.8 | Install | m | 100 | 0 | 0
250 | B2.2 | Draw Boxes
251 |  | Supply and install the following conduit boxes, complete with conduit connected.
252 |  | Rectangular Galvanised type:
253 |  | 100 mm x 100 mm x 50 mm
254 | B2.2.1 | Supply | No | 1 | 0 | Rate Only
255 | B2.2.2 | Install | No | 1 | 0 | Rate Only
256 |  | 100 mm x 50 mm x 50 mm
257 | B2.2.3 | Supply | No | 50 | 0 | 0
258 | B2.2.4 | Install | No | 50 | 0 | 0
| Total Carried Forward |  |  |  |  | 0
4
CSIR - ROSEBANK: DATA CENTER
CONTRACT NO. 32874.00E-2026-01
BILL OF QUANTITIES
SECTION B2: WIREWAYS, CONDUIT & ACCESSORIES
| Item No | Description | Unit | Qty | Rate | Amount R
| Brought Forward |  |  |  |  | 0
901 |  | Ø50 mm Round x 50 mm deep round galvanised box
902 | B2.2.5 | Supply | No | 50 | 0 | 0
903 | B2.2.6 | Install | No | 50 | 0 | 0
259 |  | Retangular PVC type:
260 |  | 100 mm x 100 mm x 50 mm
261 | B2.2.7 | Supply | No | 10 | 0 | 0
262 | B2.2.8 | Install | No | 10 | 0 | 0
263 |  | 100 mm x 50 mm x 50 mm
264 | B2.2.9 | Supply | No | 20 | 0 | 0
265 | B2.2.10 | Install | No | 20 | 0 | 0
904 |  | Ø50 mm Round x 50 mm deep round box
905 | B2.2.11 | Supply | No | 40 | 0 | 0
906 | B2.2.12 | Install | No | 40 | 0 | 0
266 | B2.3 | Cable Ladder
267 |  | Galvanised heavy duty metal cable ladder complete with all accessories. To be O-line, Cabstrut or similar approved. Running length shall include component of horizontal elbows, internal elbows, external elbows, end caps and T-junctions. Suspended fixing with 10mm threaded bars and horizontal channel to be included at maximum distance of 1500mm.
268 |  | 300 mm wide cable ladder
269 | B2.3.1 | Supply | m | 40 | 0 | 0
270 | B2.3.2 | Installed inside trenching | m | 40 | 0 | 0
274 | B2.4 | Cable Tray
275 |  | Galvanised perforated medium duty metal cable tray complete with all accessories. To be O-line, Cabstrut or similar approved. Running length shall include component of horizontal, internal, external bends and T-junctions. Suspended fixing with 10mm threaded bars and horizontal channel to be included at maximum distance of 1500mm.
| Total Carried Forward |  |  |  |  | 0
5
CSIR - ROSEBANK: DATA CENTER
CONTRACT NO. 32874.00E-2026-01
BILL OF QUANTITIES
SECTION B2: WIREWAYS, CONDUIT & ACCESSORIES
| Item No | Description | Unit | Qty | Rate | Amount R
| Brought Forward |  |  |  |  | 0
1361 |  | 100 mm wide medium duty cable tray with suspension brackets.
1362 | B2.4.1 | Supply | m | 40 | 0 | 0
1363 | B2.4.2 | Install | m | 40 | 0 | 0
276 |  | 300 mm wide medium duty cable tray with suspension brackets.
277 | B2.4.3 | Supply | m | 40 | 0 | 0
278 | B2.4.4 | Install | m | 40 | 0 | 0
285 |  | 300 mm wide medium duty perforated cable tray installed in floor
286 | B2.4.5 | Supply | m | 220 | 0 | 0
287 | B2.4.6 | Install | m | 220 | 0 | 0
295 | B2.5 | Cable Ducting
296 |  | Galvanised wiring ducting complete with all joints and accessories. To be O-line, Cabstrut or similar approved. Running length shall include component of horizontal elbows, internal elbows, external elbows, end caps and T-junctions. No sharp bends shall be accepted-all elbows shall have sufficient bending radi for wiring. Installation shall include suspension items including 10mm threaded rod, horizontal channel and all accessories.
1065 |  | 76 mm x 76 mm (OL8000/P8000) wiring ducting with covers.
1066 | B2.5.1 | Supply | m | 1 | 0 | Rate Only
1067 | B2.5.2 | Install | m | 1 | 0 | Rate Only
| Total Carried Forward To Summary |  |  |  |  | 0
6
CSIR - ROSEBANK: DATA CENTER
CONTRACT NO. 32874.00E-2026-01
BILL OF QUANTITIES
SECTION B3: LIGHTING, INSTALLATION AND LIGHT FITTINGS
| Item No | Description | Unit | Qty | Rate | Amount R
312 | B3 | LIGHT FITTINGS
313 | B3.1 | Supply and install, including all switchgear, starters, ballasts etc. All fittings are to bare the SANS Mark or SANS Mark of Compliance.
314 |  | Type F1: Vapour proof enclosed light fitting with 27W LED. Beka Vapourline; 4000K; IP66 rated. As per Beka Vapourline JBLS 1200 or better approved.
315 | B3.1.1 | Supply | No | 10 | 0 | 0
316 | B3.1.2 | Install | No | 10 | 0 | 0
1280 | B3.2 | Light Switches and Accessories
1281 |  | Supply and install light switches complete with cover plates connecting to wiring and fitted in switch box. Each light switch installation shall be conduited
1282 |  | 16A one lever one way switch inside 100mm x 50mm x 50mm PVC box
1287 | B3.2.1 | Supply | No | 2 | 0 | 0
1288 | B3.2.2 | Install | No | 2 | 0 | 0
| Total Carried Forward To Summary |  |  |  |  | 0
7
CSIR - ROSEBANK: DATA CENTER
CONTRACT NO. 32874.00E-2026-01
BILL OF QUANTITIES
SECTION B4: POWER OUTLET POINTS
| Item No | Description | Unit | Qty | Rate | Amount R
347 | B4 | POWER POINT OUTLETS
348 | B4.1 | Supply and install switched socket outlets complete with cover plates connecting to wiring and installed in boxes. Switches, socket outlets and coverplates to be Crabtree Diamond Range.
355 |  | Double "Combination" 16A 3-pin switched socket outlets installed in 4x4 box. (SANS 164-1 and 1x SANS 164.2).
356 | B4.1.1 | Supply | No | 4 | 0 | 0
357 | B4.1.2 | Install | No | 4 | 0 | 0
| Total Carried Forward To Summary |  |  |  |  | 0
8
CSIR - ROSEBANK: DATA CENTER
CONTRACT NO. 32874.00E-2026-01
BILL OF QUANTITIES
SECTION B5: ISOLATORS AND POWER SUPPLY
| Item No | Description | Unit | Qty | Rate | Amount R
371 | B5 | ISOLATORS
372 |  | Supply and install weather proof surface mount isolators as amended in the SANS 10142 specification for maintenance purposes of mechanical and other equipment
376 |  | 60A, 5 Wire (3P+N+E)
377 | B5.1 | Supply | No | 38 | 0 | 0
378 | B5.2 | Install | No | 38 | 0 | 0
379 |  | 32A, 5 Wire (3P+N+E)
380 | B5.3 | Supply | No | 20 | 0 | 0
381 | B5.4 | Install | No | 20 | 0 | 0
382 |  | 32A Triple pole
383 | B5.5 | Supply | No | 4 | 0 | 0
384 | B5.6 | Install | No | 4 | 0 | 0
385 |  | Supply and install surface mounted isolators as amended in the SANS 10142 specification for maintenance purposes of mechanical and other equipment
389 |  | 60A triple pole
390 | B5.7 | Supply | No | 4 | 0 | 0
391 | B5.8 | Install | No | 4 | 0 | 0
392 |  | 60A double pole
393 | B5.9 | Supply | No | 1 | 0 | Rate Only
394 | B5.10 | Install | No | 1 | 0 | Rate Only
| Total Carried Forward To Summary |  |  |  |  | 0
9
CSIR - ROSEBANK: DATA CENTER
CONTRACT NO. 32874.00E-2026-01
BILL OF QUANTITIES
SECTION B6: CABLES, WIRING AND EARTHWIRE
| Item No | Description | Unit | Qty | Rate | Amount R
429 | B6 | CABLES, WIRING AND EARTHWIRE
430 | B6.1 | Supply and install the following armoured PVC sheathed copper LT cables including glands, shroud, lugs, clamping, supports and accessories. NOTE: For ordering of cables, measurement shall NOT be taken from this bill. Actual cable lengths shall be measured on site for ordering and installation purposes.
458 |  | 95 mm² x 4 core cable
459 | B6.1.2 | Supply | m | 1800 | 0 | 0
460 | B6.1.3 | Install | m | 1800 | 0 | 0
1210 |  | 70 mm² x 4 core cable
1211 | B6.1.4 | Supply | m | 1 | 0 | Rate Only
1212 | B6.1.5 | Install | m | 1 | 0 | Rate Only
1300 |  | 16 mm² x 4 core cable
1301 | B6.1.6 | Supply | m | 1400 | 0 | 0
1302 | B6.1.7 | Install | m | 1400 | 0 | 0
1303 |  | 10 mm² x 4 core cable
1304 | B6.1.8 | Supply | m | 1 | 0 | Rate Only
1305 | B6.1.9 | Install | m | 1 | 0 | Rate Only
1207 |  | 6 mm² x 4 core cable
1208 | B6.1.10 | Supply | m | 1000 | 0 | 0
1209 | B6.1.11 | Install | m | 1000 | 0 | 0
461 |  | 4 mm² x 4 core cable
462 | B6.1.12 | Supply | m | 1 | 0 | Rate Only
463 | B6.1.13 | Install | m | 1 | 0 | Rate Only
999 | B6.2 | Cable Terminations
1003 |  | Cable terminations on both sides from supply to load for various cable ranges. Each termination point is measured seperately.
1000 | B6.2.1 | Cable Range: 50 mm² ≤ χ ≤ 95 mm² | No | 38 | 0 | 0
1025 | B6.2.2 | Cable Range: 16 mm² ≤ χ ≤ 35 mm² | No | 100 | 0 | 0
| Total Carried Forward |  |  |  |  | 0
10
CSIR - ROSEBANK: DATA CENTER
CONTRACT NO. 32874.00E-2026-01
BILL OF QUANTITIES
SECTION B6: CABLES, WIRING AND EARTHWIRE
| Item No | Description | Unit | Qty | Rate | Amount R
| Brought Forward |  |  |  |  | 0
474 | B6.3 | Wiring and Earth Wiring
475 |  | Supply and install conductors in wire ways (including off-cuts and wastes).
476 |  | PVC insulated conductors installed in conduits or wire trunking.
483 |  | 70 mm²
1228 | B6.3.1 | Supply | m | 1800 | 0 | 0
1229 | B6.3.2 | Install | m | 1800 | 0 | 0
486 |  | 50 mm²
1226 | B6.3.3 | Supply | m | 1 | 0 | Rate Only
1227 | B6.3.4 | Install | m | 1 | 0 | Rate Only
489 |  | 16 mm²
490 | B6.3.5 | Supply | m | 1 | 0 | Rate Only
491 | B6.3.6 | Install | m | 1 | 0 | Rate Only
492 |  | 10 mm²
1230 | B6.3.7 | Supply | m | 1400 | 0 | 0
1231 | B6.3.8 | Install | m | 1400 | 0 | 0
495 |  | 6 mm²
496 | B6.3.9 | Supply | m | 1 | 0 | Rate Only
497 | B6.3.10 | Install | m | 1 | 0 | Rate Only
498 |  | 4 mm²
499 | B6.3.11 | Supply | m | 1000 | 0 | 0
500 | B6.3.12 | Install | m | 1000 | 0 | 0
501 |  | 2.5 mm²
502 | B6.3.13 | Supply | m | 200 | 0 | 0
503 | B6.3.14 | Install | m | 200 | 0 | 0
504 |  | 1.5 mm²
505 | B6.3.15 | Supply | m | 200 | 0 | 0
506 | B6.3.16 | Install | m | 200 | 0 | 0
| Total Carried Forward To Summary |  |  |  |  | 0
11
CSIR - ROSEBANK: DATA CENTER
CONTRACT NO. 32874.00E-2026-01
BILL OF QUANTITIES
ADDITIONAL SERVICES
| Item No | Description | Unit | Qty | Rate | Amount R
1622 | B7 | ADDITIONAL SERVICES
1623 |  | EARTH MAT
1624 |  | Supply and install a Earth Mat system located beneath the raised access floor, including: Grid: 70mm² bare copper conductor laid in a 400 x 400mm grid pattern. Connections: All grid intersections to be exothermically welded (e.g CAD-weld) or joined via high compression "cross-connect" clamps. Bonding: Provision and installation of 16mm² flexible copper braids to bond every (4th) floor pedestal to the grid. Terminations: Supply of 35mm² green/yellow insulated "tail-outs" (2m length) for connection to server racks/PDUs, including heavy-duty compression lugs. Integration: Conection of the grid to the main Data Cnetre Earth Bar and/*or building structural steel using 95mm² copper conductors. Compliance: Testing and commissioning to ensure Earth Loop Impedance is <1ohm, including the provision of certified test results and As-Built drawings.
1625 | B7.1 | Earth Mat for Room 27 | m² | 30 | 0 | 0
1626 | B7.2 | Earth Mat for Room 31 | m² | 40 | 0 | 0
1942 | B7.3 | Earth Mat for Data Center | m² | 130 | 0 | 0
| Total Carried Forward To Summary |  |  |  |  | 0
12
CSIR - ROSEBANK: DATA CENTER
CONTRACT NO. 32874.00E-2026-01
BILL OF QUANTITIES
SECTION B8: ADDITIONAL ELECTRICAL SERVICES
| Item No | Description | Unit | Qty | Rate | Amount R
516 | B8 | ADDITIONAL
532 | B8.1 | Sub-Distribution Board Equipment
533 |  | Quote for supply and installation of the following distribution board equipment as specified below.
534 |  | Note: Rates are applicable to switchboard manufacturers and changes by the electrician on site.
1249 |  | 400A TP 15kA MCCB
1250 | B8.1.1 | Supply | No | 1 | 0 | Rate Only
1251 | B8.1.2 | Install | No | 1 | 0 | Rate Only
559 |  | 60A TP 5kA CB
560 | B8.1.3 | Supply | No | 1 |  | Rate Only
561 | B8.1.4 | Install | No | 1 |  | Rate Only
562 |  | 40A TP 5kA CB
563 | B8.1.5 | Supply | No | 1 |  | Rate Only
564 | B8.1.6 | Install | No | 1 |  | Rate Only
565 |  | 20A TP 5kA CB
566 | B8.1.7 | Supply | No | 1 |  | Rate Only
567 | B8.1.8 | Install | No | 1 |  | Rate Only
568 |  | 60A SP 5kA CB
569 | B8.1.9 | Supply | No | 1 |  | Rate Only
570 | B8.1.10 | Install | No | 1 |  | Rate Only
571 |  | 40A SP 5kA CB
572 | B8.1.11 | Supply | No | 1 |  | Rate Only
573 | B8.1.12 | Install | No | 1 |  | Rate Only
574 |  | 30A SP 5kA CB
575 | B8.1.13 | Supply | No | 1 |  | Rate Only
576 | B8.1.14 | Install | No | 1 |  | Rate Only
577 |  | 20A SP 5kA CB
578 | B8.1.15 | Supply | No | 1 |  | Rate Only
579 | B8.1.16 | Install | No | 1 |  | Rate Only
| Total Carried Forward |  |  |  |  | 0
13
CSIR - ROSEBANK: DATA CENTER
CONTRACT NO. 32874.00E-2026-01
BILL OF QUANTITIES
SECTION B8: ADDITIONAL ELECTRICAL SERVICES
| Item No | Description | Unit | Qty | Rate | Amount R
| Brought Forward |  |  |  |  | 0
580 |  | 16A SP 5kA CB
581 | B8.1.17 | Supply | No | 1 |  | Rate Only
582 | B8.1.18 | Install | No | 1 |  | Rate Only
583 |  | 63A earth leakage protection device 1+N
584 | B8.1.19 | Supply | No | 1 |  | Rate Only
585 | B8.1.20 | Install | No | 1 |  | Rate Only
| Total Carried Forward To Summary |  |  |  |  | 0
14
CSIR - ROSEBANK: DATA CENTER
CONTRACT NO. 32874.00E-2026-01
BILL OF QUANTITIES
SECTION B9: ELECTRICAL SERVICES - COMPLETION
| Item No | Description | Unit | Qty | Rate | Amount R
586 | B9 | ELECTRICAL SERVICES - COMPLETION
587 |  | Test and Commission
588 | B9.1 | Test and commission entire electrical installation as required by SANS: 10142 requirements and issue the COC's. Issue COC's for entire electrical installation under this contract. | Sum | 1 | 0 | 0
589 |  | Maintenance
590 | B9.2 | Provision of full maintenance of all electrical equipment and installation for the full period of 12 months/1 year of the maintenance period. The maintenance period starts on the practical completion. | Sum | 1 | 0 | 0
1267 | B9.3 | Any training to client and staff as stipulated. | Sum | 1 | 0 | 0
591 | B9.4 | Update and prepare "As Built" drawings | Item | 1 | 0 | 0
592 | B11.5 | Supply complete operating manuals of entire electrical installation | Item | 4 | 0 | 0
| Total Carried Forward To Summary |  |  |  |  | 0
15
CSIR - ROSEBANK: DATA CENTER
CONTRACT NO. 32874.00E-2026-01
BILL OF QUANTITIES
SUMMARY OF SECTIONS
| SECTION | DESCRIPTION |  |  |  | Amount R
| A1 | SECTION A: PRELIMINARY AND GENERAL: TIME, FIXED CHARGE, VALUE |  |  |  | 0
| B1 | SECTION B1: DISTRIBUTION BOARDS |  |  |  | 0
| B2 | SECTION B2: WIREWAYS, CONDUIT & ACCESSORIES |  |  |  | 0
| B3 | SECTION B3: LIGHTING, INSTALLATION AND LIGHT FITTINGS |  |  |  | 0
| B4 | SECTION B4: POWER OUTLET POINTS |  |  |  | 0
| B5 | SECTION B5: ISOLATORS AND POWER SUPPLY |  |  |  | 0
| B6 | SECTION B6: CABLES, WIRING AND EARTHWIRE |  |  |  | 0
| 8 | SECTION B7: ADDITIONAL SERVICES |  |  |  | 0
| B10 | SECTION B8: ADDITIONAL ELECTRICAL SERVICES |  |  |  | 0
| B11 | SECTION B9: ELECTRICAL SERVICES - COMPLETION |  |  |  | 0
| Total Carried Forward To Summary Of Schedules |  |  |  |  | 0
16
Note on A1: Item¦Description¦Unit¦Qty¦Rate¦Amount§1¦CSIR - ROSEBANK: UPS AND GENERATOR BUILDING §1¦BILL OF QUANTITIES§SECTION A: PRELIMINARY AND GENERAL: TIME, FIXED CHARGE, VALUE¦SECTION B1: DISTRIBUTION BOARDS¦SECTION B2: WIREWAYS, CONDUIT & ACCESSORIES¦SECTION B3: LIGHTING, INSTALLATION AND LIGHT FITTINGS¦SECTION B4: POWER OUTLET POINTS¦SECTION B5: ISOLATORS AND POWER SUPPLY¦SECTION B6: CABLES, WIRING AND EARTHWIRE¦SECTION B7: ADDITIONAL SERVICES¦SECTION B8: ADDITIONAL ELECTRICAL SERVICES ¦SECTION B9: ELECTRICAL SERVICES - COMPLETION
Note on A7: ¦1¦1¦1¦1¦0¦Null§SubSection
Note on A9: ¦1¦1¦1¦2¦0¦Null§SubSection
Note on A11: ¦1¦1¦1¦3¦0¦Null§
Note on A13: ¦1¦1¦1¦4¦0¦Null§
Note on A15: ¦1¦1¦1¦5¦0¦Null§
Note on A17: ¦1¦1¦1¦6¦0¦Null§
Note on A19: ¦1¦1¦1¦7¦0¦Null§
Note on A21: ¦1¦1¦1¦8¦0¦Null§SubSection
Note on A23: ¦1¦1¦1¦9¦0¦Null§
Note on A25: ¦1¦1¦1¦10¦0¦Null§
Note on A27: ¦1¦1¦1¦11¦0¦Null§
Note on A29: ¦1¦1¦1¦12¦0¦Null§
Note on A31: ¦1¦1¦1¦13¦0¦Null§
Note on A33: ¦1¦1¦1¦14¦0¦Null§
Note on A35: ¦1¦1¦1¦15¦0¦Null§SubSection
Note on A37: ¦1¦1¦1¦16¦0¦Null§
Note on A39: ¦1¦1¦1¦17¦0¦Null§
Note on A41: ¦1¦1¦1¦18¦0¦Null§
Note on A43: ¦1¦1¦1¦19¦0¦Null§
Note on A45: ¦1¦1¦1¦20¦0¦Null§
Note on A47: ¦1¦1¦1¦21¦0¦Null§
Note on A73: ¦1¦1¦2¦1¦0¦Null§SubSection
Note on A75: ¦1¦1¦2¦2¦0¦Null§SubSection
Note on A77: ¦1¦1¦2¦3¦0¦Null§
Note on A79: ¦1¦1¦2¦4¦0¦Null§
Note on A81: ¦1¦1¦2¦5¦0¦Null§
Note on A83: ¦1¦1¦2¦6¦0¦Null§
Note on A85: ¦1¦1¦2¦7¦0¦Null§
Note on A87: ¦1¦1¦2¦8¦0¦Null§
Note on A89: ¦1¦1¦2¦9¦0¦Null§
Note on A91: ¦1¦1¦2¦10¦0¦Null§
Note on A93: ¦1¦1¦2¦11¦0¦Null§
Note on A95: ¦1¦1¦2¦12¦0¦Null§
Note on A97: ¦1¦1¦2¦13¦0¦Null§
Note on A99: ¦1¦1¦2¦14¦0¦Null§
Note on A101: ¦1¦1¦2¦15¦0¦Null§
Note on A103: ¦1¦1¦2¦16¦0¦Null§
Note on A105: ¦1¦1¦2¦17¦0¦Null§
Note on A107: ¦1¦1¦2¦18¦0¦Null§
Note on A117: ¦1¦1¦2¦19¦0¦Null§
Note on A119: ¦1¦1¦2¦20¦0¦Null§
Note on A121: ¦1¦1¦2¦21¦0¦Null§
Note on A123: ¦1¦1¦2¦22¦0¦Null§
Note on A125: ¦1¦1¦2¦23¦0¦Null§
Note on A127: ¦1¦1¦2¦24¦0¦Null§
Note on A129: ¦1¦1¦2¦25¦0¦Null§
Note on A131: ¦1¦1¦2¦26¦0¦Null§
Note on A133: ¦1¦1¦2¦27¦0¦Null§
Note on A135: ¦1¦1¦2¦28¦0¦Null§
Note on A137: ¦1¦1¦2¦29¦0¦Null§
Note on A139: ¦1¦1¦2¦30¦0¦Null§
Note on A141: ¦1¦1¦2¦31¦0¦Null§
Note on A143: ¦1¦1¦2¦32¦0¦Null§
Note on A179: ¦1¦1¦3¦1¦0¦Null§SubSection
Note on A181: ¦1¦1¦3¦2¦0¦Null§SubSection
Note on A183: ¦1¦1¦3¦3¦0¦Null§
Note on A185: ¦1¦1¦3¦4¦0¦Null§
Note on A187: ¦1¦1¦3¦5¦0¦Null§
Note on A189: ¦1¦1¦3¦6¦0¦Null§
Note on A191: ¦1¦1¦3¦7¦0¦Null§
Note on A193: ¦1¦1¦3¦8¦0¦Null§
Note on A195: ¦1¦1¦3¦9¦0¦Null§RateOnly
Note on A197: ¦1¦1¦3¦10¦0¦Null§RateOnly
Note on A199: ¦1¦1¦3¦11¦0¦Null§
Note on A201: ¦1¦1¦3¦12¦0¦Null§
Note on A203: ¦1¦1¦3¦13¦0¦Null§
Note on A205: ¦1¦1¦3¦14¦0¦Null§
Note on A207: ¦1¦1¦3¦15¦0¦Null§
Note on A209: ¦1¦1¦3¦16¦0¦Null§
Note on A211: ¦1¦1¦3¦17¦0¦Null§
Note on A213: ¦1¦1¦3¦18¦0¦Null§SubSection
Note on A215: ¦1¦1¦3¦19¦0¦Null§
Note on A217: ¦1¦1¦3¦20¦0¦Null§
Note on A219: ¦1¦1¦3¦21¦0¦Null§
Note on A221: ¦1¦1¦3¦22¦0¦Null§RateOnly
Note on A223: ¦1¦1¦3¦23¦0¦Null§RateOnly
Note on A225: ¦1¦1¦3¦24¦0¦Null§
Note on A227: ¦1¦1¦3¦25¦0¦Null§
Note on A229: ¦1¦1¦3¦26¦0¦Null§
Note on A250: ¦1¦1¦3¦27¦0¦Null§NewPage
Note on A252: ¦1¦1¦3¦28¦0¦Null§
Note on A254: ¦1¦1¦3¦29¦0¦Null§
Note on A256: ¦1¦1¦3¦30¦0¦Null§
Note on A258: ¦1¦1¦3¦31¦0¦Null§
Note on A260: ¦1¦1¦3¦32¦0¦Null§
Note on A262: ¦1¦1¦3¦33¦0¦Null§
Note on A264: ¦1¦1¦3¦34¦0¦Null§
Note on A266: ¦1¦1¦3¦35¦0¦Null§
Note on A268: ¦1¦1¦3¦36¦0¦Null§
Note on A270: ¦1¦1¦3¦37¦0¦Null§
Note on A272: ¦1¦1¦3¦38¦0¦Null§
Note on A274: ¦1¦1¦3¦39¦0¦Null§
Note on A276: ¦1¦1¦3¦40¦0¦Null§SubSection
Note on A278: ¦1¦1¦3¦41¦0¦Null§
Note on A280: ¦1¦1¦3¦42¦0¦Null§
Note on A282: ¦1¦1¦3¦43¦0¦Null§
Note on A284: ¦1¦1¦3¦44¦0¦Null§
Note on A286: ¦1¦1¦3¦45¦0¦Null§SubSection
Note on A288: ¦1¦1¦3¦46¦0¦Null§
Note on A311: ¦1¦1¦3¦47¦0¦Null§NewPage
Note on A313: ¦1¦1¦3¦48¦0¦Null§
Note on A315: ¦1¦1¦3¦49¦0¦Null§
Note on A317: ¦1¦1¦3¦50¦0¦Null§
Note on A319: ¦1¦1¦3¦51¦0¦Null§
Note on A321: ¦1¦1¦3¦52¦0¦Null§
Note on A323: ¦1¦1¦3¦53¦0¦Null§
Note on A325: ¦1¦1¦3¦54¦0¦Null§
Note on A327: ¦1¦1¦3¦55¦0¦Null§
Note on A329: ¦1¦1¦3¦56¦0¦Null§SubSection
Note on A331: ¦1¦1¦3¦57¦0¦Null§
Note on A333: ¦1¦1¦3¦58¦0¦Null§
Note on A335: ¦1¦1¦3¦59¦0¦Null§RateOnly
Note on A337: ¦1¦1¦3¦60¦0¦Null§RateOnly
Note on A372: ¦1¦1¦4¦1¦0¦Null§SubSection
Note on A374: ¦1¦1¦4¦2¦0¦Null§SubSection
Note on A376: ¦1¦1¦4¦3¦0¦Null§
Note on A378: ¦1¦1¦4¦4¦0¦Null§
Note on A380: ¦1¦1¦4¦5¦0¦Null§
Note on A382: ¦1¦1¦4¦6¦0¦Null§SubSection
Note on A384: ¦1¦1¦4¦7¦0¦Null§
Note on A386: ¦1¦1¦4¦8¦0¦Null§
Note on A388: ¦1¦1¦4¦9¦0¦Null§
Note on A390: ¦1¦1¦4¦10¦0¦Null§
Note on A437: ¦1¦1¦5¦1¦0¦Null§SubSection
Note on A439: ¦1¦1¦5¦2¦0¦Null§SubSection
Note on A441: ¦1¦1¦5¦3¦0¦Null§
Note on A443: ¦1¦1¦5¦4¦0¦Null§
Note on A445: ¦1¦1¦5¦5¦0¦Null§
Note on A505: ¦1¦1¦6¦1¦0¦Null§SubSection
Note on A507: ¦1¦1¦6¦2¦0¦Null§
Note on A509: ¦1¦1¦6¦3¦0¦Null§
Note on A511: ¦1¦1¦6¦4¦0¦Null§
Note on A513: ¦1¦1¦6¦5¦0¦Null§
Note on A515: ¦1¦1¦6¦6¦0¦Null§
Note on A517: ¦1¦1¦6¦7¦0¦Null§
Note on A519: ¦1¦1¦6¦8¦0¦Null§
Note on A521: ¦1¦1¦6¦9¦0¦Null§
Note on A523: ¦1¦1¦6¦10¦0¦Null§
Note on A525: ¦1¦1¦6¦11¦0¦Null§
Note on A527: ¦1¦1¦6¦12¦0¦Null§
Note on A529: ¦1¦1¦6¦13¦0¦Null§
Note on A531: ¦1¦1¦6¦14¦0¦Null§
Note on A533: ¦1¦1¦6¦15¦0¦Null§
Note on A535: ¦1¦1¦6¦16¦0¦Null§
Note on A537: ¦1¦1¦6¦17¦0¦Null§RateOnly
Note on A539: ¦1¦1¦6¦18¦0¦Null§RateOnly
Note on A572: ¦1¦1¦7¦1¦0¦Null§SubSection
Note on A574: ¦1¦1¦7¦2¦0¦Null§SubSection
Note on A576: ¦1¦1¦7¦3¦0¦Null§
Note on A578: ¦1¦1¦7¦4¦0¦Null§
Note on A580: ¦1¦1¦7¦5¦0¦Null§
Note on A582: ¦1¦1¦7¦6¦0¦Null§
Note on A584: ¦1¦1¦7¦7¦0¦Null§RateOnly
Note on A586: ¦1¦1¦7¦8¦0¦Null§RateOnly
Note on A588: ¦1¦1¦7¦9¦1¦Null§
Note on A590: ¦1¦1¦7¦10¦0¦Null§
Note on A592: ¦1¦1¦7¦11¦0¦Null§
Note on A594: ¦1¦1¦7¦12¦1¦Null§
Note on A596: ¦1¦1¦7¦13¦0¦Null§RateOnly
Note on A598: ¦1¦1¦7¦14¦0¦Null§RateOnly
Note on A600: ¦1¦1¦7¦15¦0¦Null§
Note on A602: ¦1¦1¦7¦16¦0¦Null§
Note on A604: ¦1¦1¦7¦17¦0¦Null§
Note on A606: ¦1¦1¦7¦18¦0¦Null§
Note on A608: ¦1¦1¦7¦19¦0¦Null§RateOnly
Note on A610: ¦1¦1¦7¦20¦0¦Null§RateOnly
Note on A612: ¦1¦1¦7¦21¦0¦Null§SubSection
Note on A614: ¦1¦1¦7¦22¦1¦Null§
Note on A616: ¦1¦1¦7¦23¦0¦Null§
Note on A618: ¦1¦1¦7¦24¦0¦Null§
Note on A638: ¦1¦1¦7¦25¦0¦Null§NewPage¦SubSection
Note on A640: ¦1¦1¦7¦26¦0¦Null§
Note on A642: ¦1¦1¦7¦27¦0¦Null§
Note on A644: ¦1¦1¦7¦28¦0¦Null§
Note on A646: ¦1¦1¦7¦29¦0¦Null§
Note on A648: ¦1¦1¦7¦30¦0¦Null§
Note on A650: ¦1¦1¦7¦31¦0¦Null§
Note on A652: ¦1¦1¦7¦32¦0¦Null§RateOnly
Note on A654: ¦1¦1¦7¦33¦0¦Null§RateOnly
Note on A656: ¦1¦1¦7¦34¦0¦Null§
Note on A658: ¦1¦1¦7¦35¦0¦Null§RateOnly
Note on A660: ¦1¦1¦7¦36¦0¦Null§RateOnly
Note on A662: ¦1¦1¦7¦37¦0¦Null§
Note on A664: ¦1¦1¦7¦38¦0¦Null§
Note on A666: ¦1¦1¦7¦39¦0¦Null§
Note on A668: ¦1¦1¦7¦40¦0¦Null§
Note on A670: ¦1¦1¦7¦41¦0¦Null§RateOnly
Note on A672: ¦1¦1¦7¦42¦0¦Null§RateOnly
Note on A674: ¦1¦1¦7¦43¦0¦Null§
Note on A676: ¦1¦1¦7¦44¦0¦Null§
Note on A678: ¦1¦1¦7¦45¦0¦Null§
Note on A680: ¦1¦1¦7¦46¦0¦Null§
Note on A682: ¦1¦1¦7¦47¦0¦Null§
Note on A684: ¦1¦1¦7¦48¦0¦Null§
Note on A686: ¦1¦1¦7¦49¦0¦Null§
Note on A688: ¦1¦1¦7¦50¦0¦Null§
Note on A690: ¦1¦1¦7¦51¦0¦Null§
Note on A707: ¦1¦1¦8¦1¦0¦Null§SubSection
Note on A709: ¦1¦1¦8¦2¦0¦Null§
Note on A711: ¦1¦1¦8¦3¦0¦Null§
Note on A713: ¦1¦1¦8¦4¦0¦Null§
Note on A715: ¦1¦1¦8¦5¦0¦Null§
Note on A717: ¦1¦1¦8¦6¦0¦Null§
Note on A764: ¦1¦1¦9¦1¦0¦Null§SubSection
Note on A766: ¦1¦1¦9¦2¦2¦Null§SubSection
Note on A768: ¦1¦1¦9¦3¦2¦Null§
Note on A770: ¦1¦1¦9¦4¦2¦Null§
Note on A772: ¦1¦1¦9¦5¦2¦Null§
Note on A774: ¦1¦1¦9¦6¦0¦Null§RateOnly
Note on A776: ¦1¦1¦9¦7¦0¦Null§RateOnly
Note on A778: ¦1¦1¦9¦8¦0¦Null§
Note on A780: ¦1¦1¦9¦9¦0¦Null§RateOnly
Note on A782: ¦1¦1¦9¦10¦0¦Null§RateOnly
Note on A784: ¦1¦1¦9¦11¦2¦Null§
Note on A786: ¦1¦1¦9¦12¦0¦Null§RateOnly
Note on A788: ¦1¦1¦9¦13¦0¦Null§RateOnly
Note on A790: ¦1¦1¦9¦14¦2¦Null§
Note on A792: ¦1¦1¦9¦15¦0¦Null§RateOnly
Note on A794: ¦1¦1¦9¦16¦0¦Null§RateOnly
Note on A796: ¦1¦1¦9¦17¦2¦Null§
Note on A798: ¦1¦1¦9¦18¦0¦Null§RateOnly
Note on A800: ¦1¦1¦9¦19¦0¦Null§RateOnly
Note on A802: ¦1¦1¦9¦20¦2¦Null§
Note on A804: ¦1¦1¦9¦21¦0¦Null§RateOnly
Note on A806: ¦1¦1¦9¦22¦0¦Null§RateOnly
Note on A808: ¦1¦1¦9¦23¦2¦Null§
Note on A810: ¦1¦1¦9¦24¦0¦Null§RateOnly
Note on A812: ¦1¦1¦9¦25¦0¦Null§RateOnly
Note on A814: ¦1¦1¦9¦26¦2¦Null§
Note on A816: ¦1¦1¦9¦27¦0¦Null§RateOnly
Note on A818: ¦1¦1¦9¦28¦0¦Null§RateOnly
Note on A835: ¦1¦1¦9¦29¦2¦Null§NewPage
Note on A837: ¦1¦1¦9¦30¦0¦Null§RateOnly
Note on A839: ¦1¦1¦9¦31¦0¦Null§RateOnly
Note on A841: ¦1¦1¦9¦32¦2¦Null§
Note on A843: ¦1¦1¦9¦33¦0¦Null§RateOnly
Note on A845: ¦1¦1¦9¦34¦0¦Null§RateOnly
Note on A906: ¦1¦1¦10¦1¦0¦Null§SubSection
Note on A908: ¦1¦1¦10¦2¦0¦Null§
Note on A910: ¦1¦1¦10¦3¦0¦Null§
Note on A912: ¦1¦1¦10¦4¦0¦Null§
Note on A914: ¦1¦1¦10¦5¦0¦Null§
Note on A916: ¦1¦1¦10¦6¦0¦Null§
Note on A918: ¦1¦1¦10¦7¦0¦Null§
Note on A920: ¦1¦1¦10¦8¦0¦Null§

## Rate Estimator
To use a free rate estimator program with this Excel file
1) | Download and install the program by clicking the link below and following instructions
Bill Project (demo mode)
2) | In MS Windows run the program using 'Start > Programs > Civilsoft > Bill Project'
3) | Once Bill Project is running use 'File > Open Excel Tender' and select this file, eg
#VALUE!
4) | Item rates can now be calculated by adding project resources to items
5) | For more information in Bill Project use 'Tools > Guide' and click on 'Rate Estimator'
Note:
Although Bill Project will be set to demo mode, the rate estimator will have full functionality
Once rates have been calculated in Bill Project they can be exported using 'File > Export > Rate'
If you need help with any of the above, click the link below or phone +27 (0)42 294 1777
Bill Project support