## Cover Page
BILL OF MATERIALS MECHANICAL INSTALLATION BUILDING 2, 4, 24, 25, 26, 31 & 49 FIRE HOSE REELS INSTALLATIONS

## Preliminaries & Generals
SUBJECT : BILL OF QUANTITIES
PART 1
BUILDING 2, 4, 24 (BATTERY CENTRE & GYM), 25, 26 31 & 49 FIRE HOSE REELS INSTALLATIONS
BILL NO. 1 - PRELIMINARIES & GENERAL
ITEM NO | DESCRIPTION | UNIT | RATE | TENDERED BOQ QUANTITY | TENDERED AMOUNT
Preliminaries and General
1.001 | Establishment of Site | sum | 0 | 1 | 0
1.002 | Twelve month guarantee | sum | 0 | 1 | 0
1.003 | Builder's work & making good | sum | 0 | 1 | 0
1.004 | Testing and commissioning of fire system | sum | 0 | 1 | 0
1.005 | Transportation | sum | 0 | 1 | 0
1.006 | Hiring of scaffolding and Rigging of the equipments | sum | 0 | 1 | 0
1.007 | Issuing of Compliance Certificate (COC) for each building | sum | 0 | 1 | 0
1.008 | Training of staff | sum | 0 | 1 | 0
1.009 | Safety file completion and submission for approval and site induction | sum | 0 | 1 | 0
1.01 | Handover documentation 1 x archlever file & 1 x flashdrive for each building e.g. As-built drawings, Operating & Miantance Manualas, Certificate of Complinace etc. | sum | 0 | 1 | 0
| TOTAL CARRIED FORWARD |  |  |  | 0

## Fire
PART 2
BUILDING 2, 4, 24 (BATTERY CENTRE & GYM), 25, 26 31 & 49 FIRE HOSE REELS INSTALLATIONS
BILL NO. 2 - FIRE SYSTEM
ITEM NO | DESCRIPTION | UNIT | RATE | TENDERED BOQ QUANTITY | TENDERED AMOUNT
BUILDING 2
2.001 | Supply and install SABS approved fire hose reel complete with 30m rubber hose, shut-off valve and nozzle c/w glecerine pressure gauge | No | 0 | 2 | 0
2.002 | Supply diameter 32mm medium Class threaded galvanized pipe | M | 0 | 29 | 0
2.003 | Supply diameter 25mm medium Class threaded galvanized pipe | M | 0 | 4 | 0
2.004 | Supply and install 32mm holder bats | No | 0 | 26 | 0
2.005 | Supply and install 25mm holder bats | No | 0 | 2 | 0
2.006 | Allow for shutting down and draining of water pipe system to make cuts to connect new fire water pipes to the existing domestic water line | Sum | 0 | 1 | 0
2.007 | Supply diameter Galvanised Elbow Fxf 90 Degree 32mm | No | 0 | 4 | 0
2.008 | Supply diameter Galvanised Elbow Fxf 90 Degree 25mm | No | 0 | 2 | 0
2.009 | Supply diameter Galvanised Equal Tee 32mm | No | 0 | 4 | 0
2.01 | Supply and install fire hose reel SABS approved fire signages as per SANS requirement (Photoluminescent 190x380mm). Signages are to be mounted against the wall and hanged below ceilings pointing fire hose reels | No | 0 | 2 | 0
2.011 | Allow for all accessories and miscellaneous to make the system fully operational | Sum | 0 | 1 | 0
2.012 | Allow for one coat of Red Oxide Primer and shall be applied at the workshop prior to delivery to site followed by one finished coat of red gloss enamel to all pipework. | Sum | 0 | 1 | 0
BUILDING 4
2.013 | Supply and install SABS approved fire hose reel complete with 30m rubber hose, shut-off valve and nozzle c/w glecerine pressure gauge | No | 0 | 9 | 0
2.014 | Supply diameter 50mm Medium Class Galvanised threaded Pipe | M | 0 | 120 | 0
2.015 | Supply diameter 40mm Medium Class Galvanised threaded Pipe | M | 0 | 200 | 0
2.016 | Supply diameter 32mm medium Class threaded galvanized pipe | M | 0 | 40 | 0
2.017 | Supply diameter 25mm medium Class threaded galvanized pipe | M | 0 | 15 | 0
2.018 | Supply and install 50mm holder bats | No | 0 | 120 | 0
2.019 | Supply and install 40mm holder bats | No | 0 | 200 | 0
2.02 | Supply and install 32mm holder bats | No | 0 | 40 | 0
2.021 | Supply and install 25mm holder bats | No | 0 | 15 | 0
2.022 | Allow for shutting down and draining of water pipe system to make cuts to connect fire water pipes to the existing domestic water line | Sum | 0 | 1 | 0
2.023 | Supply diameter Galvanised Elbow Fxf 90 Degree 50mm | No | 0 | 9 | 0
2.024 | Supply diameter Galvanised Elbow Fxf 90 Degree 40mm | No | 0 | 22 | 0
2.025 | Supply diameter Galvanised Elbow Fxf 90 Degree 32mm | No | 0 | 32 | 0
2.026 | Supply diameter Galvanised Elbow Fxf 90 Degree 25mm | No | 0 | 25 | 0
2.027 | Supply diameter Galvanised Reducing Socket 50x40mm | No | 0 | 2 | 0
2.028 | Supply diameter Galvanised Reducing Socket 40x32mm | No | 0 | 2 | 0
2.029 | Supply diameter Galvanised Reducing Socket 32x25mm | No | 0 | 2 | 0
2.03 | Supply diameter Galvanised Equal Tee 50mm | No | 0 | 2 | 0
2.031 | Supply diameter Galvanised Equal Tee 40mm | No | 0 | 2 | 0
2.032 | Supply diameter Galvanised Equal Tee 32mm | No | 0 | 2 | 0
2.033 | Supply diameter Galvanised Tee 50x40x50mm | No | 0 | 2 | 0
2.034 | Supply diameter Galvanised Tee 40x32x40mm | No | 0 | 2 | 0
2.035 | Supply and install fire hose reel SABS approved fire signages as per SANS requirement (Photoluminescent 190x380mm). Signages are to be mounted against the wall and hanged below ceilings pointing fire hose reels | No | 0 | 18 | 0
2.036 | Allow for all accessories and miscellaneous to make the system fully operational | Sum | 0 | 1 | 0
2.037 | Allow for one coat of Red Oxide Primer and shall be applied at the workshop prior to delivery to site followed by one finished coat of red gloss enamel to all pipework. | Sum | 0 | 1 | 0
| TOTAL CARRIED FORWARD |  |  |  | 0
BUILDING 24 BATTERY CENTRE
2.038 | Supply and install SABS approved fire hose reel complete with 30m rubber hose, shut-off valve and nozzle c/w glecerine pressure gauge | No | 0 | 2 | 0
2.039 | Supply diameter 35mm Copper Class 2 medium pipe | M | 0 | 30 | 0
2.04 | Supply diameter 28mm Copper Class 2 medium pipe | M | 0 | 4 | 0
2.041 | Supply and install 35mm holder bats | No | 0 | 30 | 0
2.042 | Supply and install 28mm holder bats | No | 0 | 4 | 0
2.043 | Allow for shutting down and draining of water pipe system to make cuts to connect fire water pipes to the existing domestic water line | Sum | 0 | 1 | 0
2.044 | Supply diameter copper Reducing Socket 32x25mm | No | 0 | 2 | 0
2.045 | Supply diameter copper Equal Tee 32mm | No | 0 | 2 | 0
2.046 | Supply diameter copper Elbow Fxf 90 Degree 32mm | No | 0 | 2 | 0
2.047 | Supply diameter copper Elbow Fxf 90 Degree 25mm | No | 0 | 2 | 0
2.048 | Supply and install fire hose reel SABS approved fire signages as per SANS requirement (Photoluminescent 190x380mm). Signages are to be mounted against the wall and hanged below ceilings pointing fire hose reels | No | 0 | 4 | 0
2.049 | Allow for all accessories and miscellaneous to make the system fully operational | Sum | 0 | 1 | 0
BUILDING 24 GYM
2.05 | Supply and install SABS approved fire hose reel complete with 30m rubber hose, shut-off valve and nozzle c/w glecerine pressure gauge | No | 0 | 7 | 0
2.051 | Supply diameter 50mm Medium Class Galvanised threaded Pipe | M | 0 | 120 | 0
2.052 | Supply diameter 40mm Medium Class Galvanised threaded Pipe | M | 0 | 75 | 0
2.053 | Supply diameter 32mm medium Class threaded galvanized pipe | M | 0 | 56 | 0
2.054 | Supply diameter 25mm medium Class threaded galvanized pipe | M | 0 | 14 | 0
2.055 | Supply and install 50mm holder bats | No | 0 | 120 | 0
2.056 | Supply and install 40mm holder bats | No | 0 | 75 | 0
2.057 | Supply and install 32mm holder bats | No | 0 | 56 | 0
2.058 | Supply and install 25mm holder bats | No | 0 | 14 | 0
2.059 | Allow for shutting down and draining of water pipe system to make cuts to connect fire water pipes to the existing domestic water line | Sum | 0 | 1 | 0
2.06 | Supply diameter Galvanised Elbow Fxf 90 Degree 50mm | No | 0 | 4 | 0
2.061 | Supply diameter Galvanised Elbow Fxf 90 Degree 40mm | No | 0 | 12 | 0
2.062 | Supply diameter Galvanised Elbow Fxf 90 Degree 32mm | No | 0 | 8 | 0
2.063 | Supply diameter Galvanised Elbow Fxf 90 Degree 25mm | No | 0 | 18 | 0
2.064 | Supply diameter Galvanised Reducing Socket 50x40mm | No | 0 | 2 | 0
2.065 | Supply diameter Galvanised Reducing Socket 40x32mm | No | 0 | 2 | 0
2.066 | Supply diameter Galvanised Reducing Socket 32x25mm | No | 0 | 2 | 0
2.067 | Supply diameter Galvanised Equal Tee 50mm | No | 0 | 2 | 0
2.068 | Supply diameter Galvanised Tee 50x32x50mm | No | 0 | 2 | 0
2.069 | Supply diameter Galvanised Equal 40x32x40mm | No | 0 | 2 | 0
2.07 | Supply and install fire hose reel SABS approved fire signages as per SANS requirement (Photoluminescent 190x380mm). Signages are to be mounted against the wall and hanged below ceilings pointing fire hose reels | No | 0 | 14 | 0
2.071 | Allow for all accessories and miscellaneous to make the system fully operational | Sum | 0 | 1 | 0
2.072 | Allow for one coat of Red Oxide Primer and shall be applied at the workshop prior to delivery to site followed by one finished coat of red gloss enamel to all pipework. | Sum | 0 | 1 | 0
| TOTAL CARRIED FORWARD |  |  |  | 0
BUILDING 25
2.073 | Supply and install SABS approved fire hose reel complete with 30m rubber hose, shut-off valve and nozzle c/w glecerine pressure gauge | No | 0 | 2 | 0
2.074 | Supply diameter 40mm Medium Class Galvanised threaded Pipe | M | 0 | 70 | 0
2.075 | Supply diameter 32mm medium Class threaded galvanized pipe | M | 0 | 40 | 0
2.076 | Supply diameter 25mm medium Class threaded galvanized pipe | M | 0 | 4 | 0
2.077 | Supply and install 40mm holder bats | No | 0 | 70 | 0
2.078 | Supply and install 32mm holder bats | No | 0 | 40 | 0
2.079 | Supply and install 25mm holder bats | No | 0 | 4 | 0
2.08 | Allow for shutting down and draining of water pipe system to make cuts to connect fire water pipes to the existing domestic water line | Sum | 0 | 1 | 0
2.081 | Supply diameter Galvanised Elbow Fxf 90 Degree 40mm | No | 0 | 8 | 0
2.082 | Supply diameter Galvanised Elbow Fxf 90 Degree 32mm | No | 0 | 8 | 0
2.083 | Supply diameter Galvanised Elbow Fxf 90 Degree 25mm | No | 0 | 6 | 0
2.084 | Supply diameter Galvanised Reducing Socket 40x32mm | No | 0 | 2 | 0
2.085 | Supply diameter Galvanised Reducing Socket 32x25mm | No | 0 | 2 | 0
2.086 | Supply diameter Galvanised Equal Tee 40mm | No | 0 | 2 | 0
2.087 | Supply diameter Galvanised Tee 40x32x40mm | No | 0 | 2 | 0
2.088 | Supply and install fire hose reel SABS approved fire signages as per SANS requirement (Photoluminescent 190x380mm). Signages are to be mounted against the wall and hanged below ceilings pointing fire hose reels | No | 0 | 4 | 0
2.089 | Allow for all accessories and miscellaneous to make the system fully operational | Sum | 0 | 1 | 0
2.09 | Allow for one coat of Red Oxide Primer and shall be applied at the workshop prior to delivery to site followed by one finished coat of red gloss enamel to all pipework. | Sum | 0 | 1 | 0
BUILDING 26
2.091 | Supply and install SABS approved fire hose reel complete with 30m rubber hose, shut-off valve and nozzle c/w glecerine pressure gauge | No | 0 | 1 | 0
2.092 | Supply diameter 35mm Copper Class 2 medium pipe | M | 0 | 7 | 0
2.093 | Supply diameter 28mm Copper Class 2 medium pipe | M | 0 | 2 | 0
2.094 | Supply and install 32mm holder bats | No | 0 | 7 | 0
2.095 | Supply and install 25mm holder bats | No | 0 | 2 | 0
2.096 | Allow for shutting down and draining of water pipe system to make cuts to connect fire water pipes to the existing domestic water line | Sum | 0 | 1 | 0
2.097 | Supply diameter Galvanised Elbow Fxf 90 Degree 32mm | No | 0 | 2 | 0
2.098 | Supply diameter Galvanised Elbow Fxf 90 Degree 25mm | No | 0 | 2 | 0
2.099 | Supply diameter Galvanised Reducing Socket 32x25mm | No | 0 | 1 | 0
2.1 | Supply diameter Galvanised Equal Tee 32mm | No | 0 | 1 | 0
2.101 | Supply and install fire hose reel SABS approved fire signages as per SANS requirement (Photoluminescent 190x380mm). Signages are to be mounted against the wall and hanged below ceilings pointing fire hose reels | No | 0 | 2 | 0
2.102 | Allow for all accessories and miscellaneous to make the system fully operational | Sum | 0 | 1 | 0
2.103 | Allow for one coat of Red Oxide Primer and shall be applied at the workshop prior to delivery to site followed by one finished coat of red gloss enamel to all pipework. | Sum | 0 | 1 | 0
BUILDING 31
2.104 | Supply and install SABS approved fire hose reel complete with 30m rubber hose, shut-off valve and nozzle c/w glecerine pressure gauge | No | 0 | 2 | 0
2.105 | Supply diameter 32mm medium Class threaded galvanized pipe | M | 0 | 90 | 0
2.106 | Supply diameter 25mm medium Class threaded galvanized pipe | M | 0 | 4 | 0
2.107 | Supply and install 32mm holder bats | No | 0 | 90 | 0
2.108 | Supply and install 25mm holder bats | No | 0 | 4 | 0
2.109 | Allow for shutting down and draining of water pipe system to make cuts to connect fire water pipes to the existing domestic water line | Sum | 0 | 1 | 0
2.11 | Supply diameter Galvanised Elbow Fxf 90 Degree 32mm | No | 0 | 5 | 0
2.111 | Supply diameter Galvanised Elbow Fxf 90 Degree 25mm | No | 0 | 4 | 0
2.112 | Supply diameter Galvanised Reducing Socket 32x25mm | No | 0 | 4 | 0
2.113 | Supply diameter Galvanised Equal Tee 32mm | No | 0 | 4 | 0 | 0
| TOTAL CARRIED FORWARD |  |  |  | 0
2.114 | Supply and install fire hose reel SABS approved fire signages as per SANS requirement (Photoluminescent 190x380mm). Signages are to be mounted against the wall and hanged below ceilings pointing fire hose reels | No | 0 | 4 | 0
2.115 | Allow for all accessories and miscellaneous to make the system fully operational | Sum | 0 | 1 | 0
2.116 | Allow for one coat of Red Oxide Primer and shall be applied at the workshop prior to delivery to site followed by one finished coat of red gloss enamel to all pipework. | Sum | 0 | 1 | 0
BUILDING 49
2.117 | Supply and install SABS approved fire hose reel complete with 30m rubber hose, shut-off valve and nozzle c/w glecerine pressure gauge | No | 0 | 2 | 0
2.118 | Supply diameter 32mm medium Class threaded galvanized pipe | M | 0 | 52 | 0
2.119 | Supply diameter 25mm medium Class threaded galvanized pipe | M | 0 | 4 | 0
2.12 | Supply and install 32mm holder bats | No | 0 | 52 | 0
2.121 | Supply and install 25mm holder bats | No | 0 | 4 | 0
2.122 | Allow for shutting down and draining of water pipe system to make cuts to connect fire water pipes to the existing domestic water line | Sum | 0 | 1 | 0
2.123 | Supply diameter Galvanised Elbow Fxf 90 Degree 32mm | No | 0 | 5 | 0
2.124 | Supply diameter Galvanised Elbow Fxf 90 Degree 25mm | No | 0 | 4 | 0
2.125 | Supply diameter Galvanised Reducing Socket 32x25mm | No | 0 | 4 | 0
2.126 | Supply diameter Galvanised Equal Tee 32mm | No | 0 | 4 | 0
2.127 | Supply and install fire hose reel SABS approved fire signages as per SANS requirement (Photoluminescent 190x380mm). Signages are to be mounted against the wall and hanged below ceilings pointing fire hose reels | No | 0 | 4 | 0
2.128 | Allow for all accessories and miscellaneous to make the system fully operational | Sum | 0 | 1 | 0
2.129 | Allow for one coat of Red Oxide Primer and shall be applied at the workshop prior to delivery to site followed by one finished coat of red gloss enamel to all pipework. | Sum | 0 | 1 | 0
2.13 | Supply and install 0-1000kPa glycerine filled pressure gauges fitted complete with Min/Max Drag Pointer. The gauge must have extra markers showing peak high and low pressure points to track pressure spikes or drops over time The dial size of the gauge is100mm and inlet connection of 15mm. The gauges must be installed complete with isolation valve. | No | 0 | 300 | 0
| TOTAL CARRIED FORWARD |  |  |  | 0

## Summary
SUBJECT : BILL OF QUANTITIES
PART 3
BUILDING 2, 4, 24 (BATTERY CENTRE & GYM), 25, 26 31 & 49 FIRE HOSE REELS INSTALLATIONS
BILL NO. 3 - SUMMARY
ITEM NO | DESCRIPTION | FROM PART NO. | PAGE NO. | TENDERED AMOUNT
MAIN OFFER
3.001 | PRELIMINARIES & GENERALS | 1 |  | 0
3.002 | FIRE | 2 |  | 0
| SUB TOTAL 1 |  |  | 0
| ADD 15% CONTINGENCY |  |  | 0
| SUB TOTAL 2 |  |  | 0
| ADD 15% VAT |  |  | 0
| TOTAL |  |  | 0