## Bill- Summary Biopharm
BIO-PHARM PRICED BILL SUMMARY
Item | Description | Amount (Excl. VAT)
| PRELIMINARIES & GENERAL | R
| Bill 1 : DATA INSTALLATION | R
| Bill 2 : FIRE DETECTION SYSTEM | 0
| Bill 3 : ACCESS CONTROL SYSTEM | 0
| Bill 4 : CCTV SYSTEM | 0
| TOTAL CARRIED OVER TO FORM OF TENDER (Excl VAT) | 0

## P&G'S - Biopharm
PRELIMINARIES AND GENERAL
Item | Description | Unit | QTY | Supply Unit rate | Installation Unit Rate | Total Amount
Supply & Install the following equipment including all connectors, terminal screws. Price to meet the main contractor's contract conditions as per Part 4:
1 | P&G
1.1 | SITE ESTABLISHMENT
1.1.1 | Site Office equipment | Sum | 1
1.1.2 | Site Storage (Lockable Container) | Sum | 1
1.1.3 | Site Workshop Area | Sum | 1
1.1.4 | Other requirements (specify ) | Sum | 1
1.2 | ADMINISTRATIVE
1.2.1 | Site Personnel | Sum | 1
1.2.2 | Supervisory Staff | Sum | 1
1.2.3 | Draughtsman and Tracers | Sum | 1
1.2.4 | Transportation cost (up to incl.1 ton Truck) | Sum | 1
1.2.5 | Larger than 1 ton Truck | Sum | 1
1.2.6 | Insurance and Assurance(administrative) | Sum | 1
1.2.7 | Telephone ,electricity water, stationary for all construction phases | Sum | 1
Hourly rates: Normal hours:
| (1) Site Project Manager | R/h | 1 | 0 | NIL
| (2) Site Project Coordinator | R/h | 1 | 0 | NIL
| (3) Site Supervisor | R/h | 1 | 0 | NIL
| (4) Site Journeyman | R/h | 1 | 0 | NIL
| (5) Installer | R/h | 1 | 0 | NIL
| (6) Labourer | R/h | 1 | 0 | NIL
| (7) System Operating Trainer | R/h | 1 | 0 | NIL
Hourly rates: After hours (weekdays):
| (1) Site Project Manager | R/h | 1 | 0 | NIL
| (2) Site Project Coordinator | R/h | 1 | 0 | NIL
| (3) Site Supervisor | R/h | 1 | 0 | NIL
| (4) Site Journeyman | R/h | 1 | 0 | NIL
| (5) Installer | R/h | 1 | 0 | NIL
| (6) Labourer | R/h | 1 | 0 | NIL
| (7) System Operating Trainer | R/h | 1 | 0 | NIL
Hourly rates: weekends/public holidays:
| (1) Project Manager | R/h | 1 | 0 | NIL
| (2) Site Project Coordinator | R/h | 1 | 0 | NIL
| (3) Site Supervisor | R/h | 1 | 0 | NIL
| (4) Site Journeyman | R/h | 1 | 0 | NIL
| (5) Installer | R/h | 1 | 0 | NIL
| (6) Labourer | R/h | 1 | 0 | NIL
| (7) System Operating Trainer | R/h | 1 | 0 | NIL
1.3 | GENERAL COSTS
1.3.1 | Loading and off loading of material and equipment. | Sum | 1
1.3.2 | Setting out of Works, according to specification | Sum | 1
1.3.3 | Cleaning of site upon completion of Contract. | Sum | 1
1.3.4 | Detailed Critical Path/Schedule according to engineers specifications | Sum | 1
1.3.5 | Development of workshop drawings, according to the specification | Sum | 1
1.3.6 | CADDED "As Installed" drawings and “Red Mark-Up” architectural drawings, as specified | Sum | 1
1.3.7 | Test and commissioning of complete Works to engineer and client satisfaction. | Sum | 1
1.3.8 | Client Training of staff | Hrs | 12
1.3.9 | Inspection and handing over of fully operational systems to client and consulting engineer’s satisfaction | Sum | 1
1.3.10 | Maintenance and Operational manuals as specified | Sum | 3
1.3.11 | Health and safety file in accordance with principal contractor | Sum | 1
1.4 | CONTRACTOR SPECIAL CONDITIONS
1.4.1 | Maintenance | Sum | 1
1.4.2 | Security | Sum | 1
1.4.3 | Protection of Trees | Sum | 1
1.4.4 | Ablutions | Sum | 1
1.4.5 | Temporary Lighting | Sum | 1
1.4.6 | Safety Inspection | Sum | 1
1.4.7 | Removal of Rubbish and Cleaning | Sum | 1
1.4.8 | Scaffolding, ladders as specified and as may be required | Sum | 1
1.4.9 | Induction | Sum | 1
1.4.10 | Disbursements | Sum | 1
1.4.11 | Identification of Workforce | Sum | 1
1.4.12 | Settlement discount | Sum | 1
1.4.13 | PPE - Reflective vest with company logo, safety shoes etc | Sum | 1
Total carried forward to the Bill Summary page =

## Data Installation- Biopharm
BILL 1: Data Installation
Item | Description | Unit | QTY | Supply rate | Install Rate | Combined Amount
Supply & Install the following equipment including all connectors, terminal screws:
1 | Data Installation
1.1 | Data Cabinets
1.1.1 | 19" 12U Wall mounted cabinet with swing frame and fan unit– grey | No | 1
1.1.7 | 4 way papst fan unit | No | 1
1.1.11 | 6 way 15A Power Duct | No | 1
1.1.12 | 450mm deep flat shelf | No | 1
1.1.13 | Power cable 15A x 5m for power duct complete with dedicated (red) 16A plug | No | 1
1.2 | Cabling and Terminations
1.2.1 | Cat6a Molex U/FTP network cabling complete with labeling and Velcro strips | m | 2500
1.2.2 | Cat6a U/FTP Krone Moulded Fly leads complete with labeling (3m) (RJ45 to RJ45) | No | 27
1.2.3 | Cat6a U/FTP Krone Moulded Patch leads complete with labeling (2m) CCTV Puprle (See specs for colours) | No | 6
1.2.3 | Cat6a U/FTP Krone Moulded Patch leads complete with labeling (2m) - Data Grey (See specs for colours) | No | 20
1.2.3 | Cat6a U/FTP Krone Moulded Patch leads complete with labeling (2m) - WiFi yellow (See specs for colours) | No | 1
1.2.4 | Krone Cat 6a keystones for patch panels | No | 27
1.2.5 | Krone Cat 6a keystones for floor terminations and dual insert for cover and cradle (Execuduct) | No | 20
1.2.5 | Krone Cat 6a keystones for termination of WiFi and CCTV points above ceiling in 4 x 4 back box | No | 7
1.2.6 | 24 port pacth panel | No | 2
1.2.7 | 1U Blanc plates | No | 4
1.2.8 | 8 terminal copper earth bar in cabinet | No | 1
1.2.9 | 16 mm insulated earth cable from earth bar in cabinet connected to local DB ground busbar (TMGB) | m | 80
1.2.10 | Grounding of cabinets and patch panels with 2.5mm conductor | No | 1
1.2.11 | 12 core single mode HDD Fibre (cut and return) between LAN rooms | m | 200
1.2.12 | Fibre termination and splicing (Done by NCS) | No | 24
1.2.13 | 24 port Fibre splice tray LC - LC | No | 2
1.2.14 | LC - LC connectors | No | 24
1.2.15 | Fibre pig tails 2m - yellow | No | 24
1.2.16 | 1U Blank plates | No | 2
1.2.17 | 1U Brush panels | No | 2
1.2.18 | Patch lead guides | No | 4
1.2.19 | Testing upon completion per network point | No | 27
1.2.20 | As built/installed documentation | No | 1
1.2.22 | Testing of fibre on completion of splicing | Sum | 1
1.3 | Sundries
1.3.1 | Any additional items to conform to specification : | sum | 1
| Telephone installation | sum | 1 |  |  | 15000
Total for Bill 1 carried forward to the Bill Summary page = | [5 empty] | R

## Fire Detection- Biopharm
BILL 2: Fire Detection System
Item | Description | Unit | QTY | Supply Unit rate | Installation Unit Rate
Supply & Install the following equipment including all connectors, terminal screws:
2 | Addressable Fire Detection System
2.1 | HEAD END EQUIPMENT
2.1.1 | Interface into existing Fire Detection System and reprogramming of existing fire panel | sum | 1
2.2 | FIELD EQUIPMENT
2.2.1 | Complete addressable red break glass unit, as specified | No. | 4
2.2.2 | Complete addressable base sounder combined with flashing LED unit, with optical detector mounted on base unit (Price for combo) | No. | 22
2.2.3 | Void detectors complete with ceiling mount LED indicators (Price for detector plus LED) | No. | 0 |  |  | NIL
2.2.4 | 24V power supply for sequential door hold open devices, interfaced to fire detection system | No. | 0 |  |  | NIL
2.2.5 | Hold open maglocks | No | 0 |  |  | NIL
2.2.6 | Hold open door closer | sum | 0 |  |  | NIL
2.2.7 | Complete addressable loop sounders Red Horns | No. | 0 |  |  | NIL
2.2.8 | Complete addressable line relay unit, as specified | No. | 10
2.2.10 | Complete addressable line isolator unit, as specified | No. | 2
2.2.11 | Door contacts for monitored doors | No. | 0
2.2.12 | Installation sundries | No. | 1
2.3 | CABLE
2.3.1 | PH30 1.0mm cable (red) | m | 560
2.4 | GENERAL
2.4.1 | Test and commissioning of complete system to deliver a fully operational system to client and engineers requirement. | Item | 1
2.4.2 | 12 Month period full service of fire detection system. Service includes 2 x service of system and completion of log books | Sum | 1
2.5 | SUNDRIES
2.5.1 | Any additional items to conform to specification : | sum | 1
Total for Bill 2 carried forward to the Bill Summary page = | [5 empty] | 0

## Access Control- Biopharm
BILL 3: Access Control System
Item | Description | Unit | QTY | Supply Unit rate | Installation Unit Rate | Combined Amount
Supply & Install the following equipment including all connectors, terminal screws:
3 | Access Control System
3.1 | IMPRO ACCESS CONTROL
3.1.1 | System Master Controller - ImproX IXP400i (XEC900-1-0-GB) with 5Amp Power supply and 17A/Hour battery | No. | 1
3.1.2 | Door controller - Impro ITRT XRT920 ethernet XRT920-0-0-GB-07 | No. | 10
3.1.3 | Aiphone 2 way Intercom - audio only | No. | 1
3.1.4 | Card readers Impro MDR | No. | 8
3.1.5 | LeGrand No touch push button | No. | 10
3.1.6 | Green breakglass Unit (DMN702G) | No. | 10
3.1.7 | Power supply - 5Amp | No. | 6
3.1.8 | Battery backup (12V 17aH CSB Deep Cycle) | No. | 6
3.1.9 | Mag Locks - LK118 for Aluminium Doors | No. | 10
3.1.10 | Mag Locks - LK126 for Wooden Doors | No. | 0 |  |  | NIL
3.1.11 | Door loops - Silver armored CN22 | No. | 10
3.1.14 | Removal and reinstallation of access control door equipment | Prov | 1 |  |  | 2500
3.2 | CABLING FOR ACCESS CONTROL
3.2.1 | 2 Pair Mylar screen cabling for RS485 comms for access control | m | 300
3.2.2 | 2 Pair Mylar screen Reader and Lock Cabling | m | 90
3.2.3 | Cabtyre 0.5mm, 2 core white Low Voltage power cabling for power supply to ITRT controller | m | 25
3.3 | GENERAL
3.3.1 | Test and commissioning of complete system to deliver a fully operational system to client and engineer's requirement | Sum | 1
3.4 | SUNDRIES
3.4.1 | Any additional items to conform to specification : | sum | 1
Please list them
Total for Bill 3 carried forward to the Bill Summary page =

## CCTV- Biopharm
BILL 4: CCTV System
Item | Description | Unit | QTY | Supply Unit rate | Installation Unit Rate | Combined Amount
Supply & Install the following equipment including all connectors, terminal screws:
4 | CCTV System
4.1 | HEAD END EQUIPMENT
4.1.1 | Hikvision IP Embedded NVR - 8 Channel Recorder with POE | No | 0 |  |  | NIL
4.1.2 | Western Digital Surveillance Hard Disk Drive 4TB | No | 0 |  |  | NIL
4.1.3 | Mecer 27" 16 x 9 TFT LED Wide Monitor, 1920 x 1080 Full HD W/VGA + HDMI & Built-in Speakers (2 x 2W) - Black | No | 0 |  |  | NIL
4.1.6 | Camera licenses | No | 5
4.1.7 | Setup of remote viewing of cameras in security control room | Sum | 1
4.1.9 | User Training | hours | 2
4.2 | FIELD EQUIPMENT
Security Cameras (Complete with mounting brackets)
4.2.1 | Hikvision AcuSense 2MP fixed dome camera. 2.8mm Lens.Excellent low-light performance with powered-by-DarkFighter technology. Up to 30m IR.Clear imaging against strong back light due to 120 dB true WDR technology,Efficient H.265+ compression technology.False alarm reduction through human and vehicle target classification based on deep learning.IP66 and IK10. 12VDC or POE. Built in Microphone. | No | 2
4.2.2 | Hikvision 6MP Infra-red Fisheye Network Camera. 11.8 Progressive CMOS, ICR, 0lux with IR, 3072 × 2048 @30fps, 1.27mmF2.6 lens, 360°Panoramic view, H.265+H.265H.264+H.264MJPEG | No | 3
4.2.4 | Sundries & Consumables | No | 1
4.2.5 | Setup & Configuration & Adjustments | Sum | 1
Total for Bill 4 carried forward to the Bill Summary page = | [5 empty] | 0

## Bill- Summary - SMF
SMF - PRICED BILLS SUMMARY PAGE
Item | Description | Amount (Excl. VAT)
| PRELIMINARIES & GENERAL ITEMS | R
| Bill 1 : DATA INSTALLATION | R
| Bill 2 : CRITICAL ALARM SYSTEM | 0
| Bill 3 : FIRE DETECTION SYSTEM | 0
| Bill 4 : ACCESS CONTROL SYSTEM | 0
| Bill 5 : CCTV SYSTEM | 0
| Bill 6: GAS SUPPRESSION SYSTEM (Provisional Amount) | 180000
TOTAL CARRIED OVER TO FORM OF TENDER (Excl VAT)

## P&G'S - SMF
PRELIMINARIES AND GENERAL
Item | Description | Unit | QTY | Supply Unit rate | Installation Unit Rate | Total Amount
Supply & Install the following equipment including all connectors, terminal screws. Price to meet the main contractor's contract conditions as per Part 4:
1 | P&G
1.1 | SITE ESTABLISHMENT
1.1.1 | Site Office equipment | Sum | 1
1.1.2 | Site Storage (Lockable Container) | Sum | 1
1.1.3 | Site Workshop Area | Sum | 1
1.1.4 | Other requirements (specify ) | Sum | 1
1.2 | ADMINISTRATIVE
1.2.1 | Site Personnel | Sum | 1
1.2.2 | Supervisory Staff | Sum | 1
1.2.3 | Draughtsman and Tracers | Sum | 1
1.2.4 | Transportation cost (up to incl.1 ton Truck) | Sum | 1
1.2.5 | Larger than 1 ton Truck | Sum | 1
1.2.6 | Insurance and Assurance(administrative) | Sum | 1
1.2.7 | Telephone ,electricity water, stationary for all construction phases | Sum | 1
Hourly rates: Normal hours:
| (1) Site Project Manager | R/h | 1 | 0 | NIL
| (2) Site Project Coordinator | R/h | 1 | 0 | NIL
| (3) Site Supervisor | R/h | 1 | 0 | NIL
| (4) Site Journeyman | R/h | 1 | 0 | NIL
| (5) Installer | R/h | 1 | 0 | NIL
| (6) Labourer | R/h | 1 | 0 | NIL
| (7) System Operating Trainer | R/h | 1 | 0 | NIL
Hourly rates: After hours (weekdays):
| (1) Site Project Manager | R/h | 1 | 0 | NIL
| (2) Site Project Coordinator | R/h | 1 | 0 | NIL
| (3) Site Supervisor | R/h | 1 | 0 | NIL
| (4) Site Journeyman | R/h | 1 | 0 | NIL
| (5) Installer | R/h | 1 | 0 | NIL
| (6) Labourer | R/h | 1 | 0 | NIL
| (7) System Operating Trainer | R/h | 1 | 0 | NIL
Hourly rates: weekends/public holidays:
| (1) Project Manager | R/h | 1 | 0 | NIL
| (2) Site Project Coordinator | R/h | 1 | 0 | NIL
| (3) Site Supervisor | R/h | 1 | 0 | NIL
| (4) Site Journeyman | R/h | 1 | 0 | NIL
| (5) Installer | R/h | 1 | 0 | NIL
| (6) Labourer | R/h | 1 | 0 | NIL
| (7) System Operating Trainer | R/h | 1 | 0 | NIL
1.3 | GENERAL COSTS
1.3.1 | Loading and off loading of material and equipment. | Sum | 1
1.3.2 | Setting out of Works, according to specification | Sum | 1
1.3.3 | Cleaning of site upon completion of Contract. | Sum | 1
1.3.4 | Detailed Critical Path/Schedule according to engineers specifications | Sum | 1
1.3.5 | Development of workshop drawings, according to the specification | Sum | 1
1.3.6 | CADDED "As Installed" drawings and “Red Mark-Up” architectural drawings, as specified | Sum | 1
1.3.7 | Test and commissioning of complete Works to engineer and client satisfaction. | Sum | 1
1.3.8 | Client Training of staff | Hrs | 12
1.3.9 | Inspection and handing over of fully operational systems to client and consulting engineer’s satisfaction | Sum | 1
1.3.10 | Maintenance and Operational manuals as specified | Sum | 3
1.3.11 | Health and safety file in accordance with principal contractor | Sum | 1
1.4 | CONTRACTOR SPECIAL CONDITIONS
1.4.1 | Maintenance | Sum | 1
1.4.2 | Security | Sum | 1
1.4.3 | Protection of Trees | Sum | 1
1.4.4 | Ablutions | Sum | 1
1.4.5 | Temporary Lighting | Sum | 1
1.4.6 | Safety Inspection | Sum | 1
1.4.7 | Removal of Rubbish and Cleaning | Sum | 1
1.4.8 | Scaffolding, ladders as specified and as may be required | Sum | 1
1.4.9 | Induction | Sum | 1
1.4.10 | Disbursements | Sum | 1
1.4.11 | Identification of Workforce | Sum | 1
1.4.12 | Settlement discount | Sum | 1
1.4.13 | PPE - Reflective vest with company logo, safety shoes etc | Sum | 1
Total carried forward to the Bill Summary page =

## Data Installation - SMF
BILL 1: Data Installation
Item | Description | Unit | QTY | Supply Unit Rate | Install Unit Rate | Combined Amount
Supply & Install the following equipment including all connectors, terminal screws:
1 | Data Installation
1.1 | Data Cabinets
1.1.1 | Modrac 43u 600 x 800 skeleton cabinet – Black | No | 1
1.1.2 | 43u 600 wide glass door Modrac for front – with lock | No | 1
1.1.3 | 43u 300 wide perforated front and rear door Modrac – with lock (2 x saloon type doors per cabinet) | No | 0 |  |  | NIL
1.1.4 | 43u 600 wide perforated door Modrac for rear – with lock | No | 1
1.1.5 | 43u side panel – 800mm – Modrac – grey | No | 2
1.1.6 | 43u panel mount cabinet | No | 1
1.1.7 | 4 way papst fan unit | No | 1
1.1.10 | 43u x 304mm wide cable tray inside cabinet to strab cabling to - black | No | 2
1.1.11 | 6 way 15A Power Duct | No | 2
1.1.12 | 450mm deep flat shelf | No | 1
1.1.13 | Power cable 15A x 5m for power duct complete with dedicated (red) 16A plug | No | 2
1.2 | Cabling and Terminations
1.2.1 | Cat6a Molex U/FTP network cabling complete with labelling and Velcro strips | m | 5700
1.2.2 | Cat6a U/FTP Krone Moulded Fly leads complete with labeling (3m) (RJ45 to RJ45) | No | 77
1.2.3 | Cat6a U/FTP Krone Moulded Patch leads complete with labeling (2m) - CCTV purple | No | 32
1.2.3 | Cat6a U/FTP Krone Moulded Patch leads complete with labeling (2m) - WiFi Green | No | 4
1.2.3 | Cat6a U/FTP Krone Moulded Patch leads complete with labeling (2m) - Data Gray | No | 41
1.2.4 | Krone Cat 6a keystones for patch panels | No | 77
1.2.5 | Krone Cat 6a keystones for floor terminations and dual insert for cover and cradle in power skirting(Execuduct) | No | 41
1.2.6 | Krone Cat 6a keystones for terminations in 4 x 4 back box mounted in ceiling void for camera and wifi points. | No | 36
1.2.7 | 24 port pacth panel | No | 4
1.2.8 | 1U Blanc plates | No | 4
1.2.9 | 8 terminal copper earth bar in cabinet | No | 1
1.2.10 | 16 mm insulated earth cable from earth bar in cabinet connected to local DB ground busbar (TMGB) | m | 80
1.2.11 | Grounding of cabinets and patch panels with 2.5mm conductor | No | 1
1.2.12 | 12 core single mode HDD Fibre (cut and return) between LAN rooms | m | 100
1.2.13 | Fibre termination and splicing (Done by NCS) | No | 24
1.2.14 | 24 port Fibre splice tray LC - LC | No | 2
1.2.15 | LC - LC connectors | No | 24
1.2.16 | Fibre pig tails 2m - yellow | No | 24
1.2.17 | 1U Blank plates | No | 2
1.2.18 | 1U Brush panels | No | 2
1.2.19 | Patch lead guides | No | 16
1.2.20 | Testing upon completion per network point | No | 67
1.2.21 | As built/installed documentation | Sum | 1
1.2.22 | Testing of fibre on completion of splicing | Sum | 1
1.3 | Sundries
1.3.1 | Any additional items to conform to specification : | sum | 1
| Telephone installation | sum | 1 |  |  | 15000
Total for Bill 1 carried forward to the Bill Summary page = | [5 empty] | R

## Critical Alarm - SMF
BILL 2: Critical Alarm System | [5 empty] | Rev 1
Item | Description | Unit | QTY | Supply Unit Rate | Install Unit Rate | Combined Amount
Supply & Install the following equipment including all connectors, terminal screws:
2 | Critical alarms
2.1 | Head end equipment
2.1.1 | Annual cloud hosting, SMS and email alarming and reporting | No | 2
2.3 | Monitoring equipment/Probes
2.3.7 | P8641, 4 Channel temperature transmitter | No | 1
2.3.8 | T4611, single channel temperature sensor with display | No | 1
2.3.9 | SN205, temperature rpobes, 5m tail | No | 3
2.3.10 | Installation Setup, commissioning and training | No | 3
2.4 | Sundries
2.4.1 | Any additional items to conform to specification : | sum | 1
Please list them
Total for Bill 2 carried forward to the Bill Summary page = | [5 empty] | 0

## Fire Detection - SMF
BILL 3: Fire Detection System
Item | Description | Unit | QTY | Supply Unit rate | Installation Unit Rate | Combined Amount
Supply & Install the following equipment including all connectors, terminal screws:
3 | Addressable Fire Detection System
3.1 | HEAD END EQUIPMENT
3.1.1 | Interface into existing Fire Detection System and reprogramming of existing fire panel | sum | 1
3.2 | FIELD EQUIPMENT
3.2.1 | Complete addressable red break glass unit, as specified | No. | 6
3.2.2 | Complete addressable base sounder combined with flashing LED unit, with optical detector mounted on base unit (Price for combo) | No. | 32
3.2.3 | Void detectors complete with ceiling mount LED indicators (Price for detector plus LED) | No. | 8
3.2.4 | 24V power supply for sequential door hold open devices, interfaced to fire detection system | No. | 0 |  |  | NIL
3.2.5 | Hold open maglocks | No | 0 |  |  | NIL
3.2.6 | Hold open door closer | sum | 0 |  |  | NIL
3.2.7 | Complete addressable loop sounders Red Horns | No. | 0 |  |  | NIL
3.2.8 | Complete addressable line relay unit, as specified | No. | 7
3.2.10 | Complete addressable line isolator unit, as specified | No. | 2
3.2.11 | Door contacts for monitored doors | No. | 0 |  |  | NIL
3.2.12 | Installation sundries | No. | 1
3.3 | CABLE
3.3.1 | PH30 1.0mm cable (red) | m | 250
3.4 | GENERAL
3.4.1 | Test and commissioning of complete system to deliver a fully operational system to client and engineers requirement. | Item | 1
3.4.1 | One year maintenace on system which includes 2 full services. Service is over one year period. This also includes update of log book after each service | Sum | 1
3.5 | SUNDRIES
3.5.1 | Any additional items to conform to specification : | sum | 1
Total for Bill 3 carried forward to the Bill Summary page = | [5 empty] | 0

## Access Control - SMF
BILL 4: Access Control System
Item | Description | Unit | QTY | Supply Unit rate | Installation Unit Rate | Combined Amount
Supply & Install the following equipment including all connectors, terminal screws:
4 | Access Control System
4.1 | IMPRO ACCESS CONTROL
4.1.1 | System Master Controller - ImproX IXP400i (XEC900-1-0-GB) with 5Amp Power supply and 17A/Hour battery | No. | 0 |  |  | NIL
4.1.2 | Door controller - Impro ITRT XRT920 ethernet XRT920-0-0-GB-07 | No. | 3
4.1.3 | Aiphone 2 way Intercom - audio only | No. | 1
4.1.4 | Card readers Impro MDR | No. | 6
4.1.5 | LeGrand No touch push button | No. | 1
4.1.6 | Green breakglass Unit (DMN702G) | No. | 3
4.1.7 | Power supply - 5Amp | No. | 3
4.1.8 | Battery backup (12V 17aH CSB Deep Cycle) | No. | 3
4.1.9 | Mag Locks - LK118 for Aluminium Doors | No. | 3
4.1.10 | Mag Locks - LK126 for Wooden Doors | No. | 0 |  |  | NIL
4.1.11 | Door loops - Silver armored CN22 | No. | 3
4.1.14 | Removal and reinstallation of access control door equipment | Prov | 1 |  |  | 2500
4.2 | CABLING FOR ACCESS CONTROL
4.2.1 | 2 Pair Mylar screen cabling for RS485 comms for access control | m | 300
4.2.2 | 2 Pair Mylar screen Reader and Lock Cabling | m | 90
4.2.3 | Cabtyre 0.5mm, 2 core white Low Voltage power cabling for power supply to ITRT controller | m | 5
4.3 | GENERAL
4.3.1 | Test and commissioning of complete system to deliver a fully operational system to client and engineer's requirement | Sum | 1
4.4 | SUNDRIES
4.4.1 | Any additional items to conform to specification : | sum | 1
Please list them
Total for Bill 4 carried forward to the Bill Summary page =

## CCTV - SMF
BILL 5: CCTV System
Item | Description | Unit | QTY | Supply Unit rate | Installation Unit Rate | Combined Amount
Supply & Install the following equipment including all connectors, terminal screws:
5 | CCTV System
5.1 | HEAD END EQUIPMENT
5.1.1 | Hikvision IP Embedded NVR - 32 Channel Recorder with POE | No | 0 |  |  | NIL
5.1.3 | Western Digital Surveillance Hard Disk Drive 4TB | No | 0 |  |  | NIL
5.1.5 | Mecer 27" 16 x 9 TFT LED Wide Monitor, 1920 x 1080 Full HD W/VGA + HDMI & Built-in Speakers (2 x 2W) - Black | No | 0 |  |  | NIL
5.1.11 | Camera licenses | No | 23
5.1.13 | Setup of remote viewing via IVMS4200 Software (Free supply) | Sum | 1
5.1.15 | Setup & Configuration | Sum | 1
5.1.17 | User Training | Hours | 4
5.2 | FIELD EQUIPMENT
Security Cameras (All cameras to be complete with mounting brackets)
5.2.1 | Hikvision AcuSense 2MP fixed dome camera. 2.8mm Lens.Excellent low-light performance with powered-by-DarkFighter technology. Up to 30m IR.Clear imaging against strong back light due to 120 dB true WDR technology,Efficient H.265+ compression technology.False alarm reduction through human and vehicle target classification based on deep learning.IP66 and IK10. 12VDC or POE. Built in Microphone. | No | 5
5.2.2 | Hikvision 6MP Infra-red Fisheye Network Camera. 11.8 Progressive CMOS, ICR, 0lux with IR, 3072 × 2048 @30fps, 1.27mmF2.6 lens, 360°Panoramic view, H.265+H.265H.264+H.264MJPEG | No | 1
Safety Cameras (All cameras to be complete with mounting brackets)
5.2.3 | Hikvision High quality imaging with 4 MP resolution, Excellent low-light performance with powered-by-DarkFighter technology, Efficient H.265+ compression technology, Clear imaging against strong back light due to 120 dB true WDR technology, False alarm reduction through human and vehicle target classification based on deep learning, -ISU: Water and dust resistant (IP66) and vandal-resistant (IK10); -I: Water and dust resistant (IP67) and vandal-resistant (IK10), ISU: built-in microphone for real-time auto security, 3D DNR technology delivers clean and sharp images | No | 17
5.2.4 | Sundries & Consumables | No | 1
Total for Bill 5 carried forward to the Bill Summary page = | [5 empty] | 0

## 5.5 Sum
Electronic Bills of Quantities
Bill No |  |  | Amount
5.5 | Electronic Bills of Quantities | R
| Main Contractors percentage for all mark-ups, attendance, etc on specialist domestic contractor | R
0
| Carried Forward To Section 5.10 : Final Summary | R
CSIR Future PHARMA Facility
Section 5.5 : Electronic Bills of Quantities
Page No. 19 of 19