## BP- Gas BOQ
C4021 - CSIR 3457 PHARMA - SPECIALISED GAS - PRICE BREAKDOWN SCHEDULE - BP
BILL NO.1 : PRELIMINARY AND GENERAL COSTS
(Note : These prices shall be firm and not subject to price adjustment)
Item | Description | Unit | QTY | Supply Rate | Install Rate | Amount
1.1 | SITE ESTABLISHMENT
1 | Camp and fencing | sum | 1
2 | Office | sum | 1
3 | Office Equipment | sum | 1
4 | Store | sum | 1
5 | Workshop | sum | 1
6 | Other | sum | 1
1.2 | ADMINISTRATIVE
1 | Site personnel | sum | 1
2 | Supervisory staff | sum | 1
3 | Guards | sum | 1
4 | Transport | sum | 1
5 | Insurance | sum | 1
6 | Cost of Guarantee | sum | 1
7 | Financing of Retention | sum | 1
8 | Running costs e.g. telephone, electricity,
9 | cleaning, services, printing, stationery, etc. | sum | 1
1.3 | GENERAL COSTS
1 | Allow an amount if required for expenses incurred to tender. | sum | 1
2 | Loading and off loading of material and equipment | sum | 1
3 | Setting out of Works. | sum | 1
4 | Cleaning of site upon completion of Contract. | sum | 1
5 | Critical Path/Schedule. | sum | 1
6 | Issuing Cadded Workshop drawings | sum | 1
7 | Issuing 4 sets of "As-built" drawings and operational manuals including CD | sum | 1
8 | Test and commissioning of complete Works. | sum | 1
9 | Inspection and handing over. | sum | 1
10 | QC/QA | sum | 1
11 | Other items not specifically mentioned | sum | 1
1.4 | COMPLIANCE
1 | Allow for complying with the conditions & requirements of tendering & contract conditions | sum | 1
Total for Bill No. 1 Carried forward to summary page
BILL NO.2 : SPECIALIZED GAS RETICULATION - BP
(Note : These prices shall be firm and not subject to price adjustment)
Item | Description | Unit | QTY | Supply Rate | Install Rate | Amount
BIO-PHARMACY - LPG
2.1 | Supply and installation of copper piping, including fittings, painting and labelling as per SANS colour coding, plastic brackets, painting wall plates and sleeves where required, for a complete working installation as per the drawings, schedules and specifications.
1 | DN 10 pipe | m | 25
2 | DN 15 pipe | m
2.2 | Supply and installation of 90° bends, reducers and tee-junction fittings to copper piping and/or fittings complete as per the drawings, schedules and specifications.
1 | ELBOW - ø10 mm-ø10 mm | no | 10
2 | REDUCER - ø20 mm-ø10 mm | no | 5
3 | TEE - ø10 mm-ø10 mm-ø10 mm | no | 1
2.3 | Supply and installation of three piece stainless steel ball valves including joints to copper pipes and/or fittings complete as per the drawings, schedules and specifications.
1 | DN 10 isolating ball valve | no | 1
2.4 | Supply and installation of BROEN-LAB shut-off valve or other equally approved, vertically mounted, including backplates, blocks, outlet sockets, probes, engraved cover plates, etc. and joint to supply pipes complete as per drawings, schedules and specifications.
1 | Liquefied Petroleum Gas (LPG)
| Suspended Tap for Exposed Piping: 2530 171 1032-T | no | 1
2.5 | Supply and installation of isolating valve boxes including three piece stainless steel ball valves, paint finish, markings, name plates, labels, etc. complete as per the drawings, schedules and specifications.
2.5.1 | BP.00.001 - LABORATORY AREA
| Valve box to take valve sizes | no | 1
1 | - (LPG) DN 10
BIO-PHARMACY - COMPRESSED AIR
2.6 | Supply and installation of galvanised steel, seamless piping, including fittings, painting and labelling as per SANS colour coding, plastic brackets, painting wall plates and sleeves where required, for a complete working installation as per the drawings, schedules and specifications.
1 | DN 10 pipe | m | 25
2 | DN 15 pipe | m
2.7 | Supply and installation of 90° bends, reducers and tee-junction fittings to stainless steel piping and/or fittings complete as per the drawings, schedules and specifications.
1 | ELBOW - ø20 mm-ø20 mm | no | 10
2 | REDUCER - ø20 mm-ø10 mm | no | 0
3 | TEE - ø10 mm-ø10 mm-ø10 mm | no | 1
2.8 | Supply and installation of three piece stainless steel ball valves including joints to copper pipes and/or fittings complete as per the drawings, schedules and specifications.
1 | DN 10 isolating ball valve | no | 1
2.9 | Supply and installation of BROEN-LAB shut-off valve or other equally approved, vertically mounted, including backplates, blocks, outlet sockets, probes, engraved cover plates, etc. and joint to supply pipes complete as per drawings, schedules and specifications.
1 | Compressed Air (Comp Air)
| Suspended Tap for Exposed Piping: 2530 177 1021-T | no | 4
Total for Bill No. 2 Carried forward to summary page
BILL NO.3 : GENERAL ITEMS FOR BP
(Note : These prices shall be firm and not subject to price adjustment)
Item | Description | Unit | QTY | Supply Rate | Install Rate | Amount
3.1 | Miscellaneous items not in BOQ for a complete and working installation to be listed below:
3.1.1 |  | sum | 1
3.1.2 |  | sum | 1
3.1.3 |  | sum | 1
3.1.4 |  | sum | 1
3.1.5 |  | sum | 1
3.2 | LPG Manifold
3.2.1 | Manual changeover manifold for 1 x duty and 1 x standby cylinders, including all required shutoff valves, solenoid valves, pressure reducing valves, pressure transmitters and pressure indicators for a fully functional installation as per drawings, schedules and specifications. | sum | 1
3.3 | Compressed Air line to be connected with the existing compressed air system on site. | sum | 1
3.4 | 12 month maintenance | sum | 1
3.5 | Training of staff | sum | 1
Total for Bill No. 3 Carried forward to summary page
SUMMARY OF BILLS OF QUANTITIES
Item | Description |  |  |  |  | Sub-Total
TOTAL FOR BILL NO. 1
TOTAL FOR BILL NO. 2
TOTAL FOR BILL NO. 3
TOTAL FOR BILLS OF QUANTITIES (excl. VAT)
TENDER SUMMARY
Item | Description | Unit | Rate | Amount |  | Sub-Total
AIR CONDITIONING AND VENTILATION INSTALLATION
A | Bills of Quantities No. 1 TO 3
Subtotal
Provisional Amounts for :
B | Provisional amount for alarm system - BP |  |  | 35000
C
D
E
Subtotal for B+C+D+E
TOTAL NET CONTRACT SUM (excl vat)
1 | Above Total Net contract sum to be carried forward
2 | All the rates in this document must be supplied.
3 | Above amounts to exclude VAT.

## SMF - Gas BOQ
C4021 - CSIR 3457 PHARMA - SPECIALISED GAS - PRICE BREAKDOWN SCHEDULE - SMF
BILL NO.1 : PRELIMINARY AND GENERAL COSTS
(Note : These prices shall be firm and not subject to price adjustment)
Item | Description | Unit | QTY | Supply Rate | Install Rate | Amount
1.1 | SITE ESTABLISHMENT
1 | Camp and fencing | sum | 1
2 | Office | sum | 1
3 | Office Equipment | sum | 1
4 | Store | sum | 1
5 | Workshop | sum | 1
6 | Other | sum | 1
1.2 | ADMINISTRATIVE
1 | Site personnel | sum | 1
2 | Supervisory staff | sum | 1
3 | Guards | sum | 1
4 | Transport | sum | 1
5 | Insurance | sum | 1
6 | Cost of Guarantee | sum | 1
7 | Financing of Retention | sum | 1
8 | Running costs e.g. telephone, electricity,
9 | cleaning, services, printing, stationery, etc. | sum | 1
1.3 | GENERAL COSTS
1 | Allow an amount if required for expenses incurred to tender. | sum | 1
2 | Loading and off loading of material and equipment | sum | 1
3 | Setting out of Works. | sum | 1
4 | Cleaning of site upon completion of Contract. | sum | 1
5 | Critical Path/Schedule. | sum | 1
6 | Issuing Cadded Workshop drawings | sum | 1
7 | Issuing 4 sets of "As-built" drawings and operational manuals including CD | sum | 1
8 | Test and commissioning of complete Works. | sum | 1
9 | Inspection and handing over. | sum | 1
10 | QC/QA | sum | 1
11 | Other items not specifically mentioned | sum | 1
1.4 | COMPLIANCE
1 | Allow for complying with the conditions & requirements of tendering & contract conditions | sum | 1
Total for Bill No. 1 Carried forward to summary page
BILL NO.2 : SPECIALIZED GAS RETICULATION - SMF
(Note : These prices shall be firm and not subject to price adjustment)
Item | Description | Unit | QTY | Supply Rate | Install Rate | Amount
SMALL MOLECULAR FACILITY - OXYGEN
2.1 | Supply and installation of stainless steel SS40, 316, seamless piping, including fittings, painting and labelling as per SANS colour coding, plastic brackets, painting wall plates and sleeves where required, for a complete working installation as per the drawings, schedules and specifications.
1 | DN 6 pipe | m | 21
2 | DN 8 pipe | m | 33
3 | DN 10 pipe | m | 11
4 | DN 15 pipe | m | 22
5 | DN 20 pipe | m | 2
2.2 | Supply and installation of 90° bends, reducers and tee-junction fittings to stainless steel piping and/or fittings complete as per the drawings, schedules and specifications.
1 | ELBOW - ø6 mm-ø6 mm | no | 7
2 | ELBOW - ø8 mm-ø8 mm | no | 8
3 | ELBOW - ø10 mm-ø10 mm | no | 3
4 | ELBOW - ø15 mm-ø15 mm | no | 6
5 | ELBOW - ø20 mm-ø20 mm | no | 2
6 | REDUCER - ø15 mm-ø10 mm | no | 2
7 | REDUCER - ø20 mm-ø8 mm | no | 4
8 | REDUCER - ø20 mm-ø10 mm | no | 2
8 | REDUCER - ø20 mm-ø15 mm | no | 1
10 | TEE - ø10 mm-ø10 mm-ø10 mm | no | 1
11 | TEE - ø15 mm-ø15 mm-ø15 mm | no | 1
12 | TEE - ø20 mm-ø20 mm-ø20 mm | no | 3
2.3 | Supply and installation of Stainless steel TESCOM SG1 Series gas pressure regulators with shut-off valve or other equally approved, vertically mounted, including backplates, blocks, outlet sockets, probes, engraved cover plates, etc. and joint to supply pipes complete as per drawings, schedules and specifications.
1 | Oxygen (O2)
| Sing Stage Regulator with shut-off | no | 3
2.4 | Supply and installation of pipe accessories including joints to stainless steel pipes and/or fittings complete as per the drawings, schedules and specifications.
1 | Non-Return Valve | no | 3
2 | Flashback Arrestor | no | 3
3 | Piping Connector | no | 3
SMALL MOLECULAR FACILITY - HYDROGEN
2.5 | Supply and installation of stainless steel SS40, 316, seamless piping, including fittings, painting and labelling as per SANS colour coding, plastic brackets, painting wall plates and sleeves where required, for a complete working installation as per the drawings, schedules and specifications.
1 | DN 6 pipe | m
2 | DN 8 pipe | m | 54
3 | DN 10 pipe | m
4 | DN 15 pipe | m | 18
5 | DN 20 pipe | m | 2
2.6 | Supply and installation of 90° bends, reducers and tee-junction fittings to stainless steel piping and/or fittings complete as per the drawings, schedules and specifications.
1 | ELBOW - ø8 mm-ø8 mm | no | 14
2 | ELBOW - ø15 mm-ø15 mm | no | 7
3 | ELBOW - ø20 mm-ø20 mm | no | 2
4 | REDUCER - ø10 mm-ø8 mm | no | 2
5 | REDUCER - ø15 mm-ø8 mm | no | 1
6 | REDUCER - ø20 mm-ø8 mm | no | 4
7 | REDUCER - ø20 mm-ø15 mm | no | 4
8 | TEE - ø8 mm-ø8 mm-ø8 mm | no | 1
9 | TEE - ø15 mm-ø15 mm-ø15 mm | no | 2
10 | TEE - ø20 mm-ø20 mm-ø20 mm | no | 2
2.7 | Supply and installation of Stainless steel TESCOM SG1 Series gas pressure regulators with shut-off valve or other equally approved, vertically mounted, including backplates, blocks, outlet sockets, probes, engraved cover plates, etc. and joint to supply pipes complete as per drawings, schedules and specifications.
1 | Hydrogen (H2)
| Sing Stage Regulator with shut-off | no | 3
2.8 | Supply and installation of pipe accessories including joints to stainless steel pipes and/or fittings complete as per the drawings, schedules and specifications.
1 | Non-Return Valve | no | 3
2 | Flashback Arrestor | no | 3
3 | Piping Connector | no | 3
SMALL MOLECULAR FACILITY - NITROGEN
2.9 | Supply and installation of stainless steel SS40, 316, seamless piping, including fittings, painting and labelling as per SANS colour coding, plastic brackets, painting wall plates and sleeves where required, for a complete working installation as per the drawings, schedules and specifications.
1 | DN 6 pipe | m
2 | DN 8 pipe | m | 133
3 | DN 10 pipe | m | 16
4 | DN 15 pipe | m | 52
5 | DN 20 pipe | m | 3
2.1 | Supply and installation of 90° bends, reducers and tee-junction fittings to stainless steel piping and/or fittings complete as per the drawings, schedules and specifications.
1 | ELBOW - ø8 mm-ø8 mm | no | 40
2 | ELBOW - ø10 mm-ø10 mm | no | 7
3 | ELBOW - ø15 mm-ø15 mm | no | 11
4 | ELBOW - ø20 mm-ø20 mm | no | 2
5 | REDUCER - ø10 mm-ø8 mm | no | 14
6 | REDUCER - ø10 mm-ø10 mm | no | 1
7 | REDUCER - ø15 mm-ø8 mm | no | 1
8 | REDUCER - ø15 mm-ø10 mm | no | 6
9 | REDUCER - ø20 mm-ø15 mm | no | 5
0
10 | TEE - ø8 mm-ø8 mm-ø8 mm | no | 1
11 | TEE - ø10 mm-ø10 mm-ø10 mm | no | 11
12 | TEE - ø15 mm-ø15 mm-ø15 mm | no | 5
2.11 | Supply and installation of Stainless steel TESCOM SG1 Series gas pressure regulators with shut-off valve or other equally approved, vertically mounted, including backplates, blocks, outlet sockets, probes, engraved cover plates, etc. and joint to supply pipes complete as per drawings, schedules and specifications.
1 | Nitrogen (N2)
| Sing Stage Regulator with shut-off | no | 18
2.12 | Supply and installation of pipe accessories including joints to stainless steel pipes and/or fittings complete as per the drawings, schedules and specifications.
1 | Non-Return Valve | no | 18
2 | Flashback Arrestor | no | 0
3 | Piping Connector | no | 18
SMALL MOLECULAR FACILITY - COMPRESSED AIR
2.13 | Supply and installation of galvanised steel, seamless piping, including fittings, painting and labelling as per SANS colour coding, plastic brackets, painting wall plates and sleeves where required, for a complete working installation as per the drawings, schedules and specifications.
1 | DN 6 pipe | m
2 | DN 8 pipe | m
3 | DN 10 pipe | m
4 | DN 15 pipe | m
5 | DN 20 pipe | m | 114
2.14 | Supply and installation of 90° bends, reducers and tee-junction fittings to stainless steel piping and/or fittings complete as per the drawings, schedules and specifications.
1 | ELBOW - ø20 mm-ø20 mm | no | 20
2 | REDUCER - ø20 mm-ø15 mm | no | 4
3 | TEE - ø20 mm-ø20 mm-ø20 mm | no | 15
2.15 | Supply and installation of BROEN-LAB shut-off valve or other equally approved, vertically mounted, including backplates, blocks, outlet sockets, probes, engraved cover plates, etc. and joint to supply pipes complete as per drawings, schedules and specifications.
1 | Compressed Air (Comp Air)
| Suspended Tap for Exposed Piping: 2530 177 1021-T | no | 4
2.16 | Supply and installation of pipe accessories including joints to stainless steel pipes and/or fittings complete as per the drawings, schedules and specifications.
1 | Non-Return Valve | no | 0
2 | Flashback Arrestor | no | 0
3 | Piping Connector | no | 0
2.17 | Supply and installation of isolating valve boxes including three piece stainless steel ball valves, paint finish, markings, name plates, labels, etc. complete as per the drawings, schedules and specifications.
2.17.1 | SMF.00.008 - SYNTHETICS LAB
| Valve box to take valve sizes | no | 1
1 | - (Comp Air) DN 20
2 | - (N2) DN 10
3 | - (H2) DN 15
4 | - (O2) DN 10
2.17.2 | SMF.00.007 - FLOW LABORATORY
| Valve box to take valve sizes | no | 1
1 | - (Comp Air) DN 20
2 | - (N2) DN 15
3 | - (H2) DN 8
4 | - (O2) DN 8
2.17.3 | SMF.00.010 - SCALE-UP/PRE-PILOT
| Valve box to take valve sizes | no | 1
1 | - (Comp Air) DN 20
2 | - (N2) DN 15
3 | - (H2) DN 8
4 | - (O2) DN 8
Total for Bill No. 2 Carried forward to summary page | [5 empty] | 0
BILL NO.3 : GENERAL ITEMS FOR SMF
(Note : These prices shall be firm and not subject to price adjustment)
Item | Description | Unit | QTY | Supply Rate | Install Rate | Amount
3.1 | Miscellaneous items not in BOQ for a complete and working installation to be listed below:
3.1.1 |  | sum | 1
3.1.2 |  | sum | 1
3.1.3 |  | sum | 1
3.1.4 |  | sum | 1
3.1.5 |  | sum | 1
3.2 | Nitrogen Manifold
3.2.1 | Manual changeover manifold for 2 x duty and 2 x standby cylinders, including all required shutoff valves, solenoid valves, pressure reducing valves, pressure transmitters and pressure indicators for a fully functional installation as per drawings, schedules and specifications. | sum | 1
3.3 | Hydrogen Manifold
3.3.1 | Manual changeover manifold for 2 x duty and 2 x standby cylinders, including all required shutoff valves, solenoid valves, pressure reducing valves, pressure transmitters and pressure indicators for a fully functional installation as per drawings, schedules and specifications. | sum | 0
3.4 | Oxygen Manifold
3.4.1 | Manual changeover manifold for 2 x duty and 2 x standby cylinders, including all required shutoff valves, solenoid valves, pressure reducing valves, pressure transmitters and pressure indicators for a fully functional installation as per drawings, schedules and specifications. | sum | 1
3.5 | Compressed Air line to be connected with the existing compressed air system on site. | sum | 1
3.6 | 12 month maintenance | sum | 1
3.7 | Training of staff | sum | 1
Total for Bill No. 3 Carried forward to summary page
SUMMARY OF BILLS OF QUANTITIES
Item | Description |  |  |  |  | Sub-Total
TOTAL FOR BILL NO. 1
TOTAL FOR BILL NO. 2
TOTAL FOR BILL NO. 3
TOTAL FOR BILLS OF QUANTITIES (excl. VAT)
TENDER SUMMARY
Item | Description | Unit | Rate | Amount |  | Sub-Total
AIR CONDITIONING AND VENTILATION INSTALLATION
A | Bills of Quantities No. 1 TO 3
Subtotal
Provisional Amounts for :
B | Provisional amount for alarm system - SMF |  |  | 320000
C
D
E
Subtotal for B+C+D+E
TOTAL NET CONTRACT SUM (excl vat)
1 | Above Total Net contract sum to be carried forward
2 | All the rates in this document must be supplied.
3 | Above amounts to exclude VAT.

## 5.9 Sum
Gas Bills of Quantities
Bill No |  |  | Amount
5.9 | Gas Bills of Quantities | R
| Main Contractors percentage for all mark-ups, attendance, etc on specialist domestic contractor | R
0
| Carried Forward To Section 5.10 : Final Summary | R
CSIR Future PHARMA Facility
Section 5.9 : Gas Bills of Quantities
Page No. 11 of 11