## Sheet 1 - Technical Evaluation
The supply of CentOS based OpenStack Cloud Platform to the CSIR
Technical Evaluation And Elimination Criteria for OpenStack Cloud
CSIR RFP No. | 3320/02/09/2019
Bidders Name:
Bidder’s Contacts: Email & Tel no.
S/N | Elimination Criteria — Pass/Fail (Proposal should not be considered for further evaluation unless it meets all of the following mandatory criteria)
1. | Product Specifications/ Functional Requirements
1.1 | Submission after the deadline
1.2 | Proposals submitted at incorrect location
1.3 | Solution not based on CentOS
1.4 | Compute nodes have less than 5GB of memory per core
1.5 | Telemetry without billing
1.6 | The Supplier did not propose 25GB Ethernet network cards with PCI express x16 slot (gen 3) for compute nodes
1.7 | The Supplier did not propose usable storage of 500TB with three copies.
1.8 | The proposed storage does not consits of at least 10% SSDs
1.9 | The Supplier is unable to describe how the solution can be modified to suite HPC workloads.
1.10 | The Supplier does not include on its proposal the working OpenStack cloud base system design
1.11 | The Supplier does not indicate how the solution scale for both nodes and storage
1.12 | The scalable solution does not include any additional hardware equipment required should the solution scale to additional rack
1.13 | Details of the complete OpenStack previously implemented project not supplied
1.14 | No skills transfer and training commitment
1.15 | Bidders that are not EME’s or QSE with a Level 1 or 2 B-BBEE, such bidders must provide either a valid B-BBEE Sworn Affidavit or certified valid B-BBEE certificate.
S/N | Technical Criteria — Weighted ( Proposal will be eliminated if they do not reach 50% score in any evaluation points and 70 % of total score) | MAX Points | Rating Scale ( Weighted)
2 | Hardware Specifications
2.1 | Network bandwidth of 25 Gb/s | 10 | main network switch port speed (70% for 25Gb/s ) [5]
compute node network card speed (70%for 25Gb/s) [5]
2.2 | 20 cores for dual CPUs compute nodes and alteast 2.4 GHz | 45 | ease of scaling (100% for including how to scale your compute nodes) [5]
number of cores per cpu (70% for 20 cores per CPU) [20]
memory per core (70% for 5GB/core ) [20]
2.4 | Management hardware of the base system (CPU and Memory) | 5
The magement hardware includes High Availability (HA) or can be scaled to HA. of (100% scored for HA; 70% scored for can be scaled) [5]
2.5 | Usable stoarge of 500TB where at least 10% is SSD`s | 40 | size of usable storage (70% for 500TB usable) [20]
total amount of SSDs (70% if 10% of 500TB usable storage is SSDs) [20]
3 | Value Add
3.1 | Detailed complete project of previously implemented HPC and OpenStack system with a reference site | 45 | number of completed Openstack systems (70% for 2 completed project ) [40]
number of completed HPC systems (70% for 1 completed project) [5]
3.2 | Development of OpenStack tools with CHPC | 20 | number of OpenStack tools to be developed with CHPC and sharing ip of the developed tools (70 % for 2 tools or applications offered ) [20]
3.3 | Engineers skills on OpenStack of engineers working on the CHPC openstack cloud project | 5 | Number of years working with OpenStack (10% per year of experience working with OpenStack.100% for anything above 10 years) [5]
3.4 | Skills transfere and training | 30 | 40 % of total project time committed to skills transfere and training will get 70% of rating scale [30]
100
4 | Total Points Earned:
5 | Any Feedback/Comments