## Sheet1
Annexure
Biulding | Serial | Equipment description | Pressure | Year of manufacturer | Asscociated piping Norminal bore | Medium
BLD 2 | A185 | Pressure Vessel | 125PSI | 1965 | TBC | Air
BLD 2 | VL8113 | Pressure Vessel | 1050kpa | 1989 | TBC | Air
BLD 2 | 17382 (2236109168) | Pressure vessel | 1100 Kpa | 2010 | TBC | Air
BLD 2 | 372151 (351810) | Pressure vessel | 1150 Kpa | 2008 | TBC | Air
BLD 2C | 1252 | Pressure Vessel | 1000KPA | 1986 | TBC | Air
BLD 2 | Not indicated | Hydraulic press | Not indicated | Not indicated | TBC | Oil | To be verified on site
BLD 4 | A5658-2 | Pressure Vessel | 1380KPA | 1968 | TBC | Air
BLD 4 | 3205 | Pressure Vessel | 1380KPA | 1968 | TBC | Air
BLD 6 | ILA8530 | Pressure Vessel | 1380KPA | 1988 | TBC | Air
BLD 6 | 3862 | Pressure Vessel | 1380KPA | 1989 | TBC | Air
BLD 7 | OP20291 | Pressure Vessel | 1000KPA | 2008 | TBC | Air
BLD 8 | A1602 | Pressure Vessel | 860KPA | 1965 | TBC | Air
BLD 8 | 2347 | Pressure Vessel | 1650KPA | 1949 | TBC | Air
BLD 10 | J6K40717010 | Pressure vessel | 845Kpa | 2014 | TBC | Air
BLD 10 | 1482 | Pressure vessel | 800Kpa | 2014 | TBC | Air
BLD 10 | 1483 | Pressure vessel | 800 kPA | 2014 | TBC | Air
BLD 12 | TJ789 | Dryer Filter | 1380kPa | 1985 | TBC | Air
BLD 12 | TJ790 | Dryer Filter | 1380kPa | 1985 | TBC | Air
BLD 12 | TJ788 | Dryer Filter | 1380kPa | 1985 | TBC | Air
BLD 12 | TJ783 | Dryer | 1380kPa | 1985 | TBC | Air
BLD 12 | TJ784 | Dryer | 1380kPa | 1985 | TBC | Air
BLD 12 | SER98-80378-1 | Pressure Vessel | 1380kPa | 1959 | TBC | Air
BLD 12 | SER3006039-2 | Pressure Vessel | 1380kPa | 1965 | TBC | Air
BLD 12 | SER3000042-1 | Pressure Vessel | 1380kPa | 1965 | TBC | Air
BLD 12 | SER3006039-1 | Pressure Vessel | 1380kPa | 1959 | TBC | Air
BLD 12 | 500968 | pressure Vessel | 1500kPa | 2005 | TBC | Air
BLD 12 | 501007 | Pressure Vessel | 1500kPa | 2005 | TBC | Air
BLD 12 | 1069-1 | Pressure Vessel | 1000kPa | 2005 | TBC | Air
BLD 12 | ILP4983 | Dryer | 1300kPa | 2005 | TBC | Air
BLD 12 | ILP4984 | Dryer | 1300kPa | 2005 | TBC | Air
BLD 12 | 5505008 | Inline Pre-filter | 1600kPa | 2005 | TBC | Air
BLD 12 | 5504092 | Inline Post-filter | 1600kPa | 2005 | TBC | Air
BLD 12 | 76466A | Pulsation Vessel | 1600kPa | 1984 | TBC | Air
BLD 12 | 7201 | Pulsation Vessel | 19 bar | 1969 | TBC | Air
BLD 12 | 55767 | Accumulator | 20600 Kpa | 1964 | TBC | Oil
BLD 12 | A1020 | Air Receiver | 100PSI | 1965 | TBC | Air
BLd 12 | 19D289028 | Hydraulic Accumulator | 472 bar | 2019 | TBC | Oil
BLD 12 | 19D513059 | Hydraulic Accumulator | 472 bar | 2019 | TBC | Oil
BLD 12 | CMGF05504092 | Pressure Vessel | 16 bar | 2005 | TBC | Air
BLD 12 | CMGF05S05008 | Pressure Vessel | 16 bar | 2005 | TBC | Air
BLD 11 | ILP 1034 | Tunnel Air Dryer | 330kPa | 1986 | TBC | Air
BLD 11 | ILP 1035 | Tunnel Air Dryer | 330kPa | 1986 | TBC | Air
BLD 11 | 901861 | Hydaruic Accumulator | 20700 Kpa | 1986 | TBC | Oil
BLD 11 | ILP 1064 | Tunnel Air Dryer Filter | 330kPa | 1987 | TBC | Air
BLD 11 | ILA 5457 | Service Air Dryer | 1000kPa | 1986 | TBC | Air
BLD 11 | ILA 5458 | Service Air Dryer | 1000kPa | 1986 | TBC | Air
BLD 11 | ILP 1128 | Service Air Receiver | 850kPa | 1987 | TBC | Air
BLD 11 | ILA 5449 | Service Air Filter Vessel | 1000kPa | 1986 | TBC | Air
BLD 11 | 2980/1 | Emergency Oil Tank | 1000kPa | 1987 | TBC | Oil
BLD 11 | 2980/2 | Lube Oil Reservoir | 300kPa | 1987 | TBC | Oil
BLD 11 | 2980/3 | Lube Oil Cooler | 1000kPa | 1987 | TBC | Oil
BLD 11 | AL 8760 | Lube Oil Filter | 1000kPa | 1987 | TBC | Oil
BLD 11 | BS5042182CM26497 | Plenum Hydraulic Accumulator | 20 700kPa | 1986 | TBC | Oil
BLD 11 | BS5042182CM26499 | Plenum Hydraulic Accumulator | 20 700kPa | 1986 | TBC | Oil
BLD 11 | BS5042182CM26500 | Plenum Hydraulic Accumulator | 20 700kPa | 1986 | TBC | Oil
BLD 11 | 19175 | Air Reservoir (TTF) | 1000kPa | 2007 | TBC | Air
BLD 11 | TBC on Site | Medium speed wind tunnel hydraulic system piping | TBC on Site |  | TBC | Oil | To be verified on site
BLD 11 | TBC on Site | medium speed wind tunnel compressor lube oil system piping | TBC on Site |  | TBC | Oil | To be verified on site
BLD 11 | TBC on Site | Cooling tower water piping | TBC on Site |  | TBC | Oil
BLD 12 | 0486 | Pressure Vessel | 1380KPA | 1985 | TBC | Air
BLD 12 | 129 | Pressure Vessel | 1552KPA | 1956 | TBC | Air
BLD 13 | IA2807 | Pressure Vessel | 1379KPA | 1979 | TBC | Air
BLD 14 | 829 | Pressure Vessel | 6000KPA | 1990 | TBC | Air
BLD 14 | 29472 | Pressure Vessel | 1100KPA | 2002 | TBC | Air
BLD 14 | AF2154/ J37138 | Pressure Vessel | 1300KPA | 1998 | TBC | Air
BLD 14 | ILE4265 | Pressure Vessel | 1380KPA | 1999 | TBC | Air
BLD 14 | 6523 | Pressure Vessel | 860KPA | 2013 | TBC | Air
BLD 14 | 6276 | Pressure Vessel | 1380KPA | 1982 | TBC | Air
BLD 14 | 6576 | Pressure Vessel | 1380KPA | 1982 | TBC | Air
BLD 14 | ILA8551 | Pressure Vessel | 1380KPA | 1988 | TBC | Air
BLD 14 | 17/21 | Boiler Clave | 11.38bar | 2017 | TBC | Steam
BLD 14 | 20717 | Pressure Vessel | 1100KPA | 2007 | TBC | Air
BLD 14G | TBC on Site | Chiller plant cooling water pipelines at Roof top | TBC on Site |  | TBC | Water
BLD 14G | TBC on Site | Regloplast oil heater | TBC on Site |  | TBC | oil
BLD 14G | TBC on Site | Cooling water system on the basement | TBC on Site |  | TBC | water
BLD 15 | LK130 | High pressure die casting | TBC on Site |  | TBC | Oil
BLD 15 | LK630 | High pressure die casting | TBC on Site |  | TBC | Oil
| TBC on Site | Regloplast oil heater | TBC on Site |  | TBC | Oil
BLD 15 | 6443 | Pressure Vessel | 689KPA | 1975 | TBC | Air
BLD 15 | ILS1593 | Pressure Vessel | 1100KPA | 2006 | TBC | Air
BLD 15 | TBC on Site | Instron & Schenck testing machines hydraulic hoses | TBC on Site | TBC | TBC | Oil |  | Rubber Flexible hoses
BLD 15 | TBC on Site | Compactcool chiller pipelines | TBC on Site | TBC | TBC | Water
BLD 16 | 5600 | Pressure Vessel | 1380KPA | 1981 | TBC | Air
BLD 17 | 5521 | Pressure Vessel | 1034KPA | 1990 | TBC | Air
BLD 18 | 2036.322 | Reactor, Biostat | 400KPA | 2015 | TBC | Steam
BLD 18 | 2036.323 | Reactor, Biostat | 400KPA | 2015 | TBC | Steam
BLD 18 | ILV 1283 | Pressure Vessel | 1380KPA | 1989 | TBC | Air
BLD 18 | ILV5076 | Pressure Vessel | 1380KPA | 1991 | TBC | Air
BLD 18 | 050-5 | Fermenter | 300 Kpa | 1995 | TBC | Steam
BLD 18 | 205-1 | Fermenter | 300 Kpa | 1995 | TBC | Steam
BLD 18 | 150-2 | Fermenter | 300 Kpa Shell & 600 Ka Jacket | 1995 | TBC | Steam
BLD 18 | 4957 | Fermenter | 300 Kpa Shell & 400 Kpa Jacket | 2015 | TBC | Steam
BLD 18 | 4958 | Fermenter | 300 Kpa Shell & 400 Kpa Jacket | 2015 | TBC | Steam
BLD 18 | 4959 | Fermenter | 300 Kpa Shell & 400 Kpa Jacket | 2015 | TBC | Steam
BLD 18 | 217/300DS | Fermenter | Minus 1bar Sheel & 3 bar Jacket | 1992 | TBC | Steam
BLD 18 | 1302216 | Fermenter | 280 Kpa | 2014 | TBC | Steam
BLD 18 | 660HC10-1194 | Reactor vessel | 1900PSI | 1999 | TBC | Steam
BLD 19 | 4500-1006-20322 | Pressure Reactor | 13 100 Kpa | 2010 | TBC | Steam
BLD 18 | J38349 | Pressure Vessel | 1035KPA | 2001 | TBC | Steam
BLD 18 | W28 | Steam Generator | 1000 Kpa | 1983 | TBC | Steam
BLD 18 | 74319 | Steam Generator | 1100 kpa | 2011 | TBC | Steam
BLD 18 | TBC on Site | Utility Chiller pipelines | TBC on Site | TBC | TBC | Water
BLD19 | J41508 | Pressure vessel | 1035 Kpa | 2016 | TBC | Steam
BLD 19C | 14I304I | Compactcool chiller pipelines | TBC on Site | TBC | TBC | Water
BLD 20 | IA1881 | Fermenter | 300KPA | 1979 | TBC | Steam
BLD 20 | 64727 | Pressure Vessel | 1100 Kpa | 2005 | TBC | Steam
BLD 20 | 5903 | Pressure Vessel | 1034KPA | 1991 | TBC | Air
BLD 20 | 04498 | Pressure Vessel | 1100KPA | 2009 | TBC | Air
BLD 20 | 69973 | Pressure Vessel | 1100KPA | 30 June 1989/2005 | TBC | Air
BLD 20 | J37407 | Pressure Vessel | 1050KPA | 1999 | TBC | Air
BLD 20 | ILS9055 | Pressure Vessel | 1400 Kpa | 2013 | TBC | Air
BLD 23 | SE5067 | Pressure Vessel | 1379KPA | 1961 | TBC | Air
BLD 23 | TBC on Site | Reactor oil pipelines | TBC on Site |  | TBC | Oil
BLD23 | 57645 | Pressure vessel | 1500 Kpa | 2014 | TBC | Air
BLD 24 | ILA8101 | Pressure Vessel | 1000KPA | 1988 | TBC | Air
BLD 24 | J28799 | Pressure Vessel | 1035KPA | 1982 | TBC | Air
Kloppersbos | 5531 | Pressure Vessel | 1380KPA | 1981 | TBC | Air
BLD 28 | 3883 | Pressure Vessel | 862KPA | 1964 | TBC | Air
BLD 28 | 4160 | Pressure Vessel | 1035KPA | 1989 | TBC | Air
BLD 32 | SE5827 | Pressure Vessel | 860KPA | 1962 | TBC | Air
BLD 33 | A3064 | Pressure Vessel | 1370KPA | 1966 | TBC | Air
BLD 36 | TBC on Site | Giullotine pipelines | TBC on Site |  | TBC | Oil
BLD 36 | 2761 /ILA 2961 | Pressure Vessel | 1380KPA | 1984 | TBC | Air
BLD 36 | 7594 | Mobile Pressure Vessel | 1379 Kpa | 1975 | TBC | Air
BLD 36 | 5036 | Mobile Pressure Vessel | 193PSI | 1961 | TBC | Air
BLD 36 | IA 2918 | Pressure Vessel | 1378 Kpa | 1980 | TBC | Air
BLD 14E | 172049 | Mobile Pressure Vessel | 1100KPA | 2004 | TBC | Air
BLD 37 | AR1522 /J28799 | Pressure Vessel | 1035KPA | 1982 | TBC | Air
BLD 43 | ILV5076 | Pressure Vessel | 1380KPA | 1991 | TBC | Air
BLD 44 | 3217 | Pressure Vessel | 1000KPA | 1982 | TBC | Air
BLD 44 | ILV1527 | Pressure Vessel | 1000KPA | 1989 | TBC | Air
BLD 44 | 1802979018 | Pressure vessel | 1100kPa | 2018 | TBC | Air
BLD 46 | J38171/AF6488 | Pressure Vessel | 1000KPA | 2001 | TBC | Steam
BLD 46 | ILV2858 /ILA2858 | Pressure Vessel | 700KPA | 1989 | TBC | Air
BLD 46 | 53378/029 | Pressure Vessel | 1200KPA | 2009 | TBC | Air
BLD 46 | 4100 | Pressure Vessel | 1380KPA | 1989 | TBC | Air
BLD 46 | 59237 | Pressure Vessel | 16 bar | 1992 | TBC | Air
BLD 46 | J38153 | Pressure Vessel | 1300KPA | 2001 | TBC | Air
PTA Casting Lab | J24566 | Pressure Vessel | 1035 Kpa | 1978 | TBC | Air
Paardefontein | AG9876 | Pressure Vessel | 1400Kpa | 2011 | TBC | Air
Paardefontein | PY1803 | Steam Generator | 1000 Kpa | 2018 | TBC | Air
Paardefontein | J33711 | Pressure vessel | 1400 Kpa | 1990 | TBC | Steam
Kloppersbos | ILA5759 | Pressure Vessel | 1380KPA | 1987 | TBC | Air
Kloppersbos | ILA5768 | Pressure Vessel | 1380KPA | 1957 | TBC | Air
Cottesloe | J35967 | Pressure Vessel | 1035 Kpa | 1995 | TBC | Air
Cottesloe | TBC on Site | 1000 ton press piping Mohr Federhaff machine | TBC on Site |  | TBC | oil
Cottesloe | TBC on Site | 10 000KN rope testing machine power pack pipelines | TBC on Site |  | TBC | oil
Cottesloe | TBC on Site | 15 000KN testing machine power pack pipelines | TBC on Site |  | TBC | oil
Cottesloe | 20911 | Pressure Vessel | 1100 Kpa | 2009 | TBC | Air
Cottesloe | 1229GR-B | Pressure Vessel | 689.4 Kpa | 1953 | TBC | Air
BLd 23 | 32522 | Pressure vessel | 1100Kpa | 2014 | TBC | Air