## Sheet1
Electrical Spares BOQ (YEAR 2020- 2023) |  |  |  | Year 1 |  |  | Year 2 |  |  | Year 3
Item | Description | Unit of Measure | Quantity | Unit Price (Exc. VAT) | Total Price (Exc. VAT) | Delivery lead time (Working days) | Unit Price (Exc. VAT) | Total Price (Exc. VAT) | Delivery lead time (Working days) | Unit Price (Exc. VAT) | Total Price (Exc. VAT) | Delivery lead time (Working days)
1 | Battery AA | Each | 100
2 | Battery AAA | Each | 100
3 | Battery D | Each | 20
4 | Battery L144R | Each | 16
5 | Battery LR14 1.5V C PLUS | Each | 20
6 | Battery CR P2 6 Volt | Each | 20
7 | Battery LR61 9 Volt | Each | 20
8 | Busbar Single phase 3kA 1 meter CBI | Each | 5
9 | Busbar Three phase 5kA 3meter CBI | Each | 10
10 | Busbar Three phase 5kA 1 meter CBI insulated | Each | 10
11 | Busbar 63A Three phase 6kA 1 meter CBI | Each | 5
12 | Circuit breaker 10 AMP Single phase 3KA CBI | Each | 38
13 | Circuit breaker 10 AMP Single phase 6KA CBI | Each | 40
14 | Circuit breaker 10 AMP Three phase 3KA CBI | Each | 5
15 | Circuit breaker 20 AMP Single phase 3KA CBI | Each | 72
16 | Circuit breaker 20 AMP Single phase 6KA CBI | Each | 51
17 | Circuit breaker 20 AMP Three phase 3KA CBI | Each | 24
18 | Circuit breaker 30 AMP Single phase 3KA CBI | Each | 52
19 | Circuit breaker 30 AMP Single phase 6KA CBI | Each | 10
20 | Circuit breaker 30 AMP Three phase 3KA CBI | Each | 5
21 | Circuit breaker 30 AMP Three phase 6KA CBI | Each | 5
22 | Circuit breaker 32 AMP Single phase 3KA CBI | Each | 5
23 | Circuit breaker 32 AMP Three phase 6KA CBI | Each | 5
24 | Circuit breaker 35 AMP Single phase 3KA CBI | Each | 5
25 | Circuit breaker 40 AMP Single phase 3KA CBI | Each | 5
26 | Circuit breaker 60 AMP Single phase 2.5KA CBI | Each | 5
27 | Circuit breaker 60 AMP Single phase 6KA CBI | Each | 5
28 | Circuit breaker 63 AMP Single phase 3KA CBI | Each | 5
29 | Circuit breaker 63 AMP Three phase 5KA CBI | Each | 5
30 | Circuit breaker steel clip 3KA CBI | Each | 20
31 | Circuit breaker steel adaptor plate CBI | Each | 60
32 | Contactor (Domestic) 4 Pole 220V CBI | Each | 10
33 | Contactor 25A 3Phase 400V | Each | 3
34 | Contactor 22KW 3 phase 400V | Each | 1
35 | Contactor 50A 220-230V 50HZ | Each | 1
36 | Contactor 18A 3 phase 7.5KW 380V | Each | 1
37 | Contactor F225 225A 3 phase 230V | Each | 1
38 | Contact block NC | Each | 5
39 | Auxillary block NO/NC | Each | 7
40 | Base 11 Pin finder | Each | 5
41 | Overload Thermal 6.3 -10A Adjustable | Each | 2
42 | Overload Thermal 23-32A | Each | 2
43 | Earth leakage 60AMP Single phase 3KA CBI (Green Leaver) | Each | 12
44 | Earth leakage 60A Single phase with overload 3KA CBI | Each | 12
45 | Earth leakage 60A Three phase with overload 5KA CBI | Each | 6
46 | Earth leakage 63AMP Single phase 3KA CBI (Green Leaver) | Each | 37
47 | Earth leakage 63A Single phase with overload 3KA CBI | Each | 22
48 | Earth leakage 63A Single phase with overload 5KA CBI | Each | 5
49 | Emergency stop button | Each | 5
50 | Isolator Lockable 30A Three phase | Each | 5
51 | Isolator Lockable 32A Single phase | Each | 5
52 | Isolator Lockable 32A Three phase | Each | 6
53 | Isolator 63A 3P | Each | 1
54 | Isolator 63A 3P 22kW | Each | 2
55 | Isolator 63A 3P 5KA 13MM | Each | 1
56 | Isolator Double Pole 30A 2X4 Plus Cover Crabtree | Each | 118
57 | Isolator-Stove Double Pole 30A 100X50MM Plus White Cover Crabtree | Each | 10
58 | Isolator-Stove Double Pole 30A 100X100MM Plus White Cover Crabtree | Each | 30
59 | Isolator-Stove Double Pole 60A 4X4MM Plus White Cover Crabtree | Each | 5
60 | Isolator-Stove Double Pole 60A 100X50MM Plus White Cover Crabtree | Each | 12
61 | Isolator-Stove Triple Pole 60A 100X50MM Plus White Cover Crabtree | Each | 5
62 | Isolator-Stove Triple Pole 63A 100X50mm Plus White Cover Crabtree | Each | 5
63 | Isolator-Stove Triple Pole 63A 100X100mm Plus White Cover Crabtree | Each | 10
64 | Isolator- Weatherproof Single phase 20A Brand Clipsal | Each | 10
65 | Isolator- Weatherproof Three phase 63A Brand Clipsal | Each | 10
68 | GP Wire 1.5MMX100M Earth | Each | 5
69 | GP Wire 1.5MMX100M Black | Each | 5
70 | GP Wire 1.5MMX100M Red | Each | 5
71 | GP Wire 1.5MMX100M Blue | Each | 5
72 | GP Wire 2.5MMX100M Black | Each | 6
73 | GP Wire 2.5MMX 100M Red | Each | 6
74 | GP Wire 2.5MMX100M Blue | Each | 5
75 | GP Wire 4MMX100M Red | Each | 5
| GP Wire 4MMX100M Black | Each | 5
| GP Wire 4MMX100M Blue | Each | 5
| GP Wire 4MMX100M Earth Green & Yellow | Each | 5
| GP Wire 6MMX100M Red | Each | 5
| GP Wire 6MMX100M Black | Each | 5
| GP Wire 6MMX100M Blue | Each | 5
| GP Wire 6MMX100M Earth Green & Yellow | Each | 5
| GP Wire 10MMX100M Red | Each | 5
| GP Wire 10MMX100M Black | Each | 5
| GP Wire 10MMX100M Blue | Each | 5
| GP Wire 10MMX100M Earth Green & Yellow | Each | 5
76 | GP Wire 16MMX100M Earth | Each | 1
77 | GP Wire 16MMX100M White | Each | 1
78 | GP Wire 16MMX100M Black | Each | 6
79 | GP Wire 16MMX100M Red | Each | 1
80 | GP Wire 16MMX100M Blue | Each | 1
81 | GP Wire 25MMX100M Red | Each | 1
| Silicone Wire 4MMX100M Black | Each | 5
| Silicone Wire 4MMX100M Blue | Each | 5
| Silicone Wire 4MMX100M Red | Each | 5
| Silicone Wire 4MMX100M Green & Yellow | Each | 5
66 | Solid Wire 1.0MMX100M Red | Each | 1
67 | Solid Wire 1.0MMX100M Black | Each | 1
82 | Bared CopperEarth Wire 2.5MM X100M | Each | 1
83 | Bared CopperEarth Wire 10MM per 1M | Each | 75
84 | Cable Surfix round 1.5MM 2C+E 100M White | Each | 14
85 | Cable Surfix round 1.5MM 4C+E 100M White | Each | 6
86 | Cable Surfix round 2.5MM 2C+E 100M White | Each | 35
87 | Cable Surfix round 2.5MM 4C+E 100M White | Each | 8
88 | Cable Surfix round 4MM 2C+E 100M White | Each | 5
89 | Cable Surfix round 4MM 4C+E 100M White | Each | 15
90 | Amoured Cable 1.5mm x 3C per 1M | Each | 20
91 | Amoured Cable 16mm x 4C per 1M | Each | 5
92 | Gland NO 0 Push-In PVC White | Each | 150
93 | Gland NO 1 Push-In PVC White | Each | 200
94 | Gland NO 2 Push-In PVC White | Each | 20
95 | Gland NO 3 Push-In PVC White | Each | 20
96 | Gland NO 4 Push-In PVC White | Each | 20
97 | Gland NO 5 Push-In PVC White | Each | 20
98 | Gland NO 0 CCG Brass | Each | 200
99 | Gland NO 1 CCG Brass | Each | 200
100 | Gland NO 2 CCG Brass | Each | 4
101 | Gland NO 3 CCG Brass | Each | 6
102 | Gland NO 4 CCG Brass | Each | 5
103 | Gland NO 5 CCG Brass | Each | 5
98 | Gland Locknut NO 0 CCG Brass | Each | 50
99 | Gland Locknut NO 1 CCG Brass | Each | 50
100 | Gland Locknut NO 2 CCG Brass | Each | 4
101 | Gland Locknut NO 3 CCG Brass | Each | 6
102 | Gland Locknut NO 4 CCG Brass | Each | 5
103 | Gland Locknut NO 5 CCG Brass | Each | 5
110 | Cable clips 8mm White (100pcs) | Each | 10
111 | Cable clips 10mm (100pcs) | Each | 10
112 | Cable clips 12mm (100pcs) | Each | 10
113 | Ferrule 1.5MM (100/packet) | Each | 2
114 | Ferrule 2MM (100/packet) | Each | 2
| Ferrule 2.5MM (100/packet) | Each | 2
115 | Ferrule 4MM (100/packet) | Each | 2
116 | Ferrule 6MM (100/packet) | Each | 2
117 | Ferrule 8MM (100/packet) | Each | 2
118 | Ferrule 10MM (100/packet) | Each | 2
119 | Ferrule 16MM | Each | 20
| Ferrule 50MM | Each | 10
| Ferrule 70MM | Each | 10
| Ferrule 95mm | Each | 10
120 | Lug 1.5X4MM (100/packet) | Each | 1
121 | Lug 2.5X4MM (100/packet) | Each | 1
| Lug 2.5X5MM (100/packet) | Each | 1
122 | Lug 4X4MM (100/packet) | Each | 1
123 | Lug 4X6MM (100/packet) | Each | 1
124 | Lug 6X4MM (100/packet) | Each | 1
125 | Lug 6X6MM (100/packet) | Each | 1
126 | Lug 10X4MM (100/packet) | Each | 1
127 | Lug 10X6MM (100/packet) | Each | 1
128 | Lug 10X8MM (100/packet) | Each | 1
129 | Lug 10X10MM (100/packet) | Each | 1
130 | Lug 16X8MM | Each | 24
| Lug 16X10MM | Each | 20
131 | Lug 50X8MM | Each | 10
132 | Lug 50X10MM | Each | 10
133 | Lug 70X10MM | Each | 10
134 | Lug 95X10MM | Each | 10
135 | Copex 20MM | Each | 10
136 | Copex adaptor 20MM | Each | 20
137 | LED Pilot light Red 22MM | Each | 5
138 | LED Pilot light Green 22MM | Each | 5
139 | LED Pilot light Orange 22MM | Each | 5
140 | Floodlight LED Slim 10W Black | Each | 10
141 | Floodlight LED Slim 20W 6000K Cool White 1840lm Black | Each | 15
142 | Floodlight LED Slim 30W Cool White Black | Each | 20
143 | Floodlight LED Slim 100W 6000K Cool white Black | Each | 10
144 | Floodlight LED Slim 150W 220V Syreji Black | Each | 31
145 | Floodlight LED Slim 500W Black | Each | 5
146 | Light Fitting - Centurion Slimline Bulkhead 2D 16Watts | Each | 50
147 | Light Fitting - Downlight tilt with twist lock Osram | Each | 20
148 | Light Fitting - Weather proof Emergency Battery LED 2FT double tube | Each | 10
149 | Light Fitting - Open Channel Flourescent tube 4FT double | Each | 110
150 | Light Fitting - Vapour proof IP65 LED wired 4FT double tube | Each | 10
151 | Light Fitting - Emergency fitting 4FT Open Channel V shape double tube | Each | 10
152 | Light Fitting - Weather proof Emergency Battery LED 4FT double tube | Each | 10
154 | Light Fitting - Open Channel 1500MM LED 5FT V Shape double tube | Each | 106
155 | Light Fitting - Vapour proof (W/proof) LED 5FT double tube | Each | 25
156 | Light Fitting - 40-2 LED Wired Flolite | Each | 200
157 | Light Fitting - 65-2 LED Wired Flolite | Each | 200
158 | Light Fitting - Recessed Fitting LED 1200X600 Reflector | Each | 10
159 | Light Fitting - Recessed Fitting 3 Light Prismatic wired LED 1200X600 | Each | 150
160 | Light Fitting - Recessed Fitting 3 Light Prismatic wired LED 600X600 | Each | 6
161 | Lampholder Porcelain ES import | Each | 30
162 | Fluorescent tube LED 2FT 42W/840 3200lm Cool White Osram | Each | 25
163 | Fluorescent tube LED 4FT 16W Osram | Each | 375
164 | Fluorescent tube LED 4FT 20W Osram | Each | 25
165 | Fluorescent tube LED 4FT 22W Or Less Emergency light Non Maintained 1hr backup Osram | Each | 40
166 | Fluorescent tube LED 4FT 18W/840 T8 daylight | Each | 40
167 | Fluorescent tube LED 4FT 28W HE/840 T5 | Each | 700
168 | Fluorescent tube LED 5FT 20W Osram | Each | 100
169 | Fluorescent tube LED 5FT 24W Osram | Each | 42
170 | Fluorescent tube LED 5FT 24W 230V Daylight 6500K 2400lm | Each | 100
171 | Fluorescent tube LED 5FT 22W Emergency light Non Maintained 1hr backup Osram | Each | 14
172 | Fluorescent tube 16W 2D Square 2 Pin Osram | Each | 50
173 | Fluorescent tube 16W 2D Square 4 Pin Osram | Each | 50
174 | Light - LED 9W 6.5K ES GLS | Each | 50
175 | Light - 9W/840 G23 2Pin 600lm Cool White Osram | Each | 50
176 | Flourescent tube DuluxStar 11W/840 220-240V E27 600lm Cool White Osram | Each | 400
177 | Fluorescent tube T5 14W/840 Cool White 549MM Osram | Each | 40
178 | Fluorescent tube Dulux Star 14W/840 220-240V B22d 600lm Cool White | Each | 500
179 | Flourescent tube DuluxStar 9W/840 Osram | Each | 100
180 | Fluorescent tube Dulux 13W 2pin | Each | 100
181 | Light- Dulux 13W/840 (G24q-1) 4Pin 900lm Cool White Osram | Each | 500
182 | Light- Fluorescent tube L18W/640 Cool White Osram | Each | 402
183 | Light- LED tube ST8V-1.2m 16W/840-EM 16W G13 A+ Cool white Osram | Each | 1000
184 | Light- LED tube ST8V-1.5m 20W/840-EM 20W G13 A+ Cool white Osram | Each | 500
185 | Light- LED tube ST8V-0.6m 8W/840 G7 A+ Cool white Osram | Each | 18
186 | Light- Rechargable AS-8222 230VAC 22LED LAMP B22/E | Each | 13
187 | Centurion clear ES HI Vissor 4hour backup time 4hour charge time | Each | 13
188 | Magneto Lantern | Each | 13
189 | Light- Dulux 18W/840 (G24d-2) 2Pin 1200lm Cool White Osram | Each | 700
190 | Light- Dulux D/E 18W/840 (G24q-2) 4Pin 1200lm Cool White Osram | Each | 500
191 | Light- Dulux 26W/840 (G24d-3) 2Pin 1800lm Cool White Osram | Each | 500
192 | Light- Dulux 26W/840 (G24q-3) 4Pin 1800lm Cool White Osram | Each | 500
193 | Light- 28W E27 clear twin pack golf lamp | Each | 20
194 | Light Bulkhead 2XPL9 Clear | Each | 20
195 | Light- NAV-E SON-E 400W E40 Osram | Each | 100
196 | Light - LED Non dimmable 3W GU10 6500k 110 Deg 450 | Each | 100
197 | Light - LED Candle Non dimmable 4W E14 | Each | 100
198 | Light -LED Non Dimmable MR16 12V 6.5W 6500k 60 Deg Osram | Each | 300
199 | Light- Decostar Standard 50W/680 lm Osram | Each | 50
200 | Light- 85W E40 Spiral Synerji | Each | 100
201 | Light- Dimmable 42W R63 E27 765 candela Osram | Each | 50
202 | Light- Dimmable Daylight LED 10W E27 Osram | Each | 200
203 | Light- HWL 160W 240V B22d Mercury Blended Osram | Each | 500
204 | Light- LED GU5.3 | Each | 100
205 | Ballast DIM 2x18-42/230-240 Osram | Each | 10
206 | Ballast 2X36 Osram | Each | 50
207 | Ballast 2X58 Osram | Each | 50
208 | Ballast 3X36 Osram | Each | 50
209 | Ballast 3x58 Osram | Each | 50
210 | Capacitor 12-uf ±10% 250V 50/60hz | Each | 50
211 | Capacitor 30-uf ±10% 250V 50/60hz | Each | 50
212 | Choke 400W HPS | Each | 5
213 | Ignitor 400W NV/HPS Universal 220-240v 50/60hz | Each | 100
214 | Starter 4-22W ST151 Osram | Each | 200
216 | NS-P-LL1X80-E-CC-350-700 1X80 LED DRIVER | Each | 5
217 | Programmable Digital Timer 24H Touch screen TRDM CBI | Each | 65
218 | Day/Night Switch LS-20C 15A | Each | 30
219 | Pull switch 1 Way | Each | 20
| Pull switch 2 Way | Each | 20
220 | Switch 1Lever 1 Way 100X50mm Plus White Cover Crabtree | Each | 40
221 | Switch 1Lever 2 Way 100X50mm Plus White Cover Crabtree | Each | 30
222 | Switch 1Lever 1 Way 100X50mm Module Crabtree | Each | 20
223 | Switch 1Lever 2 Way 100X50mm Module Crabtree | Each | 20
224 | Switch 2Lever 1 Way 100X50mm Plus White Cover Crabtree | Each | 10
225 | Switch 3Lever 2x2Way 4x2 Plus cover | Each | 10
308 | Weather Proof Switch 1Way Reinforced Nylon | Each | 10
226 | Blank Cover Plate 4X2MM White Crabtree | Each | 20
227 | Blank Cover plate 4X4 White Crabtree | Each | 50
228 | NICKEL PLATE SCREWS C/PLATE | Each | 200
229 | Plug box 4x2 Weatherproof | Each | 14
230 | Plug 2X4 Horizontal Steel | Each | 74
231 | Plug Cover 2X4 Hospital Grey Steel | Each | 30
232 | Plug Cover 2X4 Easter Oak Steel | Each | 74
233 | Single Plug 6861 16A 4X4 White Plus White Cover Crabtree | Each | 60
234 | Double Plug 6881/001 16A 4X4 Plus White Cover Crabtree | Each | 100
235 | Single Switched Plug 16A 4X4 Plus White Cover Crabtree | Each | 50
236 | Double Switched Plug 16A 4X4 Plus White Cover Crabtree | Each | 50
237 | Extenda Plug C2035 5M 5X16A + 4X5A Crabtree | Each | 5
238 | Plug switched 2P+E | Each | 5
239 | Plug switched 2P+E dedicated | Each | 5
240 | Top Plug dedicated red 16 AMP PVC | Each | 50
241 | Top Plug Normal black 5 AMP PVC | Each | 50
242 | Top Plug Normal black 16 AMP PVC | Each | 50
243 | Top Plug 3Pin 16A Rubber | Each | 5
244 | Plug-Welding 32A 3Pin | Each | 5
245 | Plug-Welding 32A 5Pin 400V | Each | 6
246 | Socket- Welding 32A 3Pin | Each | 5
247 | Socket- Welding 32A 5Pin | Each | 6
248 | Socket 16A 4X2 + Cover Steel | Each | 22
249 | Socket 16A 4X4 + Cover Steel | Each | 5
250 | Janus Coupler 3 Pin | Each | 5
251 | Weather Proof York Box 2X4 PSO-1 surface mount Allbro | Each | 20
252 | Weather Proof York Box 4X4 | Each | 5
253 | Round junction box No 0 - 1 Way Steel Orange | Each | 5
254 | Round junction box No 0 - 2 Way Steel Orange | Each | 5
255 | Round junction box No 0 - 3 Way Steel Orange | Each | 5
256 | Round junction box No 0 - 4 Way Steel Orange | Each | 5
257 | Round junction box No 1 - 1 Way Steel Orange | Each | 5
258 | Round junction box No 1 - 2 Way Steel Orange | Each | 5
259 | Round junction box No 1- 3 Way Steel Orange | Each | 5
260 | Round junction box No 1 - 4 Way Steel Orange | Each | 5
261 | Round junction box No 2 - 1 Way Steel Orange | Each | 5
262 | Round junction box No 2 - 2 Way Steel Orange | Each | 5
263 | Round junction box No 2 - 3 Way Steel Orange | Each | 5
264 | Round junction box No 2 - 4 Way Steel Orange | Each | 5
265 | Round junction box No 3 - 1 Way Steel Orange | Each | 5
266 | Round junction box No 3- 2 Way Steel Orange | Each | 5
267 | Round junction box No 3 - 3 Way Steel Orange | Each | 5
268 | Round junction box No 3 - 4 Way Steel Orange | Each | 5
269 | Round junction box No 4 - 1 Way Steel Orange | Each | 5
270 | Round junction box No 4- 2 Way Steel Orange | Each | 5
271 | Round junction box No 4 - 3 Way Steel Orange | Each | 5
272 | Round junction box No 4 - 4 Way Steel Orange | Each | 5
273 | Round junction box No 5 - 1 Way Steel Orange | Each | 5
274 | Round junction box No 5 - 2 Way Steel Orange | Each | 5
275 | Round junction box No 5 - 3 Way Steel Orange | Each | 5
276 | Round junction box No 5 - 4 Way Steel Orange | Each | 5
277 | Round box 1Way 20mm plus Cover PVC | Each | 100
278 | Round box 2Way 20mm plus Cover PVC | Each | 100
279 | Round box 3Way 20mm plus Cover PVC | Each | 20
280 | Round box 4Way 20mm plus Cover PVC | Each | 20
| Blanking plugs/stopper No 0 Tufflon | Each | 10
| Blanking plugs/stopper No 1 | Each | 10
| Blanking plugs/stopper No 2 | Each | 10
| Blanking plugs/stopper No 3 | Each | 10
| Blanking plugs/stopper No 4 | Each | 10
| Blanking plugs/stopper No 5 | Each | 10
281 | Extension Box 4X2 Closed White PVC | Each | 10
282 | Extension Box 4X4 Closed White PVC | Each | 10
283 | Extension Box 4X2 Closed White Steel | Each | 69
284 | Extension Box 4X4 Closed White Steel | Each | 70
285 | Trunking PVC 16X16MM - 2M | Each | 260
286 | Trunking PVC 25X16MM - 3M | Each | 500
287 | Trunking PVC 40X40MM - 3M | Each | 100
288 | Trunking PVC 71X13MM - 2M | Each | 2
289 | Trunking Half moon 42MM - 2M | Each | 20
290 | Trunking Half moon 70X18MM - 2M | Each | 6
291 | Trunking Cover PVC 40MM - 2M | Each | 50
292 | Connector Strip terminal block 100 Per Pack 1.5MM | Each | 10
293 | Connector Strip terminal block 100 Per Pack 2.5MM | Each | 10
294 | Connector Strip terminal block 100 Per Pack 4mm | Each | 10
295 | Connector Strip terminal block 15A (1.0 - 1.5MM) | Each | 10
296 | Connector Strip terminal block 30A (1.5- 4MM) | Each | 10
297 | Connector Strip terminal block 32A | Each | 10
298 | Connector Strip terminal block 60A (1.5 -10MM) | Each | 10
299 | Conduit galvinized pipe 20MM 4M | Each | 12
300 | Conduit bend tube galvinized 20MM | Each | 5
301 | Conduit adaptor tube 20MM | Each | 5
302 | Saddle bar galvinized 20MM | Each | 200
303 | SPRAGUE PVC 25MM 5M | Each | 5
304 | SPRAGUE Steel 20MM 1M | Each | 30
305 | SPRAGUE Connector Steel 20MM | Each | 10
306 | Bamba strap 12x13mm | Each | 5
307 | Microstart Float Switch 10M | Each | 6
309 | Power Skirting Single E/OAK 3M | Each | 11
310 | Power Skirting Double E/OAK 3M | Each | 10
311 | End Cap 1C Skirting E/OAK | Each | 10
312 | End Cap 2C Skirting E/OAK | Each | 10
313 | Grease Di- Electric NSF1 (284g) | Each | 10
314 | Insulation Tape 0.2mm X 18mmX 20mm Black | Each | 100
315 | Insulation Tape 0.2mm X 18mmX 20mm Blue | Each | 100
316 | Insulation Tape 0.2mm X 18mmX 20mm Red | Each | 100
317 | Insulation Tape 0.2mm X 18mmX 20mm White | Each | 100
318 | Fuse Ceramic 20A UL/CSA 600V | Each | 6
319 | Fuse TC80A HRV | Each | 6
320 | Fuse TC100A HRV | Each | 6
| SUB-TOTAL |  |  | 0 | 0
| VAT (15%) |  |  |  | 0
| TOTAL |  |  |  | 0