## CSIR gas monitors
BILL OF QUANTITIES CSIR GAS SENSORS DETECTORS CALIBRATION AND REPLACEMENT OF FAULTY SENSORS AT CSIR SCIENTIA CAMPUS, PRETORIA
ITEM NO | DESCRIPTION | UNIT | RATE | TENDERED BOQ QUANTITY | TENDERED AMOUNT
A | Preliminaries and General
A.1 | Twelve month guarantee | sum | 0 | 1 | 0
A.2 | Minor Builder's work & making good | sum | 0 | 1 | 0
A.3 | Testing and commissioning of air-conditioning systems | sum | 0 | 1 | 0
A.4 | Transportation | sum | 0 | 1 | 0
A.5 | Issue Calibration Certificates for each calibrated gas sensor/monitor | sum | 0 | 1 | 0
| TOTAL CARRIED FORWARD |  |  |  | 0
ITEM NO | DESCRIPTION | UNIT | RATE | TENDERED BOQ QUANTITY | TENDERED AMOUNT
Calibration of Honeywell gas sensors
1 | Calibrate Honeywell CO2 gas sensors | No | 0 | 10 | 0
2 | Calibrate Honeywell H2 gas sensors | No | 0 | 9 | 0
3 | Calibrate Honeywell LEL gas sensors | No | 0 | 6 | 0
4 | Calibrate Honeywell CO gas sensors | No | 0 | 2 | 0
Removal of existing Honeywell XCD units.
5 | Remove existing XCD Honeywell O2 gas sensors | No | 0 | 35 | 0
6 | Remove existing XCD Honeywell CO2 gas sensors | No | 0 | 1 | 0
7 | Remove existing XCD Honeywell H2 gas sensors | No | 0 | 1 | 0
Supply and install new GDS GAS1014 unit complete with gas sensors and display LCD.
Allow for the reprogramming to allow integration of the new gas analysers to the Honeywell BMS panel. Commissioning and calibration of all new gas analysers and issue Calibration certificates for each. The new gas analysers to be fitted with stainless steel adaptor plate (GAS 1014SS) allowing a one for one change out to avoid wall drilling.
8 | GDS GAS 1014 O2 gas analyser | No | 0 | 35 | 0
9 | GDS GAS 1014 H2 gas analyser | No | 0 | 1 | 0
10 | GDS GAS 1014 CO2 gas analyser | No | 0 | 1 | 0
Supply spare parts and handover to Client for storage
11 | Supply GDS 1014 unit | No | 0 | 12 | 0
12 | Supply O2 gas analyser | No | 0 | 10 | 0
13 | Supply H2 gas analyser | No | 0 | 4 | 0
14 | Supply CO2 gas analyser | No | 0 | 4 | 0
15 | Supply CO gas analyser | No | 0 | 4 | 0
| TOTAL CARRIED FORWARD |  |  |  | 0
| TOTAL BILL OF QUANTITIES (Excl. VAT) |  |  |  | 0
TOTAL BILL OF QUANTITIES (Incl. VAT) |  |  |  |  | 0
NAME OF TENDERER
SIGNATURE |  |  |  |  | ……………………
WITNESS | WITNESS
SIGNATURE