## P&G
Contract No:
Contract Name: Construction of Platform for Water Demonstration Hub
at Scientia campus, CSIR
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | SANS |  |  |  |  | R
1 | 1200A | PRELIMINARY AND GENERAL (limited to 10%)
1.1 | 8.3 | FIXED - CHARGE ITEMS
1.1.1 | 8.3.1 | Contractual Requirements | Sum | 1
1.1.2 | PSA 4.5 | Contractor's initial obligations in respect of the Occupational Health and Safety Act and Construction Regulations | Sum | 1
|  | Submission of the Health and Safety File | Sum | 1
Establish Facilities on the Site :
|  | a) Facilities for Engineer (SABS 1200 AB) | Sum | 1
| PSA 8.3.2 | b) Facilities for Contractor | Sum | 1
1.1.6 | 8.3.4 | Remove Contractor's Site establishment on completion of construction | Sum | 1
1.2 | PSA 8.2.2 | TIME-RELATED ITEMS
1.2.1 | 8.4.1 | Contractual Requirements | Sum | 1
| PSA 8.2.2 | Operation and maintenance of facilities on the Site for duration of construction, except where otherwise stated:
| PSA 8.2.2 | a) Facilities for Engineer for duration of construction (SANS 1200 AB)
1.2.2 |  | (vi) Survey assistants and materials | Sum | 1
1.2.4 | PSA 8.13 | Compliance with environmental requirements | Sum | 1
| PSA 8.2.2 | b) Facilities for Contractor for duration of construction, except where otherwise stated
1.2.6 |  | (i) Office and storage sheds | Months | 3
1.2.7 | PSA 8.8 | (iv) Portable latrines- maintenance | Months | 3
1.2.8 |  | (v) Tools and equipment | Months | 3
1.2.9
1.2.10 | PSA 8.4.3 | Supervision for duration of construction | Months | 3
1.2.11 | 8.4.4 | Company and Head Office overhead cost | Months | 3
1.2.13 | 8.4.5 | Provision of Security Personnel | Month | 3
1.3 | 8.5 | SUMS STATED PROVISIONALLY BY ENGINEER
1.3.1 | PSG 8.20 | a) Acceptance testing of material and workmanship called for by the Engineer at a nominated laboratory | Prov. Sum | 1
1.3.2 |  | b) Overheads, charges and profit on item 1.3.1 | % | 0
Existing Services
1.3.3 |  | Relocation of existing Services | Sum | 1
TOTAL CARRIED TO SUMMARY | [5 empty] | 0

## Section C
Contract No:
Contract Name: Construction of Platform for Water Demonstration Hub
at Scientia campus, CSIR
Item Ref | Payment Refers SANS | Description | Unit | Quantity | Rate | Amount
SECTION C:
C1.0 | 1200 C | SITE CLEARANCE
C1.1 | 8.2.1 | Clear and grub | ha | 0.035
| 8.2.2 | Remove and grub large trees and tree stumps of girth
C1.2 |  | 1 m 2 m | No. | 1
C1.3 |  | 2 m 3 m | No. | 0
C1.4 | 8.2.4 | Reclear surfaces (provisional) (where ordered by Engineer) | ha | 0.05
C1.5 | 8.2.5 | Take down existing fence | Km | 0.1
C1.6 | 8.2.8 | Demolish and remove structure, buildings and dismantle steelwork etc. | Sum | 1
C1.7 | 8.2.9 | Cart materials and debris and dump to the nearest landfill (Provisional) | t.km | 10
C1.8 | 8.2.10 | Remove Topsoil to Nominal Depth 150 mm (or other Stated Depth), Stockpile,and Maintain | m2 | 42
C2.0 | 1200 D | EARTHWORKS
| 8.3.2 | Bulk excavations
C2.1 |  | a) i) Excavate in all materials, compact formation and use material for embankment or backfill or dispose, as ordered : | m³ | 125
b) Extra over items 8.3.2a) above for:
C2.2 |  | i) Intermediate materials | m³ | 12
C2.3 |  | ii) Hard rock materials | m³ | 3
C2.6 | 8.3.8.2 | Dealing with services that are at risk because of the construction of earthworks (Provisional) | P/Sum | 1
| 1200 DM | EARTHWORKS (roads, subgrade)
| 8.3.3 | Treatment of road bed
C2.7 |  | a) Treatment of road-bed. Road- bed Preparation (to a depth 150 mm) and compaction of material Minimum of 90% of Mod AASHTO maximum density | m³ | 50
C2.8 | 8.3.5 | ii) 150mm G7 or better natural material compacted to 93% Mod AASHTO for laying inside the pond | m³ | 50
| 1200 ME | Subbase from commercial sources
C2.9 | 8.3.3 | i) 150mm G5 natural material compacted to 95% Mod AASHTO for laying inside the pond | m³ | 50
| 1200 MF | Base from commercial sources
C2.10 | 8.3.3 | a) Construct subbase layer, 150 mm thick, C4 materail compacted to 100% Mod AASHTO Max Dry Density | m³ | 50
C2.11 | 8.3.5 | Process subbase material by stabilization | m³ | 50
| 8.3.8 | Stabilizing agent
C2.12 |  | b) Portland cemet at 3% | t | 3.3
CARRIED FORWARD | [5 empty] | 0
BROUGHT FORWARD | [5 empty] | 0
C3.0 | 1200 G | CONCRETE (STRUCTURAL)
| 8.2 | Formwork
| 8.2.2 | Smooth vertical formwork Walls
C3.1 |  | Slab | m² | 18
C3.2 |  | Sump | m² | 12
C3.3 |  | Apron | m² | 0
C3.4 |  | Ramp | m² | 18
C3.5 |  | Retaining Wall | m² | 40
| 8.3 | Reinforcement
C3.6 | 8.3.1 | High tensile Steel with diameters rangining from 8mm up to 32 mm | t | 4.2
C3.7 |  | a) High-tensile welded mesh reiforcemnt REF 617 in Concrete Pond lining and access ramp | m² | 544
| PSG 8.4 | CONCRETE
| 8.4.1 | a) Strength Concrete Grade 35 MPa/19mm to:
C3.8 |  | Slab | m³ | 74
C3.9 |  | Sump | m³ | 2.5
C3.10 |  | Apron | m³ | 0
C3.11 |  | Ramp | m³ | 16
C3.12 |  | Retaining Wall | m³ | 3
| 8.4.4 | Unformed Surface Finishes
a) Wood-floated finish to:
C3.13 |  | Slab | m² | 260
C3.14 |  | Sump | m² | 2
C3.15 |  | Apron | m² | 0
C3.16 |  | Ramp | m² | 55
C3.17 |  | Retaining Wall | m² | 10
| 8.5 | Joints
C3.18 |  | Formed construction Joint sealed with SIKAFLEX PRO-3 WF polyurethane sealant or similarly approved with 8mm dia polycord backing strip as per detail | m | 128
C3.19 | PSG 8.9.1 | Supply and Install 0,25 mm thick HDPE lining for all the ponds. | m2 | 275
CARRIED FORWARD | [5 empty] | 0
BROUGHT FORWARD | [5 empty] | 0
C4.0 |  | PIPELINES LAYING
| 1200 DB | Excavation
| 8.3.2.a | Excavate in all materials for trenches, backfill and compact to 93% Mod AASHTO Density, including disposal of surplus and unsuitable material as directed for :
Pipes up to 200mm dia for the following depths:
Exceeding but Not Exceeding
C4.1 |  | .01) 0.0m 1.0 m | m³ | 15
C4.2 |  | .02) 1.0 m 2.0 m | m³ | 5
| 8.3.2.b | Extra-over item above for:
C4.3 |  | .01) Intermediate excavation | m³ | 5
C4.4 |  | .02) Hard rock excavation | m³ | 2
C4.5 | 8.3.2 c | Excavate and dispose of unsuitable material from trench bottom (Provisional) | m³ | 1
| 8.3.3 | Excavation ancillaries
| 8.3.3.1 | Make up deficiency in backfill material (Provisional )
C4.6 |  | .01) From other necessary excavations on site | m³ | 10
C4.7 |  | .02) by importation from commercial | m³ | 0
C4.8 | 8.3.4 | a) Shore trench opposite structures or services | m | 2
C4.9 |  | b) Temproray works | Sum | 1
C4.10 | 8.3.5 | Existing serives that intersect or adjoin a pipe trench | m | 5
| 1200 LB | Bedding
| 8.2.2.3 | Supply only of bedding by Importation from Commercial Source
C4.11 |  | .01) Selected granular material | m³ | 20
C4.12 |  | .02) Selected fill material | m³ | 60
C5.0 |  | SEWER RETICULATON
| 1200LD | SEWERS
| 8.2.1 | Supply, handle, lay and bed pipes on flexible pipe bedding complete with testing of Class 34 Solid wall uPVC pipeline.
C5.1 |  | .01) 110mm diameter pipe | m | 65
C5.2 |  | .02) 160mm diameter pipe | m | 5
| 8.2.2 | Pipe specials
Extra-over Items 8.2.2.3 above for supplying, laying and bedding of specials complete with couplings for:
PVC-u bends Class 16
45o
C5.3 |  | 110 mm dia | No | 3
90o
C5.4 |  | 110 mm dia | No | 4
PVC-u 45o Y- Junctions (Class 16)
C5.5 |  | 160 mm dia | No | 1
| 8.2.3 | MANHOLES
Supply, construct manholes 1250mm diameter complete with HDPE step irons and medium duty concrete cover and frames for following depths as per the engineer's design
Exceeding but Not Exceeding
C5.5 |  | .01) Up to 1.5 m | No. | 3
C5.6 |  | .02) 1.50 to 2.5 m | No. | 1
C5.7 |  | Breaking up existing sewer and Connection to existing sewer | Sum | 1
CARRIED FORWARD | [5 empty] | 0
BROUGHT FORWARD | [5 empty] | 0
| 1200 L | MEDIUM- PRESSURE PIPELINES
| 8.2.1 | Supply handle, lay and bed pipes on flexible pipe bedding complete with coupling, testing and disinfecting
C5.8 |  | .01) 110mm uPVC Class 12 | m | 50
| 8.2.2 | Pipe specials
Extra-over Items for supplying, laying and bedding of specials complete with couplings for:
PVC-u bends Class 16
45o
C5.9 |  | 110 mm dia | No | 2
90o
C5.10 |  | 110 mm dia | No | 4
| 8.2.3 | Valves
Extra-over Items C5.9 for supplying, laying and bedding of valves:
C5.11 |  | 110ND handwheel cast iron (non-rising stem) resilient seal gate valve flanged on both ends. | No | 1
Grating
38x38mm square mesh pattern, 38mm Deep open grid anti-slip grey coloured fibre glass grating, complete with angle iron frame and the fixing components
C5.12 |  | a) Cable trench | m² | 5
C5.13 |  | b) Grid inlets frame | m² | 0.75
TOTAL CARRIED TO SUMMARY | [5 empty] | 0

## Summary
Contract No:
Contract Name: Construction of Platform for Water Demonstration Hub
at Scientia campus, CSIR
SUMMARY
SECTION | DESCRIPTION | AMOUNT
SECTION 1 | PRELIMINARY AND GENERAL | 0
SECTION 2 | CIVIL WORKS | 0
NETT TOTAL OF TENDER |  | 0
ALLOWANCE FOR VAT 15.0% |  | 0
TOTAL TENDER SUM |  | 0