## Section A
CSIR COUNCIL FOR SCIENTIFIC AND INDUSTRIAL RESEARCH
CONTRACT NUMBER: RFP No. 3566/19/05/2023
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
ITEM | PAYMENT |  | SHORT DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REFERS
SANS
| 1200 A | SECTION A: PRELIMINARY & GENERAL
A1 | 8.3 | FIXED CHARGE ITEMS
A1.1 | 8.3.1 | Contractual requirements |  | Sum | 1 |  | 0
A1.2 | 8.3.2.2 | Establishment of facilities on the Site for the
Contractor:
|  | a) | Offices and storage sheds | Sum | 1 |  | 0
|  | b) | Ablution facilities | Sum | 1 |  | 0
|  | c) | Tools and equipment | Sum | 1 |  | 0
|  | d) | Water supplies, electric power and
|  |  | communications | Sum | 1 |  | 0
|  | e) | Dealing with water | Sum | 1 |  | 0
A1.3 | 8.3.3 | Other fixed time obligations |  | Sum | 1 |  | 0
A1.4 | PSA 8.3.5 | Removal of Site Establishment on completion |  | Sum | 1 |  | 0
A1.5 | PSA 8.3.6 | Dealing with Environmental Management Directives
|  |  |  | Sum | 1 |  | 0
A1.6 | PSA 8.3.7 | Compliance with the Occupational Health & Safety
|  | Act |  | Sum | 1 |  | 0
A2 | 8.4 | TIME RELATED ITEMS
A2.1 | 8.4.1 | Contractual requirements |  | Sum | 1 |  | 0
A2.2 | 8.4.2.2 | Facilities for the Contractor for duration of contract:
|  | a) | Offices and storage sheds | Sum | 1 |  | 0
|  | e) | Ablution facilities | Sum | 1 |  | 0
|  | f) | Tools and equipment | Sum | 1 |  | 0
|  | g) | Water supplies, electric power and
|  |  | communications | Sum | 1 |  | 0
|  | h) | Dealing with water | Sum | 1 |  | 0
A2.3 | 8.4.5 | Other time-related obligations |  | Sum | 1 |  | 0
A2.4 | PSA 8.4.6 | Dealing with Environmental Management Directives |  | Sum | 1 |  | 0
|  |  | Carried forward |  |  |  | 0
CSIR COUNCIL FOR SCIENTIFIC AND INDUSTRIAL RESEARCH
CONTRACT NUMBER: RFP No. 3566/19/05/2023
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
ITEM | PAYMENT |  | SHORT DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REFERS
|  |  | Brought forward |  |  |  | 0
A2.5 | PSA 8.4.7 | Compliance with the Occupational Health & Safety
|  | Act |  | Sum | 1 |  | 0
A3 | 8.5 | PROVISIONAL SUMS
A3.1 | PSA 8.7 | Dayworks
| PSA 8.7.1 | a) | Labour | hr | 10 |  | 0
| PSA 8.7.2 | b) | Percentage on-cost on subtotal for labour | %
| PSA 8.7.3 | c) | Materials | PS | 1 | 10000 | 10000
| PSA 8.7.4 | d) | Percentage on net cost of materials on
|  |  | materials | %
| PSA 8.7.5 | e) | Vehicles, plant and equipment | hr | 10 |  | 0
| PSA 8.7.6 | f) | Percentage on-cost on subtotal for vehicles,
|  |  | plant and equipment | %
A3.2 |  | Allow the provisional sum stated for any unforeseen
|  | works |  | PROVISIONAL SUM |  |  | 55000
A3.3 |  | Allow the provisional sum stated to scan the area to
|  | locate underground services |  | PROVISIONAL SUM |  |  | 15000
|  |  | TOTAL FOR SECTION A: TO SUMMARY |  |  |  | 80000

## Section B
[6 empty] | Page | 1
CSIR COUNCIL FOR SCIENTIFIC AND INDUSTRIAL RESEARCH
CONTRACT NUMBER: RFP No. 3566/19/05/2023
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
ITEM | PAYMENT |  | SHORT DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REFERS
SECTION B : CIVIL WORKS
SANS
B1 | 1200 C | DEMOLITION
B1.1 |  | Remove existing trolley and set aside for re-use |  | No. | 1 |  | 0
B1.2 |  | Remove existing top rail and set aside for re-use |  | m | 225 |  | 0
B1.3 |  | Demolish existing walkway structure |  | m | 180 |  | 0
B1.4 |  | Remove existing industrial fans and recover for scrap |  | Sum | 1 |  | 0
B1.5 |  | Remove existing steel gate, incl. frame and recover |  | No. | 2 |  | 0
for scrap
B1.6 |  | Remove existing glass panels, incl. steel frame and |  | No. | 3 |  | 0
recover for scrap
B1.7 |  | Demolish existing screed on floor and spoil |  | m³ | 17 |  | 0
B1.8 |  | Demolish existing 150mm RC walls max 1m high and |  | m³ | 34 |  | 0
spoil
B1.9 |  | Remove existing timber door and frame |  | No. | 2 |  | 0
B1.10 |  | Saw-Cut existing suspended RC slabs, approximately |  | m³ | 9.5 |  | 0
320mm thick and spoil
B1.11 |  | Demolish existing brick walls for new door openings |  | m² | 19 |  | 0
B1.12 |  | Demolish top of existing brick wall at office and spoil |  | m² | 3.5 |  | 0
B1.13 |  | Remove timber rafters and purlins and spoil |  | m² | 21 |  | 0
B1.14 |  | Strip existing lining (timber and fibre glass) from |  | m² | 40 |  | 0
concrete soffit
B1.15 |  | Demolish existing kerb and sidewalk and install new |  | m³ | 1 |  | 0
30Mpa concrete ramp with Broom drag finish
B2 | SANS | FORMWORK
1200 G
B2.1 | 8.1.1 | a) | Slab sides - 200mm high | m² | 47 |  | 0
|  | b) | Wall sides - 2.2m high | m² | 920 |  | 0
|  | c) | Wall stop-ends - 300mm wide | m² | 20 |  | 0
|  | d) | Walkway soffit - 30mm slope | m² | 116 |  | 0
|  | e) | Walkway sides - 150mm high | m² | 27 |  | 0
|  | f) | Stairs | No. | 3 |  | 0
[5 empty] | Carried forward |  | 0
[6 empty] | Page | 2
CSIR COUNCIL FOR SCIENTIFIC AND INDUSTRIAL RESEARCH
CONTRACT NUMBER: RFP No. 3566/19/05/2023
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
ITEM | PAYMENT |  | SHORT DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REFERS
|  |  | Brought forward |  |  |  | 0
B3 | 8.3 | REINFORCEMENT
B3.1 |  | a) | Slab | t | 5.3 |  | 0
|  | b) | Walls | t | 11 |  | 0
|  | c) | Walkway | t | 0.6 |  | 0
|  | d) | Stairs | t | 0.4 |  | 0
|  | Mesh Ref 500 in slab (2.4 x 6m sheets) |  | No. | 56 |  | 0
B3.2 |  | CONCRETE
30MPa/19mm concrete to:
|  | a) | Slab | m³ | 82 |  | 0
|  | b) | Walls | m³ | 135 |  | 0
|  | c) | Walkways | m³ | 17.5 |  | 0
|  | d) | Stairs | m³ | 3.7 |  | 0
|  | Supply concrete pump |  | Item | 1 |  | 0
B4 | 8.4.4 | UNIFORMED SURFACE FINISHES
B4.1 |  | Steel floated finish to:
|  | a) | Slab | m² | 340 |  | 0
|  | b) | Walkways | m² | 116 |  | 0
B5 |  | MISCELLANEOUS
B5.1 |  | DOWEL HOLES
|  | Drill out sleeves and repair dowel holes with |  | litres | 115 |  | 0
Sika AnchorFix 2+ or similar to manufacturers spec.
B5.2 |  | JOINTS
|  | Install water bars in slab and wall construction joints |  | m | 268 |  | 0
to detail
|  | Install High Density Jointex, 200mm wide, in slab |  | m | 18 |  | 0
construction joints, to manufacturer's spec.
|  | Install High Density Jointex, 300mm wide, in wall |  | m | 20 |  | 0
construction joints, to manufacturer's spec.
[5 empty] | Carried forward |  | 0
[6 empty] | Page | 3
CSIR COUNCIL FOR SCIENTIFIC AND INDUSTRIAL RESEARCH
CONTRACT NUMBER: RFP No. 3566/19/05/2023
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
ITEM | PAYMENT |  | SHORT DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REFERS
|  |  | Brought forward |  |  |  | 0
|  | Ream out slab and wall construction joints and prime |  | m | 45 |  | 0
with Sika Primer 3N or similar to manufacturers spec.
|  | Seal slab and wall construction joints using |  | m | 45 |  | 0
Sikaflex Tank or similar to manufacturers spec.
|  | Provide 3,2 x 50mm sawcut joints in 150mm |  | m | 6.5 |  | 0
walkways complete with 6 x 20mm ream for
sealer, 8mm Polycord joint filler and 6 x 6mm
Polyurethane sealant
B6 | SANS | BUILDING WORKS
10400
B6.1 |  | Supply, lay and construct 14MPa bricks in
class 2 mortar for:
(Rate to include Brickforce, DPC, ties to existing
brick walls as per SANS 1400 standards)
per SANS 10400 standards)
|  | a) | 230mm brick wall | m² | 32 |  | 0
B6.2 |  | Apply 10-15mm thick smooth plaster on both |  | m² | 64 |  | 0
outer and inner faces of brick work
B6.3 |  | Prepare and apply one coat primer to both sides of |  | m² | 64 |  | 0
230mm brick wall - Primer to client spec.
B6.4 |  | Prepare and apply two coats paint to both sides of |  | m² | 64 |  | 0
230mm brick wall - Paint to client spec.
B6.5 |  | Apply finish to stairs - 30mm Grano Screed and cure |  | m² | 72 |  | 0
B6.6 |  | Construct rib and block slab, incl. concrete, props, |  | m² | 30 |  | 0
design and supply
B6.7 |  | Apply floor finish - 30mm Grano Screed and cure |  | m² | 30 |  | 0
B6.8 |  | Protect existing ground floor in existing store |  | m² | 19 |  | 0
B6.9 |  | Supply and construct 90mm dry wall partition |  | m² | 10 |  | 0
B6.10 |  | Prepare and skim 90mm dry wall partition |  | m² | 20 |  | 0
B6.11 |  | Prepare and apply one coat primer to both sides of |  | m² | 20 |  | 0
90mm dry wall partition - Primer to client spec.
B6.12 |  | Prepare and apply two coats paint to both sides of |  | m² | 20 |  | 0
90mm dry wall partition - Paint to client spec.
B6.13 |  | Prepare existing floor to receive new slab |  | m² | 410 |  | 0
[5 empty] | Carried forward |  | 0
[6 empty] | Page | 4
CSIR COUNCIL FOR SCIENTIFIC AND INDUSTRIAL RESEARCH
CONTRACT NUMBER: RFP No. 3566/19/05/2023
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
ITEM | PAYMENT |  | SHORT DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REFERS
|  |  | Brought forward |  |  |  | 0
B6.14 |  | Supply and install 250 Micron Damp course |  | m² | 410 |  | 0
membrane underneath new slab
B6.15 |  | Install existing glass panels into r.c. walls |  | Sum | 1
- To be supplied by client
B6.16 |  | Plaster and paint reveals to new door openings |  | Sum | 1 |  | 0
B6.17 |  | Supply and install single Access door, hollow core |  | No. | 1 |  | 0
timber, 813 Wide x 2032 high
including frame, door furniture, locks and all things
necessary
B6.18 |  | Supply and install single Fire Escape door, solid |  | No. | 1 |  | 0
timber, (Exterior Grade) 813 Wide x 2032 high
including frame, door furniture, locks, kick plate and
all things necessary
B6.19 |  | Supply and install single Access / Fire Escape door, |  | No. | 1 |  | 0
solid timber, (Exterior Grade) 813 Wide x 2032 high
including frame, door furniture, locks, kick plate and
all things necessary
B6.20 |  | Supply and install 1 timber frame windows, incl. glass |  | No. | 1 |  | 0
to comply with AAAMSA legislation (3x1.3m)
B6.21 |  | Allow the provision sum stated to be expended at
the discretion of the Engineer for unforeseen
|  | building related works |  | PROVISIONAL SUM |  |  | 65000
B7 | 1200 DB | EARTHWORKS (PIPE TRENCHES)
B7.1 | 8.3.2 | Excavate in all materials for trenches, backfill and
compact, including disposal of surplus/unsuitable
material off site for trench widths up to 1.0m for
depths : over and up to :
|  | a) | 0.6 m To 1.0 m | m | 25 |  | 0
|  | b) | 1.0 m To 1.8 m | m | 15 |  | 0
SANS
B8 | 1200 LB | BEDDING (PIPES)
B8.1 | 8.2.1 | Provision of bedding from trench excavation
|  | a) | Selected granular material | m³ | 5 |  | 0
|  | b) | Selected fill material | m³ | 25 |  | 0
[5 empty] | Carried forward |  | 65000
[6 empty] | Page | 5
CSIR COUNCIL FOR SCIENTIFIC AND INDUSTRIAL RESEARCH
CONTRACT NUMBER: RFP No. 3566/19/05/2023
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
ITEM | PAYMENT |  | SHORT DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REFERS
|  |  | Brought forward |  |  |  | 65000
B8.2 | 8.2.2.3 | Provision of bedding from commercial sources
|  | a) | Selected granular material | m³ | 10 |  | 0
|  | b) | Selected fill material | m³ | 20 |  | 0
B9 | SANS | DRAINAGE
1200 L
B9.1 |  | Supply, lay, bed (Class C) and wrap below-ground
steel pipework with welded joints for the following
drainlines:
|  | a) | 375 HDPE pipe, Class 16 | m | 35 |  | 0
|  | a) | 300 HDPE pipe, Class 16 | m | 35 |  | 0
B9.2 |  | Tie into existing structures and make good
|  | a) | for 375 HDPE pipe | Sum | 1 |  | 0
|  | b) | for 300 HDPE pipe | Sum | 1 |  | 0
B9.3 |  | Allow to break existing concrete and remove off
|  | site complete including existing piping (225dia) |  | Sum | 1 |  | 0
B9.4 |  | Allow the provision sum stated to be expended at
the discretion of the Engineer for unforeseen
|  | demolishing items |  | PROVISIONAL SUM |  |  | 35000
|  |  | TOTAL FOR SECTION B : TO SUMMARY |  |  |  | 100000

## Section C
[6 empty] | Page | 6
CSIR COUNCIL FOR SCIENTIFIC AND INDUSTRIAL RESEARCH
CONTRACT NUMBER: RFP No. 3566/19/05/2023
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
ITEM | PAYMENT |  | SHORT DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REFERS
C1 | SABS | SECTION C : STRUCTURAL STEELWORK
1200 H
C1.1 | PSHA | Supply and install galvanised mild steel Mentis Ball Type |  | m | 200 |  | 0
| PSHC | handrails
C1.2 |  | Wire brush and paint existing channel with 1 coat zink |  | m | 225 |  | 0
rich primer
C1.3 |  | Re-install rail using M16 chemical anchors |  | No. | 150 |  | 0
C1.4 |  | Hot-dip galvanised mild steel gate to detail |  | No. | 2 |  | 0
C1.5 |  | Design, supply and install hot-dip galvanised steel |  | No. | 1 |  | 0
equipment access door, 3.65 x 4.6m high
C1.6 |  | Allow the provision sum stated to be expended at
the discretion of the Engineer for unforeseen
|  | structural related works |  | PROVISIONAL SUM |  |  | 55000
|  |  | TOTAL FOR SECTION C : TO SUMMARY |  |  |  | 55000

## Section D
[6 empty] | Page | 7
CSIR COUNCIL FOR SCIENTIFIC AND INDUSTRIAL RESEARCH
CONTRACT NUMBER: RFP No. 3566/19/05/2023
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
ITEM | PAYMENT |  | SHORT DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REFERS
| SANS | SECTION D : PIPEWORK
1200L
D1 | PSL | PUMP STATIONS
Supply Installation, Testing, Commissioning & painting of the following Pumps and pipework completely installed with fittings accessories and necessary valves, pipe supports, Tees , U-Clamps, etc.
D2 |  | MILD STEEL PIPE WORK
Internal shop overhead water pipelines MS Black ERW, medium wt as per SANS62 and GRB SANS 719 as per the drawing with all heavy class fittings such as elbows, tees, unions, nuts, bolts, gaskets, nipples, expanders complete with adequate no. of supports as described in the scope of work. Painted to specification
D2.1 |  | a) | Piping NB15 (Sched 80) | No. | 1 |  | 0
|  | b) | Piping NB25 (Sched 80) | No. | 1 |  | 0
|  | b) | Piping NB40 (Sched 80) | No. | 1 |  | 0
|  | c) | Piping NB50 (Sched 40) | No. | 1 |  | 0
|  | d) | Piping NB65 (Sched 40) | No. | 1 |  | 0
|  | e) | Piping NB80 (Sched 40) | No. | 1 |  | 0
|  | f) | Piping NB100 (Sched 40) | No. | 20 |  | 0
|  | g) | Piping NB150 (Sched 40) | No. | 5 |  | 0
|  | h) | Piping NB200 (Sched 40) | No. | 60 |  | 0
|  | i) | Piping NB250 (Sched 40) | No. | 30 |  | 0
D2.2 |  | 90° Bends (long-radius, forged)
Supply and Installation of BENDS – Klambon Long Radius 90°
|  | a) | NB100 (Sched 40) | no | 4 |  | 0
|  | b) | NB150 (Sched 40) | no | 2 |  | 0
|  | c) | NB200 (Sched 40) | no | 5 |  | 0
|  | d) | NB250 (Sched 40) | no | 1 |  | 0
[5 empty] | Carried forward |  | 0
[6 empty] | Page | 8
CSIR COUNCIL FOR SCIENTIFIC AND INDUSTRIAL RESEARCH
CONTRACT NUMBER: RFP No. 3566/19/05/2023
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
ITEM | PAYMENT |  | SHORT DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REFERS
|  |  | Brought forward |  |  |  | 0
D2.3 |  | Weld-neck flanges, (150# RF)
(incl. gaskets, nuts, bolts & washers)
|  | a) | NB250 (Sched 40) | No. | 1 |  | 0
D2.4 |  | Tees (forged)
Supply, Installation and Commissioning of TEES – Klambon connectors
|  | NB250 to NB200 Reducing tee |  | no | 1 |  | 0
|  | Allowance - NB250 to NB100 Reducing tee |  | no | 1 |  | 0
D3 |  | Pipe jointing inclusive of labour, materials,
consumables, preparation and installation
D3.1 |  | Connectors and Reducers (Forged)
|  | a) | Supply and Installation of – Klambon connectors | lot | 1 |  | 0
|  | b) | NB200 Flexible coupler | no | 6 |  | 0
D4 |  | EQUIPMENT
D4.1 |  | Supply, install, paint and protect the following
valves:
D4.1.1 |  | Ball valves (CL 150 RF, firesafe, single body, s/s
ball, lockable) (Fluval or equivalent approved)
(incl. gaskets, nuts, bolts & washers)
|  | a) | NB15, incl. hand lever | no | 6 |  | 0
|  | b) | NB25, incl. hand lever | n | 4 |  | 0
D4.1.2 |  | Gate Valves
Supply and Installation of > NB80 - lockable gate valve. Klambon or similar approved to SANS 62 and SANS 719.
|  | a) | NB 250 Isolating valve | no | 7 |  | 0
|  | b) | NB200 Isolating valve | no | 1 |  | 0
D4.1.3 |  | Check valves - Full Body, RF (Fluval
WC/CS/150 or equal approved) (incl. gaskets,
nuts, bolts & washers)
|  | a) | NB200 Non-slam check valve | no | 3 |  | 0
D4.1.4 |  | Low point drain assembly complete, including
Ø 25 gate valve, flanges, boltset, gaskets
|  | and all things necessary |  | No. | 6 |  | 0
[5 empty] | Carried forward |  | 0
[6 empty] | Page | 9
CSIR COUNCIL FOR SCIENTIFIC AND INDUSTRIAL RESEARCH
CONTRACT NUMBER: RFP No. 3566/19/05/2023
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
ITEM | PAYMENT |  | SHORT DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REFERS
|  |  | Brought forward |  |  |  | 0
D4.1.5 |  | Pressure regulating valve set to 3,5bar, max operating pressure of 8 bar
|  | a) | NB200 | no | 1 |  | 0
D5 |  | PUMPS complete installed, incl lazer alingement
Pump set - VSD driven, 3 Pumps 2 duty 1 Standby
D5.1 |  | a) | Pump 170m³/h @ 45m Head | no | 3 |  | 0
D5.2 |  | Pump station power supply complete with connection to the mains, switchgear and motor control centre, including cable racks and earthing. |  | no | 3 |  | 0
D6 |  | INSTRUMENTATION AND CONTROL
Supply, installation, testing, commissioning, and training of operating staff of INSTRUMENTATION AND CONTROL devices based on detailed spesification
D6.1 |  | Pressure gauge
|  | a) | 0 to 1600 kPa
|  |  | WIKA 232.50/100/0-1600kPa/G1/2B/LM | no | 8 |  | 0
|  | b) | Binary test points | no | 9 |  | 0
|  | c) | BMS Differential pressure sensor | no | 6 |  | 0
|  | d) | BMS high precision level switch | no | 7 |  | 0
|  | e) | Control system for the pump stations as per specification | no | 1 |  | 0
D7 |  | UNDERGROUND PIPE MAINS
D7.1 |  | HDPE DN12 Piping: Class 12
|  | a) | NB200mm Pipework | m | 40 |  | 0
D8 |  | HDPE DN16 Pipe Fittings: as per the drawing with all heavy class fittings such as elbows, tees, unions, nuts, bolts, gaskets, nipples, expanders complete with adequate no. of supports as described in the scope of work. All joints to be the "but welded HDPE joints"
|  | a) | NB200mm Elbows | no | 2 |  | 0
|  | b) | NB200mm flange | no | 2 |  | 0
[5 empty] | Carried forward |  | 0
[6 empty] | Page | 10
CSIR COUNCIL FOR SCIENTIFIC AND INDUSTRIAL RESEARCH
CONTRACT NUMBER: RFP No. 3566/19/05/2023
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
ITEM | PAYMENT |  | SHORT DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REFERS
|  |  | Brought forward |  |  |  | 0
D9 |  | MISCELLANEOUS
D9.1 |  | Allow for all costs associated with hydrotesting,
flushing and draining of all new pipelines
(amount to include for labour, purpose made
fittings, spades, blind flanges, pump, gauges,
gaskets, bolting and unbolting and all equipment
|  | necessary) |  | Sum | 1 |  | 0
D9.2 |  | Provide all labour, material and equipment
required for testing and commissioning the
|  | system |  | Sum | 1 |  | 0
D9.3 |  | Provisional sum for re-routing of existing services/systems |  | PC | 1 |  | 80000
D9.4 |  | Provide all labour, material and equipment
required for testing and commissioning the
|  | system |  | Sum | 1 |  | 0
D9.5 |  | Make provision for the painted stencilling of
identification markings on equipment and pipes
required for testing and commissioning the
|  | system |  | Sum | 1 |  | 0
|  |  | TOTAL FOR SECTION D : TO SUMMARY |  |  |  | 80000

## Section E
[6 empty] | Page | 8
CSIR COUNCIL FOR SCIENTIFIC AND INDUSTRIAL RESEARCH
CONTRACT NUMBER: RFP No. 3566/19/05/2023
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
ITEM | PAYMENT |  | SHORT DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REFERS
E1 |  | SECTION E : MISCELLANEOUS MECHANICAL
E1.1 |  | Gantry Crane
Supply Installation, Testing, and Commissioning of overhead gantry crane including all accessories, support structure, and controls. Crane to comply to all local regulations
|  | Supply 3 ton overhead gantry crane with 20m track as per the drawings and specification |  | 1 | Lot |  | 0
E1.2 |  | Inspection Care
|  | Refurbish existing trolley, to full working order |  | 1 | Lot |  | 0
|  |  | TOTAL FOR SECTION E : TO SUMMARY |  |  |  | 0

## Section F
|  |  |  | S |  |  | Page | 9
CSIR COUNCIL FOR SCIENTIFIC AND INDUSTRIAL RESEARCH
CONTRACT NUMBER: RFP No. 3566/19/05/2023
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
ITEM | PAYMENT |  | SHORT DESCRIPTION |  | UNIT | QTY | RATE | AMOUNT
NO. | REFERS
F1 |  | SECTION F : DISTRIBUTION BOARDS & MCC
F1.1 |  | MCC
|  | Supply Installation, Testing, and Commissioning of complete MCC as per specification |  |  | sum | 1 |  | 0
F1.2 |  | SUB DB 1
|  | Supply Installation, Testing, and Commissioning |  |  | sum | 1 |  | 0
DB as per specification
F2 |  | INSTRUMENTATION
|  | Supply Installation, Testing, and Commissioning of Ultrasonic Level Sensor & Transmitter E+H or Similar |  |  | No | 1 |  | 0
F3 |  | CABLING AND TERMINATIONS
F3.1 |  | Supply, deliver, offload, install and label within trenches,
sleeves, cable rack or ducts the following: BLACK
PVC/PVC/SWA/PVC Fire Retardant Cu. 600/1000V
Multicore cables to SANS 1507 (Aberdare type)
|  | 10mm² x 4 core |  |  | m | 1 |  | 0
|  | 6mm² x 4 core |  |  | m | 1 |  | 0
|  | 4mm² x 4 core |  |  | m | 1 |  | 0
|  | 4mm² x 3 core |  |  | m | 1 |  | 0
|  | 2.5mm² x 3 core |  |  | m | 1 |  | 0
|  | 1.5mm² x 3 core |  |  | m | 1 |  | 0
|  | 2.5mm² x 4 core |  |  | m | 1 |  | 0
|  | 120mm² x 4 core |  |  | m | 1 |  | 0
|  |  | CARRIED FORWARD |  |  |  |  | 0
CONTRACT NUMBER: RFP No. 3566/19/05/2023
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
ITEM
ITEM | PAYMENT |  | SHORT DESCRIPTION |  | UNIT | QTY | RATE | AMOUNT
NO. | REFERS
|  |  | Brought forward |  |  |  |  | 0
| F3.2 | Gland, terminate and label (individual cores) the
following SWA cables with an IP68
gland. (Pratley / CCG Corrosion Guard type or
equivalent & approved)
|  | 10mm² x 4 core |  |  | No | 1 |  | 0
|  | 6mm² x 4 core |  |  | No | 1 |  | 0
|  | 4mm² x 4 core |  |  | No | 1 |  | 0
|  | 4mm² x 3 core |  |  | No | 1 |  | 0
|  | 2.5mm² x 3 core |  |  | No | 1 |  | 0
|  | 1.5mm² x 3 core |  |  | No | 1 |  | 0
|  | 2.5mm² x 4 core |  |  | No | 1 |  | 0
|  | 120mm² x 4 core |  |  | No | 1 |  | 0
|  | 6mm² x 4 core |  |  | No | 1 |  | 0
|  | 6mm² x 3 core |  |  | No | 1 |  | 0
|  | 1.5mm² x 3 core |  |  | No | 1 |  | 0
|  | 2.5mm² x 4 core |  |  | No | 1 |  | 0
F4 |  | LIGHTING
F4.1 |  | Supply, deliver, offload, install and label in conduit
sleeves, cable rack or ducts the following
F4.2 |  | Beka Schreder 132W Ecobay LED or Similar |  |  | No | 24 |  | 0
F4.3 |  | 2.5mm² tiwn flat & earth |  |  | m | 600 |  | 0
F4.4 |  | Lighting Terminations |  |  | No | 28 |  | 0
F4.5 |  | 2 Way Lighting Switch |  |  | No | 2 |  | 0
F4.6 |  | Lascon SL95 30W LED or Similar Approved |  |  | No | 4 |  | 0
F4.7 |  | Emergency Battery Backed up Lights |  |  | Sum | 1 | 15000 | 15000
CONTRACT NUMBER: RFP No. 3566/19/05/2023
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
ITEM
ITEM | PAYMENT |  | SHORT DESCRIPTION |  | UNIT | QTY | RATE | AMOUNT
NO. | REFERS
|  |  | Brought forward |  |  |  |  | 15000
F5 |  | SECTION F : AUTOMATION & CONTROL & SCADA
Supply Installation, Testing, and Commissioning of
complete Automation Requirements Delta or Similar Approved
including all licenses required
F5.1 |  | PLC CPU, PSU, Backplane |  |  | No | 1 |  | 0
F5.1 |  | 8 Channel D/I |  |  | No | 1 |  | 0
F5.2 |  | 8 Channel D/O |  |  | No | 1 |  | 0
F5.3 |  | 6 Channel A/I |  |  | No | 1 |  | 0
F5.4 |  | Allow for PLC Programming based on above I/O |  |  | Sum | 1 |  | 0
F5.5 |  | Allow for Supply, development of Scada System on HMI |  |  | Sum | 1 |  | 0
F5.6 |  | Comissioning of SCADA & PLC Programming |  |  | Sum | 1 |  | 0
F5.7 |  | Allow for a provisional sum of R50,000 to be used upon engineers |  |  | Sum | 1 | 50000 | 50000
request on overall electrical works
F6 |  | SECTION F : MISCELLANEOUS
F6.1 |  | 63A 3PHASE ENCLOSED ISOLATOR FOR WAVE MAKER |  |  | No | 1 |  | 0
F6.2 |  | Electrical Requirements for Wave Maker | [5 empty] | 0
|  | (Cable rack + additional cable) |  |  | Sum | 1 | 10000 | 10000
F6.3 |  | Allow for a sum of R60,000 for electrical alterations for the
|  | Wave Maker on the approval of the Engineer |  |  | Sum | 1 | 60000 | 60000
F6.4 |  | Supply, Install Motor Field Start & Stop Pedastals, fitted with
|  | all required switch gear, fittings and accessories |  |  | No | 3 |  | 0
|  |  | TOTAL FOR SECTION F : TO SUMMARY |  |  |  |  | 135000

## Summary
[5 empty] | Page | 9
CSIR COUNCIL FOR SCIENTIFIC AND INDUSTRIAL RESEARCH
UPGRADE OF THE MODEL HALL FACILITY - STELLENBOSCH CAMPUS
CONTRACT NUMBER: RFP No. 3566/19/05/2023
SCHEDULE OF QUANTITIES
SUMMARY
From
Page
SECTION A: PRELIMINARY & GENERAL |  |  | 1 | ZAR | 80000
SECTION B : CIVIL WORKS |  |  | 3 | ZAR | 100000
SECTION C : STRUCTURAL STEELWORK |  |  | 6 | ZAR | 55000
SECTION D : PIPEWORK |  |  | 7 | ZAR | 80000
SECTION E : MISCELLANEOUS MECHANICAL |  |  | 8 | ZAR | 0
SECTION F : ELECTRICAL |  |  | 9 | ZAR | 135000
|  |  | SUB-TOTAL | ZAR | 450000
PLUS: | 10% CONTINGENCY TO BE EXPENDED AT THE
| DISCRETION OF THE ENGINEER |  |  | ZAR | 45000
TOTAL CARRIED TO FORM OF TENDER |  |  | TOTAL | ZAR | 495000
DATE |  | SIGNATURE OF TENDERER