## LEARNING FACTORY
CSIR: BUILDING 17A
COUNCIL FOR SCIENTIFIC AND INDUSTRIAL RESEARCH
TYPE OF BULK SERVICES (LEARNING FACTORY TO SUPPORT MANUFACTURING - BUILDING 17A SECOND FLOOR)
BILL OF QUANTITIES - LEARNING FACTORY TO SUPPORT MANUFACTURING
DESCRIPTION | UNIT | QUANTITY |  | QUANTITY | RATE |  |  | QUANTITY |  | QUANTITY | RATE | AMOUNT
LEARNING FACTORY - BUILDING 17A
SECTION 1.
PRELIMINARY AND GENERAL
FIXED CHARGE ITEMS
Contractual requirements.
Insurances | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Programming | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Performance Security | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Retention Guarantee | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Establishment of Facilities on the Site
Facilities for Engineer
Equipment for the Engineer's Staff | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Facilities for Contractor | H4 |  |  | 1 | [5 empty] | 1
Offices and Storage Sheds | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
1
Workshops | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Site Establishment | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Living Accomodation - The Contractor to supply a breakdown of | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
the different categories namley: Supervision, Skilled Labor,
Semi Skilled Labour and Unskilled Labour
Laboratory Facilities | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Ablution and Latrine Facilities | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Tools and Equipment | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Water Supplies | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Electric Power | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Communication | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Air Supplies | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Dealing with Water | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Access | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Facilities Requiring Special Attention
Security | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Safety | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Samples and certification of materials | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Testing Authority | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Other Contractors | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Quality Assurance | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Orders and Indents | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Site Meetings | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Plant for the Works | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Transport on the site | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Transport of the Workforce to and from the site | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Supervision for the duration of the construction | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Company and head office overheads costs for the duration of | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
the contract works
Other fixed charge obligation - Contractor to submit details | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Remove site establishment on completion | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
VALUE RELATED ITEMS
Contractual requirements.
Insurances | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Programming | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Performance Security | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Retention Guarantee | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Establishment of Facilities on the Site
Facilities for Engineer
Equipment for the Engineer's Staff | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Facilities for Contractor
Offices and Storage Sheds | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Workshops | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Site Establishment | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Living Accomodation - The Contractor to supply a breakdown of | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
the different categories namley: Supervision, Skilled Labor,
Semi Skilled Labour and Unskilled Labour
Laboratory Facilities | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Ablution and Latrine Facilities | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Tools and Equipment | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Water Supplies | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Electric Power | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Communication | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Air Supplies | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Dealing with Water | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Access | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Facilities Requiring Special Attention
Security | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Safety | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Samples and certification of materials | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Testing Authority | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Other Contractors | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Quality Assurance | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Orders and Indents | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Site Meetings | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Plant for the Works | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Transport on the site | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Transport of the Workforce to and from the site | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Supervision for the duration of the construction | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Company and head office overheads costs for the duration of | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
the contract works
Other value related obligations - Contractor to submit details | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Remove site establishment on completion | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
TIME RELATED ITEMS
Contractual requirements.
Insurances | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Programming | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Performance Security | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Retention Guarantee | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Establishment of Facilities on the Site
Facilities for Engineer
Equipment for the Engineer's Staff | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Facilities for Contractor
Offices and Storage Sheds | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Workshops | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Site Establishment | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Living Accomodation - The Contractor to supply a breakdown of | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
the different categories namley: Supervision, Skilled Labor,
Semi Skilled Labour and Unskilled Labour
Laboratory Facilities | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Ablution and Latrine Facilities | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Tools and Equipment | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Water Supplies | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Electric Power | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Communication | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Air Supplies | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Dealing with Water | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Access | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Facilities Requiring Special Attention
Security | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Safety | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Samples and certification of materials | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Testing Authority | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Other Contractors | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Quality Assurance | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Orders and Indents | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Site Meetings | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Plant for the Works | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Transport on the site | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Transport of the Workforce to and from the site | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Supervision for the duration of the construction | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Company and head office overheads costs for the duration of | SUM |  |  | 1 |  |  |  | 1 |  | 1
the contract works
Other time related obligation - Contractor to submit details | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
Remove site establishment on completion | SUM | 1 |  | 1 |  |  |  | 1 |  | 1
TOTAL SECTION 1- BILL NO. 01- PRELIMINARIES AND GENERAL
SECTION 2.
BUILDING WORKS - RENOVATIONS AND REFURBISHMENTS OF THE LEARNING FACTORY
MEASURED WORKS
BILL NO. 01
DEMOLITIONS AND PREPARATORY WORK
REMOVAL OF FLOOR COVERING
Carefully take out and remove the existing vinyl flooring send to the salvage yard, make good the floor to receive new floor covering | m2 | 361.504 | 54.2256 | 361.504 | 65 | 16.25 | 18.0752 | 361.504 | 36.1504 | 398 |  |  |  | 361.504 | 22.88 | 15.8 | 1 | 1
REMOVAL OF THE EXISTING STAIRCASE
Carefully take out and remove the existing staircase and send to the salvage yard, make good the wall to receive new staircase as per the engineers spec | Item |  |  | 1 |  |  | 0.05 | 1 | 0.1 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1
REMOVAL OF EXISTING ROLLERSHUTTER DOOR
Take down and remove the existing roller shutter door, 3200x3370mm and send it to the salvage yard | No | [6 empty] | 1 | 0.1 | 1
REMOVAL OF THE EXISTING CARPENTRY FITTINGS
Carefully take out and remove existing double doors, 3200 x 3370mm and send to the salvage. | No | [6 empty] | 1 | 0.1 | 1
BREAKING DOWN AND REMOVAL OF BRICK WALL
Breaking down of the 220mm parapet wall, keep as much and many of existing facebriecks for use. Contractor to rebuild the parapet wall with extra reinforcement to allow for weight of concrete coping and flood light. Existing coping to be reused where possible. (Bricking up measured alsewhere). | m2 | [6 empty] | 7.8 | 0.78 | 9 |  |  |  | 7.8 | 6 | 1.3 | 1 | 1
222
REMOVAL OF STEEL BALUSTRADING
Dismantle and remove the existing bakustrading, 1000mm high and send to the salvage yard | m | [6 empty] | 15 | 1.5 | 17
0
REMOVAL OF SANITARY FITTINGS
Cutting off and removal of the plumbing water pipes and send to the salvage yard (surface mounted) | Item | [6 empty] | 1 | 0.1 | 1
Remove existing basin, cut off plumbing and remove pipe work (surface mounted) | No | [6 empty] | 1 | 0.1 | 1
EXISTING CEILING TREATMENT
Clean, make good and paint the existing "COFFER"slab ceiling complete, as per Architect's recommendation. (Paint measured elsewhere) | m2 | [6 empty] | 361.504 | 36.1504 | 398
WINDOW STRIPPING
Strip existing windows and repaint white while existing. (Paint measure elswhere) | m2 | [6 empty] | 131 | 13.1 | 144
DEEP CLEANING
Allow for deep cleaning in and around the structure | Item | 1 |  | 1 | 10000 | 2500 |  | 1 | 0.1 | 1
TOTAL SECTION 2 - BILL NO. 01- ALTERATIONS
SECTION 2.
BUILDING WORKS - RENOVATIONS AND REFURBISHMENTS OF THE LEARNING FACTORY
MEASURED WORKS
BILL NO. 02
EARTHWORKS
NOTE: Tenderers are advised to study the Model
Preambles for Trades 2008 published by the
Association of South African Quantity Surveyors
SUPPLEMENTARY PREAMBLES
Nature of ground
Trial holes indicate that the nature of the ground is silty
clay to a depth of approximately 500mm with fine to
medium loose sandy material below, therefore "earth"
Subterranean water
No subterranean water is expected
Excavation for working space in rock
Notwithstanding clause 11 page 8 of the Standard
System of Measuring Building Work, excavation for
working space in rock will be measured in cubic metres
to the extent executed and given as "extra over" bulk
excavation or trench and hole excavation as the case
may be
Carting away of excavated material
Descriptions of carting away of excavated material shall
be deemed to include loading excavated material onto
trucks directly from the excavations or, alternatively,from
stock piles situated on the building site
Filling
Notwithstanding the reference to prescribed multiple
handling in clause 1 page 6 of the Standard System of
Measuring Building Work, prices for filling and backfilling
shall include for all selection and any necessary multiple
handling of material
EXCAVATION, FILLING, ETC
EXCAVATIONS, ETC
Excavation in earth not exceeding 2m deep
Bulk excavations | m3 | [6 empty] | 3.075 | 0.3075 | 3 |  |  |  | 3.075 | 2.5 | 0.3 | 4.1 | 1
Extra over trench and hole excavations in earth for
excavation in
Soft rock | m3 | [6 empty] | 1 | 0.1 | 1
Hard rock | m3 | [6 empty] | 1 | 0.1 | 1
Extra over all excavations for carting away
Surplus material from excavations and/or stock piles on | m3 | [6 empty] | 3.075 | 0.3075 | 3
site, to a dumping site to be located by contractor
Risk of collapse of excavations
Sides 5 of trench and hole excavations NE 1,5m dee | m2 | [6 empty] | 3.96 | 0.396 | 4 |  |  |  | 3.96 | 13.2 | 0.3 | 1 | 1
Keeping excavations free of water
Keeping excavations free of all water other than | Item | [6 empty] | 1 | 0.1 | 1
subterranean water
Filling of natural gravel material C4 stabilized material supplied by the
contractor, compacted to 95% Mod AASHTO density
Under floors, steps, pavings, etc | m3 | [6 empty] | 1.125 | 0.1125 | 1 |  |  |  | 1.125 | 4.5 | 2.5 | 0.1 | 1
Filling of natural gravel material G5 supplied by the
contractor, compacted to 95% Mod AASHTO density
Under floors, steps, pavings, etc | m3 | [6 empty] | 1.125 | 0.1125 | 1 |  |  |  | 1.125 | 4.5 | 2.5 | 0.1 | 1
Filling of natural gravel earthfill material supplied by the
contractor, compacted to 95% Mod AASHTO density
Under floors, steps, pavings, etc | m3 | [6 empty] | 1.125 | 0.1125 | 1 |  |  |  | 1.125 | 4.5 | 2.5 | 0.1 | 1
SOIL POISONING
Soil insecticide in accordance with SANS 5859
Under floors etc including forming and poisoning shallow
furrows against foundation walls etc, filling in furrows and
ramming
To bottom of excavated pit | m2 | [6 empty] | 9.45 | 0.945 | 10.395 |  |  |  | 9.45 | 4.5 | 2.1 | 1 | 1
To sides | m2 | [6 empty] | 3.96 | 0.396 | 4 |  |  |  | 3.96 | 13.2 | 0.3 | 1 | 1
TESTS
Prescribed tests to determine degree of compaction
or other properties of ground or filling
Modified AASHTO Density' test | No | [6 empty] | 1 | 0.1 | 1
TOTAL SECTION 2- BILL NO. 02 EARTHWORKS
SECTION 2.
BUILDING WORKS - RENOVATIONS AND REFURBISHMENTS OF THE LEARNING FACTORY
MEASURED WORKS
BILL NO. 03
CONCRETE, FORMWORK AND REINFORCEMENT
NOTE: The use of trade names simply serves to indicate
a standard acceptable to the Principal Agent. Any other
brand may be used with prior written approval of the
Principal Agent
NOTE: Tenderers are advised to study the Model
Preambles for Trades 2008 published by the
Association of South African Quantity Surveyors
SUPPLEMENTARY PREAMBLES
Cost of tests
The costs of making, storing and testing of concrete test
cubes as required under clause 7 "Tests" of SABS
1200G shall include the cost of providing cube moulds
necessary for the purpose, for testing costs and for
submitting reports on the tests to the architect. The
testing shall be undertaken by an independent firm or
institution nominated by the contractor to the approval of
the architect. (Test cubes are measured separately)
Formwork
Description of formwork shall be deemed to include use
and waste only (except where described as "left in" or
permanent), for fitting together in the required forms,
wedging, plumbing and fixing to true angles and surfaces
as necessary to ensure easy release during stripping
and for reconditioning as necessary before reuse
The vertical strutting shall be carried down to such
construction as is sufficiently strong to afford the
required support without damage and shall remain in
position until the newly constructed work is able to
support itself. Formworks to soffits of solid etc
shall be deemed to be slabs not exceeding 250mm thick
unless otherwise described.
Formworks to soffits of solid etc shall be deemed to be
slabs not exceeding 250mm thick unless otherwise
described
Formwork to sides of bases, pile caps, ground beams,
etc will only be measured where it is prescribed by the
engineer for design reasons. Formwork necessitated by
irregularity or collapse of excavated faces will not be
measured and the cost thereof shall be deemed to be
included in the allowance for taking the risk of collapse of
the sides of the excavations, provision for which is made
in "Earthworks"
REINFORCED CONCRETE CAST AGAINST
EXCAVATED SURFACES
25MPa/19mm concrete
Surface beds cast in panels on waterproofing | m3 | [6 empty] | 3.8745 | 0.38745 | 4 |  |  |  | 3.8745 | 4.1 | 2.1 | 0.45 | 1
TEST BLOCKS
Making and testing 150 x 150 x 150mm concrete | No | [6 empty] | 1 | 0.1 | 1
strength test cube
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a | [13 empty] | 8.61 | 4.1 | 2.1 | 1 | 1
wood float
Surface beds, slabs, etc | m2 | [6 empty] | 9 | 0.9 | 10
ROUGH FORMWORK (DEGREE OF ACCURACY III)
(CPAP WORK GROUP NO. 111)
Rough formwork to sides
Sides of slabs | m2 | [6 empty] | 2.108 | 0.2108 | 2 |  |  |  | 2.108 | 12.4 | 0.2 | 0.85 | 1
REINFORCEMENT
High tensile steel reinforcement to structural
concrete work (Y)
8mm Diameter bars | T | [6 empty] | 1 | 0.1 | 1
8mm Diameter bars | T | [6 empty] | 1 | 0.1 | 1
TOTAL SECTION 2- BILL NO. 03 CONCRETE, FORMWORK AND REINFORCEMENT
SECTION NO.2 | H1
BUILDING WORKS - RENOVATIONS AND REFURBISHMENTS OF THE LEARNING FACTORY | H1
BILL NO.4 | H1
MASONRY | H3
NOTE: The use of trade names simply serves to indicate
a standard acceptable to the Principal Agent. Any other
brand may be used with prior written approval of the
Principal Agent
NOTE: Tenderers are advised to study the Model
Preambles for Trades 2008 published by the
Association of South African Quantity Surveyors
SUPPLEMENTARY PREAMBLES
BRICKWORK
Sizes in descriptions
Where sizes in descriptions are given in brick units, "one
brick" shall represent the length and "half brick" the width
of a brick
Hollow walls
Descriptions of hollow walls shall be deemed to include
leaving every fifth perpend of the bottom course of the
external skin open as a weep hole
User note
The following preamble generally applies for works in hot
and humid coastal areas
Bagged and sealed walls
Walls in two skins described as "bagged and sealed"
shall be deemed to include having the outer face of the
inner skin bagged with 1:6 cement and sand mixture and
sealed with two coats bitumen emulsion waterproofing
coating
Face bricks
Bricks shall be ordered timeously to obtain uniformity in
size and colour
Pointing
Descriptions of recessed pointing to fair face brickwork
and face brickwork shall be deemed to include square
recessed, hollow recessed, weathered pointing, etc
BRICKWORK
SUPERSTRUCTURE
Brickwork of NFX bricks (14 MPa nominal
compressive strength) in class II mortar
Half brickwall | m2 | [6 empty] | 45.78 | 4.578 | 50 |  |  |  | 45.78 | 10.9 | 4.2 | 1 | 1
One brickwall | m2 | [6 empty] | 9 | 0.9 | 10 |  |  |  | 9 | 6 | 1.5 | 1 | 1
2,5mm Brickwork reinforcement
75mm Wide reinforcement built in horizontally | m | [6 empty] | 572.25 | 57.225 | 629 |  |  |  | 572.25 | 52.5 | 10.9 | 1 | 1
150mm Wide reinforcement built in horizontally | m | [6 empty] | 28.125 | 2.8125 | 31 |  |  |  | 28.125 | 18.75 | 1.5 | 1 | 1
Prestressed fabricated concrete lintels including
necessary temporary supports
110 x 75mm Lintels in lengths not exceeding 3m | m | [6 empty] | 1.5 | 0.15 | 2 |  |  |  | 1.5 | 1.5 | 1 | 1 | 1
TOTAL SECTION 2 - BILL NO. 04- MASONRY
SECTION NO.2 | H1
BUILDING WORKS - RENOVATIONS AND REFURBISHMENTS OF THE LEARNING FACTORY | H1
BILL NO.5 | H1
WATERPROOFING | H3
NOTE: The use of trade names simply serves to indicate
a standard acceptable to the Principal Agent. Any other
brand may be used with prior written approval of the
Principal Agent
NOTE: Tenderers are advised to study the Model
Preambles for Trades 2008 published by the
Association of South African Quantity Surveyors
SUPPLEMENTARY PREAMBLES
Waterproofing
Waterproofing of roofs, basements, etc shall be laid
under a ten year guarantee. Waterproofing to roofs shall
be laid to even falls to outlets etc with necessary ridges,
hips and valleys.Descriptions of sheet or membrane
waterproofing shall be deemed to include additional
labour to turn-ups and turn-downs
One layer 375 micron embossed polyethylene
dampproof course (SANS 952-1985 type B)
DPC In walls | m2 | [6 empty] | 1.65 | 0.165 | 2 |  |  |  | 1.65 | 11 | 0.15 | 1 | 1
TOTAL -SECTION 2 - BILL NO.5- WATERPROOFING
SECTION NO.2 | H1
BUILDING WORKS - RENOVATIONS AND REFURBISHMENTS OF THE LEARNING FACTORY | H1
BILL NO.6 | H1
CARPENTRY AND JOINERY | H3
NOTE: The use of trade names simply serves to indicate
a standard acceptable to the Principal Agent. Any other
brand may be used with prior written approval of the
Principal Agent
NOTE: Tenderers are advised to study the Model
Preambles for Trades 2008 published by the
Association of South African Quantity Surveyors
SUPPLEMENTARY PREAMBLES
Fixing
Items described as "nailed" shall be deemed to be fixed
with hardened steel nails or pins, or to be shot-pinned to
brickwork or concrete
Items described as "plugged" shall be deemed to include
screwing to fibre, plastic or metal plugs at not exceeding
500mm centres, and where described as "bolted", the bolts have been given elsewhere
Joinery
Descriptions of frames shall be deemed to include
frames, transomes, rails, etc
Descriptions of hardwood joinery shall be deemed to
include sinking and pelleting heads and nuts of bolts
Decorative thermosetting plastic laminate covering
Laminate covering shall be glued under pressure and
edge strips of same shall be butt jointed at junctions
with adjacent similar finish
DOORS ETC
Medium duty semi-solid 40mm thick masonite cladded timber door, with surfsce preoared for painting, size 100mm(w) x 2710mm (h). Paint colour tolater spec (Door 03) | No | [6 empty] | 1 | 0.1 | 1
TOTAL -SECTION 2 - BILL NO.6 - CARPENTRY AND JOINERY
SECTION NO.2 | H1
BUILDING WORKS - RENOVATIONS AND REFURBISHMENTS OF THE LEARNING FACTORY | H1
BILL NO.7 | H1
IRONMONGERY | H3
NOTE: The use of trade names simply serves to indicate
a standard acceptable to the Principal Agent. Any other
brand may be used with prior written approval of the
Principal Agent
NOTE: Tenderers are advised to study the Model
Preambles for Trades 2008 published by the
Association of South African Quantity Surveyors
SUPPLEMENTARY PREAMBLES
Proprietary items
Where applicable the manufacturers' names or product
catalogue titles are given in sub-headings preceding the
items
Prices are to be based on the specific products/articles
specified. If tenderers wish to offer alternative
products/articles for certain items, these items are to be
clearly marked and the alternative specification given
with supporting brochures etc clarifying the features of
the products/articles offered
On request returnable samples are to be provided to
the principal agent for consideration
LOCKS
Solid
76mm Four lever upright mortice lock (Code 313/A40) | No | [6 empty] | 3 | 0.3 | 3
SUNDRIES
Solid
38mm Diameter rubber door stop plugged | No | [6 empty] | 7 | 0.7 | 8
TOTAL -SECTION 2 - BILL NO.7 - IRONMONGERY
SECTION NO.2 | H1
BUILDING WORKS - RENOVATIONS AND REFURBISHMENTS OF THE LEARNING FACTORY | H1
BILL NO.8 | H1
METALWORK | H3
NOTE: The use of trade names simply serves to indicate
a standard acceptable to the Principal Agent. Any other
brand may be used with prior written approval of the
Principal Agent
NOTE: Tenderers are advised to study the Model
Preambles for Trades 2008 published by the
Association of South African Quantity Surveyors
SUPPLEMENTARY PREAMBLES
Descriptions
Descriptions of bolts shall be deemed to include nuts
and washers
Descriptions of expansion anchors and bolts and
chemical anchors and boltsshall be deemed to include
nuts, washers and mortices in brickwork or concrete
Items described as 'holed for bolt(s)' shall be deemed to
exclude the bolts unless otherwise described
Items described as 'plugged shall be deemed to include
screwing to fibre, plastic or metal plugs at not exceeding
600mm centres
Aluminium doors, windows, etc
Doors and windows shall comply with AAAMSA design
criteria
Glazing shall comply with SAGGA regulations. Glass
shall be safety glass as shown on the window
schedules/drawings appended to these bills of
quantities. Glass thickness shall comply with SAGGA
regulations irrespective of thicknesses shown on the
schedules/drawings
Doors and windows shall be supplied with protective
tape and plastic and shall be removed only once
surrounding trades have been completed
For purpose made windows and doors, refer to drawings
annexed to these bills of quantities
The following certificates shall be provided prior to
commencement of site work,
1. A copy of the relevant AAAMSA Performance Test
Certificate from the manufacturer/contractor supplying
the architectural aluminium product
2. A Certificate of Conformance confirming that
anodising or powder coating has been processed in
accordance with SANS 999 and SANS 1796 respectively
3. A powder guarantee of not less than 15 years issued
by the powder manufacturer. The specific conditions
contained in this guarantee shall form part of the powder
coating process,
4. A Certificate of Conformance confirming that glazing
has been installed in accordance with SANS 0137,
ensuring that safety glazing materials have been
installed in the mandatory areas and that each individual
pane of safety glazing materials has been permanently
marked,
5. A warranty from the manufacturer of the laminated
safety glass and/or hermetically sealed glazing units
guaranteeing the products against delamination and
colour degredation for a period of not less than five years
NOTE: All tenderers are referred to architect's drawings
and details based on these bills of quantities for tender purposes.
PRESSED STEEL DOOR FRAMES
1,2mm Rebated frames suitable for half walls
Single rebated 1,2mm pressed steel sheet door frame, primed and installed to manufactures specification & detail; hinged on one pair of hinges. Suitable for 1000mm x 2710mm door | No | [6 empty] | 1 | 0.1 | 1
FOLDING DOOR
Sliding Door, Natural Anodised aluminium sliding door as per manufacturer's shop drawings and specifications. acoustic glazing to be used, as per manufacturer's shop drawings; glazed in accordance with SANS 10400 part N schedule 1 and SANS 10137:2011, fitted with friction stays, glazing beads with vinyl and fin pile seals plugged and screwed to brickwork | No | [8 empty] | 1
ALUMINIUM WINDOWS, DOORS, ETC
Powder coated top hung window units complete
with subframes, ironmongery, 6.38mm clear
laminated safety glass, sealing, etc and fixing to
brickwork or concrete including factory fitted
burglar bars, complete as per architect's drawings
DOORS
TYPE D-1
P&H Rocklite hinged fire double door. Door size: 3200mm (w) x 3315mm (h); Class B Fire door. Rocklite 'S' fire door supplied with a purpose-made 3mm steel frame with 20mm rebate including 2 bullet hinges per leaf. Tubular fram to be bolted onto existing wall opening. Glazing to be 6mm Schott PYRAN S Borofloat Toughened Glass for a 120 minute fire rating, Intumex LPSK Itumescent Strips included between the glass & steel glazing beads. Glass fire door to be strict compliance with SANS 1253:2004 for a 120mm fire rating; with Intumemescent strips, specified ironmongery and hinges. If Class B fire door has a bugger viewing panel than the 100 x 300mm or 20mm Diameter allowed in SANS 1253: 2004 the fire rating of the complete fire door unit will be downgraded to the fire rating of the glazing installed to or on top of (fanlight) the fire door. Or similar approved. | No | [6 empty] | 1 | 0.1 | 1.1
TYPE D-2
Wispeco Crealco alumium framed glass double door to manufactur's specification and detail. | No | [8 empty] | 2
SHOPFRONT
TYPE SF -1
Crealco clip 44 aluminium framed shop front for internal use; size: 1790 x 3315mm (h). To be installed in gypsum drywall jambs as per manufactures shop drawings. Natural anodised | No | [6 empty] | 4 | 0.4 | 4
TYPE SF - 2
Aluglass Bautech GF Serene 45 re-mountable and re-locatable acoustic partitioning, as per manufacture's shop drawings and specification. Aluminium framed internal shopfront, acoustic glazing to be used. size:11428mm x 3315mm,Tracks to be Tracks to be confirmed on site with the client | No | [6 empty] | 1 | 0.1 | 1
TYPE SF - 3
Aluglass Bautech GF Serene 45 re-mountable and re-locatable acoustic partitioning, as per manufacture's shop drawings and specification. Aluminium framed internal shopfront, acoustic glazing to be used. size: 7408mm x 3315mm, confirmed on site with the client | No | [6 empty] | 1 | 0.1 | 1
TYPE SF - 4
Aluglass Bautech GF Serene 45 re-mountable and re-locatable acoustic partitioning, as per manufacture's shop drawings and specification. Aluminium framed internal shopfront, acoustic glazing to be used. Size: 6980mm x 3315mm, Tracks to be confirmed on site with the client | No | [6 empty] | 1 | 0.1 | 1
TYPE SF - 5
Aluglass Bautech GF Serene 45 re-mountable and re-locatable acoustic partitioning, as per manufacture's shop drawings and specification. Aluminium framed internal shopfront, acoustic glazing to be used. Size: 5612mm x 3315mm, Tracks to be confirmed on site with the client | No | [6 empty] | 1 | 0.1 | 1
BALUSTRADING
1000mm high steel balustrade to comply with SANS 10400 Part D | M | [6 empty] | 15 | 1.5 | 17
STEEL STAIRCASE
Supply and install a steel staircase as per the drawing and the engineers specification | Item | [6 empty] | 1 | 0.1 | 1
DRY WALL
Dry Wall, Gyproc Fire Resistant Wall partitioning system with overall thickness of 132mm comprising internal framing formed of 102mm galvanised steel studs fixed at 600mm centres to galvanised steel top and bottom track with 102mm thick insulation in cavity of partition wall. | m2 | [8 empty] | 52
TOTAL SECTION 2 - BILL NO.08 - METALWORK
SECTION NO.2 | H1
BUILDING WORKS - RENOVATIONS AND REFURBISHMENTS OF THE LEARNING FACTORY | H1
BILL NO.9 | H1
PLASTERING | H3
NOTE: The use of trade names simply serves to indicate
a standard acceptable to the Principal Agent. Any other
brand may be used with prior written approval of the
Principal Agent
NOTE: Tenderers are advised to study the Model
Preambles for Trades 2008 published by the
Association of South African Quantity Surveyors
SUPPLEMENTARY PREAMBLES
GRANOLITHIC
Method
The method to be used shall be either the monolithic
method or the bonded method
Preparation
For granolithic applied monolithically, the concrete floor
shall be swept clean after bleeding of the concrete has
ceased and the slab has begun to stiffen; any remaining
bleed water shall be removed and the granolithic applied
immediately thereafter. For granolithic to be bonded to
the floor slab after it has hardened, the slab surface shall
be hacked (preferably by mechanical means) until all
laitance, dirt, oil, etc is dislodged and swept clean of all
loose matter. The slab shall then be wetted and kept
damp for at least six hours before applying the
granolithic
Mix
Granolithic shall attain a compressive strength of at least
41MPa. The coarse aggregate shall comply with SANS
1083 and shall generally be capable of passing a 10mm
mesh sieve. Where the thickness of the granolithic
exceeds 25mm, the size of the coarse aggregate shall
be increased to the maximum size compatible with the
thickness of the granolithic
Panels
Granolithic shall be laid in panels not exceeding 14m² for
monolithic finishes, not exceeding 9,5m² for bonded
finishes and not exceeding 6m² for all external
granolithic. Wherever possible, panels shall be square
but at no time should the length of the panel exceed 1,5
times its width
Where possible joints between panels shall be
positioned over joints in the floor slab and shall be at
least 3mm wide through the full thickness of the finish,
separated by strips of wood or fibreboard and finished
with V-joints
Laying
Monolithic granolithic shall be applied to the partially set
slab and thoroughly compacted and lightly wood floated
to the required levels
Bonded granolithic shall be applied to the slab after
applying a 1:1 sand-and-cement slurry brushed over the
surface and allowed to partially set before applying the
granolithic. The granolithic shall be throughly compacted
and lightly wood floated to the required levels
After wood floating, the monolithic and bonded
granolithic shall remain undisturbed until bleeding has
ceased and the surface has stiffened. Any remaining
bleed water and laitance shall then be removed and the
surface steel trowelled or power floated
Curing, seasoning and protection
Granolithic shall be covered with clean hessian with
waterproof building foil over and kept wet for at least
seven days after laying
Colour
Coloured granolithic shall be tinted with an approved
colouring pigment mixed into a true and even colour
SCREEDS
Screeds steel trowelled, on concrete
30mm Thick on floors and landings | m2 | [6 empty] | 30 | 3 | 33 |  |  |  | 30 | 6 | 5 | 1 | 1
INTERNAL PLASTER
Cement plaster steel trowelled, on brickwork
On walls | m2 | [6 empty] | 91.56 | 9.156 | 101 |  |  |  | 91.56 | 10.9 | 4.2 | 1 | 2
RHINOLITE
Apply rhinolite on existing coffer ceilings and prepare ceiling to receive paint | m2 | [6 empty] | 361.504 | 36.1504 | 398 |  |  |  | 361.504 | 22.88 | 15.8 | 1 | 1
TOTAL SECTION 2 - BILL NO.09 - PLASTERING
SECTION NO.2 | H1
BUILDING WORKS - RENOVATIONS AND REFURBISHMENTS OF THE LEARNING FACTORY | H1
BILL NO. 10 | H1
TILING | H3
NOTE: The use of trade names simply serves to indicate
a standard acceptable to the Principal Agent. Any other
brand may be used with prior written approval of the
Principal Agent
NOTE: Tenderers are advised to study the Model
Preambles for Trades 2008 published by the
Association of South African Quantity Surveyors
SUPPLEMENTARY PREAMBLES
Fixing
Unless described as "fixed with adhesive to plaster
(plaster elsewhere)" descriptions of tiling on brick or
concrete walls, columns, etc shall be deemed to include
1:4 cement plaster backing and descriptions of tiling on
concrete floors etc shall be deemed to include 1:3 | [5 empty] | 0
plaster bedding | [5 empty] | 0
Tiling described as "fixed with adhesive on power floated | [5 empty] | 0
concrete" shall be deemed to include for approved tiling | [5 empty] | 0
key-coat | [5 empty] | 0
Ceramic, porcelain, marble and granite tiles are to be | [5 empty] | 0
fixed and grouted with suitable adhesives and grouts as | [5 empty] | 0
recommended by the manufacturer of the tiles | [5 empty] | 0
0
Floor tiles
Anti-static floor tiles/sheet, floor tiles to form build-joint with wall in a place of skirting, as per specification document
On floor | m2 | 216.6 | 32.49 | 4.89 | 300 | 75 | 0.2445 | 361.504 | 36.1504 | 398
Grano screed
On floor | m2 |  |  | #REF! |  |  | #REF! | 30 | 3 | 33
TOTAL SECTION 2 - BILL NO.10 - TILING
SECTION NO.2 | H1
BUILDING WORKS - RENOVATIONS AND REFURBISHMENTS OF THE LEARNING FACTORY | H1
BILL NO. 11 | H1
PLUMBING AND DRAINAGE | H3
NOTE: The use of trade names simply serves to indicate
a standard acceptable to the Principal Agent. Any other
brand may be used with prior written approval of the
Principal Agent
NOTE: Tenderers are advised to study the Model
Preambles for Trades 2008 published by the
Association of South African Quantity Surveyors
SUPPLEMENTARY PREAMBLES
Copper pipes:
Pipes shall be hard drawn and half-hard pipes of the
class stated. Class 0 (thin walled hard drawn) pipes shall
not be bent. Class 1 (thin walled half-hard), class 2 (halfhard)
and class 3 (heavy walled half-hard) pipes shall
only be bent with benders with inner and outer formers.
Fittings to copper waste, vent and anti-syphon pipes,
capillary solder fittings and compression fittings shall be
Cobra Watertech type. Capillary solder fittings shall
comply with ISO 2016. Only compression fittings shall be
used in walls or in ground
Lead pipes and traps
All soldered joints shall be wiped and brass unions shall
be used for jointing lead to steel
Reducing fittings
Where fittings have reducing ends or branches they are
described as "reducing". In the case of pipes with
diameters not exceeding 60mm only the largest end or
branch size is given. Should the contractor wish to use
other fittings and bushes or reducers he may do so on
the understanding that no claim in this regard will be
entertained. In the case of pipes with diameters
exceeding 60mm all sizes are given and no claim for
extra bushes, reducers, etc will be entertained
Wire gratings
Descriptions of gutter outlets etc shall be deemed to
include wire balloon gratings
Septic tanks
Descriptions of gutter outlets etc shall be deemed to
include wire balloon gratings
Exposed concrete surfaces
Exposed surfaces of concrete stormwater channels,
cover slabs, inspection eye marker slabs, gulley tops,
cleaning eye tops, catchpits, inspection chambers, etc
shall be finished smooth with plaster
Excavations
No claim for rock excavation will be entertained unless
the contractor has timeously notified the quantity
surveyor thereof prior to backfilling
'Soft rock' and 'hard rock' shall be as defined in
'Earthworks'
Laying, backfilling, bedding, etc. of pipes
Pipes shall be laid and bedded and trenches shall be
carefully backfilled in accordance with manufacturers'
instructions
Where no manufacturers' instructions exist pipes shall
be laid in accordance wi
Where no manufacturers' instructions exist pipes shall
be laid in accordance with clauses 5.1 and 5.2 of each of
the following:
SABS/SANS 1200 L : Medium-pressure pipelines
LD : Sewers
LE : Stormwater drainage
Pipe trenches etc shall be backfilled in accordance with
clauses 3, 5.5, 5.6, 5.7 and 7 of SABS/SANS 1200
DB : Earthworks (Pipe trenches)
Pipes shall be bedded in accordance with clauses 3.1 to
3.4.1, 5.1 to 5.3 and 7 of SABS/SANS 1200
LB : Bedding (Pipes).
Unless otherwise described bedding of rigid pipes shall
be class B bedding
Flush pans
Flush pans shall have straight or side outlets and 'P' or
'S' traps as necessary
Stainless steel basins, sinks, wash troughs, urinals,
etc.
Units shall have standard aprons on all exposed edges
and tiling keys against walls where applicable
SANITARY FITTINGS
Washand Basin
RossCo Large Rectanlge basin | No | [6 empty] | 1 | 0.1 | 1
Allow for water plumbing | Item | [6 empty] | 1 | 0.1 | 1
TOTAL SECTION 2 - BILL NO. 11 PLUMBING AND DRAINAGE
SECTION NO.2 | H1
BUILDING WORKS - RENOVATIONS AND REFURBISHMENTS OF THE LEARNING FACTORY | H1
BILL NO. 12 | H1
GLAZING | H3
NOTE: The use of trade names simply serves to indicate
a standard acceptable to the Principal Agent. Any other
brand may be used with prior written approval of the
Principal Agent
NOTE: Tenderers are advised to study the Model
Preambles for Trades 2008 published by the
Association of South African Quantity Surveyors
SUPPLEMENTARY PREAMBLES
Float glass
The term 'float glass' is used for monolithic annealed
glass
Laminated glass
Laminated glass to have polyvinyl butyral (PVB)
interlayer(s)
GLAZING TO STEEL WITH PUTTY
6mm Clear float safety glass Panes 1 exceeding 0,5m² and not exceeding 2m² | m2 | [6 empty] | 132 | 13.2 | 145 |  |  |  | 132 | 132 | 1 | 1 | 1
TOTAL SECTION 2 - BILL NO. 11 GLAZING
SECTION NO. 2
BUILDING WORKS - RENOVATIONS AND REFURBISHMENTS OF THE LEARNING FACTORY
BILL NO. 12
PAINTWORK
NOTE: All tenderers are advised to study the Model
Preambles for Trades before pricing this bill
PREPARATORY WORK TO EXISTING WORK
Previously painted plastered surfaces
Surfaces shall be thoroughly washed down and allowed
to dry completely before any paint is applied. Blistered or
peeling paint shall be completely removed and cracks
shall be opened, filled with a suitable filler and finished
smooth
Previously painted metal surfaces
Surfaces shall be thoroughly rubbed and cleaned down.
Blistered or peeling paint shall be completely removed
down to bare metal
Previously painted wood surfaces
Surfaces shall be thoroughly cleaned down. Blistered or
peeling paint shall be completely removed and cracks
and crevices shall be primed, filled with suitable filler and
finished smooth
PAINTWORK ETC TO NEW WORK
ON SMOOTH PLASTER, RHINOLITED WALLS
Prepare, apply one coat "Plascon Plaster Primer
UC65'' and apply two coats "Plascon Double Velvet
VEL"non-drip polyurethane enamel paint
On wall | m2 | [6 empty] | 283.7 | 28.37 | 312 |  |  |  | 91.56 | 10.9 | 4.2 | 1 | 2
[14 empty] | 192.14 | 192.14 | 1 | 1 | 1
On Soffit of slab | m2 | [6 empty] | 362 | 36.2 | 398 |  |  |  | 362 | 362 | 1 | 1 | 1
ON WOOD SURFACES
Three coats 'Woodoc 35'exteriors sealer
On doors | m2 | [6 empty] | 15.176 | 1.5176 | 17 |  |  |  | 5.42 | 1 | 2.71 | 1 | 2
ON METAL SURFACES | [13 empty] | 9.756 | 1.8 | 2.71 | 1 | 2
One coat alkyd based zinc phosphate primer and
two coats premium quality polyurethane enamel
paint, on steel
On door frames | m2 | [6 empty] | 5 | 0.5 | 6
On windows with burglar bars | m2 | [6 empty] | 131 | 13.1 | 144
TOTAL SECTION 2 - BILL NO. 12 PAINTWORK
TOTAL BUILDING WORKS | [16 empty] | 0 | 0
0
SECTION NO.3 | H1
RENOVATIONS AND REFURBISHMENTS OF THE LEARNING FACTORY | H1
REFURBISHMENTS)
BILL NO. 1 | H1
ELECTRICAL INSTALLATION (PRELIMINARIES AND GENERAL) | H3
Preliminaries and General
Compling with insurance's, statutory contributions, etc.
The main contractor shall allow and provide all necessary site establishment. | Item | 1 | 0 | 0 |  |  |  | 1 | 0.1 | 1
TOTAL SECTION 3 - BILL NO. 1 PRELIMINARIES AND GENERAL
SECTION NO.4 | H1
RENOVATIONS AND REFURBISHMENTS OF THE LEARNING FACTORY | H1
BILL NO. 1 | H1
ELECTRICAL INSTALLATION | H3 |  |  |  | (PRICED)
SUPPLY AND INSTALL DISTRIBUTION BOARD
Supply, Install, test and commision existing distribution board - Flush mounted distribution board cupboards c/w all switchgear and breakers indicated on the drawings
DB-A | No | 1 | 40000 | 40000 |  |  |  | 1 | 0.1 | 1
DB-UPS | No | 1 | 20000 | 20000 |  |  |  | 1 | 0.1 | 1
LOW VOLTAGE DISTRIBUTION
Supply, deliver, install and terminate Cu PVC SWA PVC 600/1000V Cable, in trenches, sleeves or on cable trays
50mm² x 4 core (From main DB to BD - A)
Supply and delivery | Meter | [6 empty] | 120 | 12 | 150
Installation | Meter | [6 empty] | 120 | 12 | 150
Termination, c/w glands, shrouds, lugs and connection | No | [6 empty] | 8 | 0.8 | 9
LIGHTING INSTALLATION
WIREWAYS
Supply, delivery and installation of PVC conduits, surface mounted in ceiling voids and fixed to walls or cast-in or built into walls, including all fixing materials, bends, terminations, draw boxes, etc.
20mm diameter
Supply and delivery | Meter | 300 | 21 |  |  |  |  | 300 | 30 | 450
Installation | Meter | 300 | 5.25 |  |  |  |  | 300 | 30 | 450
Supply, delivery and installation of Conduit outlets boxes c/w locknuts and bushes built into brick or cast into concrete or surface mounted
65mm round box, c/w cover
Supply and delivery | No | 46 | 21 |  |  |  |  | 46 | 4.6 | 64
Installation | No | 46 | 5.25 |  |  |  |  | 46 | 4.6 | 64
WIRING AND TERMINALS
Supply, delivery and installation of Cu Conductors:
1,5mm² PVC insulated conductor
Supply and delivery | Meter | 1800 | 9.5 |  |  |  |  | 1800 | 180 | 1980
Installation | Meter | 1800 | 2.375 |  |  |  |  | 1800 | 180 | 1980
1,5mm² bare copper earth wire
Supply and delivery | Meter | 600 | 8.4 |  |  |  |  | 600 | 60 | 900
Installation | Meter | 600 | 2.1 |  |  |  |  | 600 | 60 | 900
2.5mm² PVC insulated conductor
Supply and delivery | Meter | 1200 | 25.2 |  |  |  |  | 1200 | 120 | 1600
Installation | Meter | 1200 | 6.3 |  |  |  |  | 1200 | 120 | 1600
LIGHT FITTINGS
Supply, deliver, install, connect, test and commissioning the following light fittings
TYPE F30 -Lascon, 230V Batten-HO LED 1120mm surface mounted light fitting with rolled mild steel body, a white epoxy poweder coated finish and semi-transparent PMMA diffuser installed with 55W LED lamp rated at 20 ingress protection OR SIMILAR APPROVED. | No | 40 | 1850 |  |  |  |  | 40 | 4 | 60
Supply, deliver, install, connect, test and commissioning of Sensors
CMR 10 | No | 6 | 950 |  |  |  |  | 6 | 0.6 | 12
Adaptors 5 Amp 6 Way | No | 6 | 364 |  |  |  |  | 6 | 0.6 | 8
Adaptors 5 Amp 4 Way | No | 4 | 322 |  |  |  |  | 4 | 0.4 | 6
ACCESSORIES
Supply, deliver and install accessories to boxes
16A, one lever one way switch | No | [8 empty] | 11
SMALL POWER AND LIGHTING WORKS
WIREWAYS
Supply, delivery and installation of PVC conduits, surface mounted in ceiling voids and fixed to walls or cast-in or built into walls, including all fixing materials, bends, terminations, draw boxes, etc.
20mm diameter
Supply and delivery | Meter | [6 empty] | 90 | 9 | 99
Installation | Meter | [6 empty] | 90 | 9 | 99
Supply and install conduit droppers chased or built into wall, consisting of 3 x 25mm dia & 2 x 20mm dia from wire basket & trunking in ceiling void to power skirting c/w 1.6mm draw wires | No | [6 empty] | 15 | 1.5 | 17
Supply, delivery and installation of Conduit outlets boxes c/w locknuts and bushes built into brick or cast into concrete or surface mounted, c/w applicable cover
100 x 100 x 50 mm
Supply and delivery | No | [6 empty] | 7 | 0.7 | 8
Installation | No | [6 empty] | 7 | 0.7 | 8
Supply, deliver and installation of the 2 compartment, two cover Midland power skirting complete with all accessories including internal/external bends, end caps etc.
as per first and ground floor drawings | Meter | [6 empty] | 80 | 8 | 88
Supply, delivery and installation of socket outlets
16 A, 3-pin standard white SSO + 16 A, 3-pin Euro Scoket (SANS 164-2)
Mounted in floorbox | No | [6 empty] | 8 | 0.8 | 9
Surface mounted | No | [6 empty] | 0 | 0
Power skirting mounted | No | [6 empty] | 30 | 3 | 39
16 A, 3-pin double white SSO + 16 A, 3-pin Euro Scoket (SANS 164-2)
Flush Mounted | No | [6 empty] | 2 | 0.2 | 2
Surface mounted | No
16 A, 3-pin dedicated red SSO
Flush Mounted | No | [6 empty] | 0
Power skirting mounted, 45 degree (including plug top) | No | [6 empty] | 30 | 3 | 39
32A 3 phase socket outlet
Surface mounted | No | [6 empty] | 3 | 0.3 | 3
Supply, deliver and installation of the power poles
Supply and delivery | No | 8 | 2200 | 17600 | [5 empty] | 8
Installation | No | 8 | 550 | 4400 | [5 empty] | 8
Supply and installation of power skirting accessories
Blank cover plate suitable for RJ 11 telephone outlet | No | [6 empty] | 9 | 0.9 | 10
Blank cover plate suitable for RJ 49 data outlet | No | [6 empty] | 22 | 2.2 | 24
WIRING AND TERMINALS
Supply, Deliver and installation of Cu Conductors:
2.5mm² PVC insulated conductor
Supply and delivery | Meter | [6 empty] | 900 | 90 | 990
Installation | Meter | [6 empty] | 900 | 90 | 990
4mm² PVC insulated conductor
Supply and delivery | Meter | [6 empty] | 400 | 40 | 440
Installation | Meter | [6 empty] | 400 | 40 | 440
4mm² Surfix (For HVAC)
Supply and delivery | Meter | [6 empty] | 300 | 30 | 330
Installation | Meter | [6 empty] | 300 | 30 | 330
6mm² 4 core Surfix (For HVAC)
Supply and delivery | Meter | [6 empty] | 100 | 10 | 110
Installation | Meter | [6 empty] | 100 | 10 | 110
2.5mm² bare copper earth wire
Supply and delivery | Meter | [6 empty] | 200 | 20 | 220
Installation | Meter | [6 empty] | 200 | 20 | 220
STANDBY POWER
Supply, deliver and install 10 Kva UPS | No | [8 empty] | 1
Supply, deliver and installation | No | [8 empty] | 1
GENERAL
STRIPPING OF EXISTING ELECTRICAL INSTALLATION
Allow for the stripping of existing electrical installation | Sum | 1 | [5 empty] | 1 | 0.1 | 1
AS BUILT DOCUMENTATION
Allow for the mark up of record drawings, submission of 3 sets of as-built files containing material specifications, DB workshop drawings, COC's, IR scanning report, etc. Files to comply with the Electrical Engineer's specification and requirements. | Sum | 1 | [5 empty] | 1 | 0.1 | 1
INSPECTION, TESTING AND COMMISSIONING
Inspection, testing and handing over of the complete installation in the presence of Engineer and certify the results on the Certificate of compliances by an accredited (Master Installation Electrician). | Sum | 1 | [5 empty] | 1 | 0.1 | 1
LABELLING
Lable all circuits and install signage to the panels | sum | 1 | [5 empty] | 1 | 0.1 | 1
TOTAL SECTION 4 - BILL NO. 2 ELECTRICAL INSTALLATION
TOTAL - ELECTRICAL INSTALLATION | [16 empty] | 0
SECTION 5
BILL NO. 1
RENOVATIONS AND REFURBISHMENTS OF THE LEARNING FACTORY
MECHANICAL INSTALLATION
COMPRESSED AIR
FIRST & SECOND FLOOR
Compressor: Free air delivery: 60 CFM at 7.5 bar
Air receiver: 300 L pressure vessel tank rated for minimum 7.5 bar | No | [6 empty] | 1 | 0.1 | 1
Dryer: Refrigerant type, 60 CFM at 7.5 bar | No | [6 empty] | 1 | 0.1 | 1
Air Cleaner: Cyclone separator, 60 CFM at 7.5 bar, including filters | No | [6 empty] | 1 | 0.1 | 1
Piping and fitting: Piping - 250m, fittings, 14 Off 1/4 inch connection points | No | [6 empty] | 1 | 0.1 | 1
HVAC SECOND FLOOR
Air conditioner: 50 kW cooling capacity ground mounted cooling tower, 8 port branch controller | No | [6 empty] | 1 | 0.1 | 1
Indoor unit: 4.5 kW cooling capacity ceiling suspened indoor unit | No | [6 empty] | 6 | 0.6 | 7
36000BTU Mid Wall Air Conditioner (Replace, Supply, Install, Isolator and Remote control with batteries) | No | [8 empty] | 3
FIRE SYSTEM SECOND FLOOR
Fire extinguisher:10 kg CO2 Fire Extinguisher including mounting | No | [6 empty] | 4 | 0.4 | 4
TOTAL SECTION 5 - BILL NO. 1 MECHANICAL INSTALLATION
TOTAL - MECHANICAL INSTALLATION | [14 empty] | 0
325000
SECTION 3. | [14 empty] | 325000
CONTINGENCIES | [14 empty] | 32500
Allow 10% contingencies of the measured works including the preliminaries and general to be directed by the Project Manager | Item | 1 |  | 1 |  |  |  | 1 | 0.1 | 1 |  |  |  |  | 0 |  | 0
50000
TOTAL SECTION 3 - BILL NO.01- CONTINGENCY
50000
SUBTOTAL | [12 empty] | 0
5000
ADD VAT @15%
GRAND TOTAL
257565.586
0
61

## Sheet1
63500
13866
77366 |  | 19341.5
96707.5
78211.1
156422.2
59714.7

## Sheet3 (hidden)
Vehicle access controls ( Please tick where applicable
Boom with registration | Car search |  |  | Specify other……………………….
Is it functioning properly? |  | Yes | No
Vehicle access controls ( Please tick where applicable
[5 empty] | Boom with registration | Car search |  |  | Specify other……………………….
[5 empty] | Is it functioning properly? |  | Yes | No