## P&G(1)
CSIR TRANSFORMER REPLACEMENTS
BILL OF QUANTITIES AND SUMMARY OF PRICES
PRELIMINARY AND GENERAL CHARGES
BILL NO. 1
ITEM | DESCRIPTION | UNIT | QTY | RATE |  | TOTAL
|  |  |  | MATERIAL | LABOUR
FIXED CHARGE ITEMS
1.1 | GENERAL
| Preliminaries and general required to comply with the conditions of contract and all regulations governing this contract | Sum | 1
1.2 | Site establishment and de-establishment | Sum | 1
1.3 | OCCUPATIONAL HEALTH & SAFETY
| Allowamce for Compliance with Construction Regulations, as detailed in Occupational Health & Safety Act (OHS), Act 85 of 1993, Submission of a (OHS) plan and all applicable documentation, to the client's satisfaction | Sum | 1
1.4 | PERMITS AND NOTICES
| Allow for obtaining all necessary permits and giving of notices and co-operation with other Trades | Sum | 1
1.5 | DEFECTS LIABILITY
| Allow for a defects liability period of 12 months against defects in Equipment, Material and Workmanship as set out elsewhere, but excluding abuse, wear and tear and normal maintenance. | Sum | 1
CSIR TRANSFORMER REPLACEMENTS
BILL OF QUANTITIES AND SUMMARY OF PRICES
PRELIMINARY AND GENERAL CHARGES
ITEM | DESCRIPTION | UNIT | QTY | RATE |  | TOTAL
|  |  |  | MATERIAL | LABOUR
TIME RELATED ITEMS
1.6 | STORAGE
| Provide for storage of Plant, Equipment and Material on site including protection and insurance thereof | Mnth | 3
1.7 | SUPERVISION
| Allow for qualified site supervision during the construction period | Mnth | 3
1.8 | TRANSPORT
| Allow for transport cost during the construction period | Mnth | 3
1.9 | OTHER TIME RELATED ITEMS
Specify and cost all other time related items
not listed elsewhere as well as the period for
which these items will be applicable
| Construction Guarantee | Sum | 1
1.1 | PROVISIONAL AMOUNTS
Allow for a Provisional Amount for the works
to be used as directed by the Engineer for
items not allowed for in the Bill of Quantities
Provisional Amount for Day works
| Allow for Procurement, Transport to site and | Sum | 1
Profit:__12__%
(Tenderer to indicate profit margin and price
accordingly to day works amount)
1.2 | ADDITIONAL ITEMS
Any additional Items that the tenderer would wish to specify and not listed elsware
1.2.1 | Allowance for Factorty Acceptance Test (FAT) to include Client Representative and Engineer | Sum
1.2.2 |  | Sum
1.2.3 |  | Sum
1.2.4 |  | Sum
1.2.5 |  | Sum
TOTAL OF SECTION CARRIED TO SUMMARY

## Cables Building 3 (2)
CSIR TRANSFORMER REPLACEMENTS
BILL OF QUANTITIES AND SUMMARY OF PRICES
CABLES AND CONDUCTORS
BILL NO. 2
ITEM | DESCRIPTION | UNIT | QTY | RATE |  | TOTAL
|  |  |  | MATERIAL | LABOUR
2.1 | MEDIUM VOLTAGE CABLES (MV) TERMINATIONS - Building 3
For the delivery to site, supply and installation of 11kV Three Core Cables, Terminations and Joints for PILC Cable, as per specification.
2.1.1 | Contractor to allow for Tracing of existing 11kV PILC Cable | ea | 1 |  |  |  | 594.91
2.1.2 | Disconnect existing PILC 11kV, 3 core Cable and reroute to New Mini-sub position | m | 80 |  |  |  | 594.91
2.1.3 | Terminations for 70mm² x 3 Core, PILC | ea | 3
2.1.4 | Preparation kits for above terminations, complete with screened connectors. | ea | 3
2.2 | Bare Copper Earth Wire installed with cable.
For the supply and instalation of the following BCEW with the 4 Core PVC insulated PVC Bedded SWA PVC sheathed 600/1000V copper cables as specified.
2.2.1 | 35mm² CU bare earth wire, complete with joints. | m | 80 |  |  |  | 39.78
2.2.2 | Terminations for the 35mm² CU bare earth wire | Ea | 2
2.3 | LV Cable Terminations - Building 3
For the supply, installation and Testing of the following terminations for the 4 Core PVC insulated PVC Bedded SWA PVC sheathed 600/1000V copper cables as specified.
2.3.1 | Supply 185mm², XLPE, 3-Core CU, FRPVC, SWA, PE Cable | Ea | 180 |  |  |  | 252.98
2.3.2 | Terminations for 2 x 185mm² x Three Core, PILC | Ea | 12
2.3.3 | Preparation kits for above terminations, complete with screened connectors. | Ea | 12
2.3.4 | Complete Installation & Commissioning of the 500kVA Mini-Substation | Ea | 1 |  |  |  | 252.98
2.4 | Bare Copper Earth Wire installed with cable.
For the supply and instalation of the following BCEW with the 4 Core PVC insulated PVC Bedded SWA PVC sheathed 600/1000V copper cables as specified.
2.4.1 | 95mm² CU bare earth wire, complete with joints. | m | 180
2.4.2 | Terminations for the 95mm² CU bare earth wire | ea | 2
CSIR TRANSFORMER REPLACEMENTS
BILL OF QUANTITIES AND SUMMARY OF PRICES
CABLES AND CONDUCTORS
BILL NO. 2
ITEM | DESCRIPTION | UNIT | QTY | RATE |  | TOTAL
|  |  |  | MATERIAL | LABOUR
2.4 | GROUND WORKS FOR BUILDING 3
The Contractor shall do the setting out, excavation, removal of excavated material and backfilling of the following trenches:
2.4.1 | GROUND WORKS FOR MV CABLES
2.4.2 | Excavate 1m deep x 450mm wide x 80m length in trenches | /m³ | 30
2.4.3 | Bedding as per specification | m³ | 27
2.4.4 | Backfilling and compaction of excavated trenches | /m | 30
2.4.5 | Lay 70mm², 11kV, PILC, CU, FRPVC, SWA, PE Cable | m | 80
2.4.6 | Terminations for 70mm² x 3 Core, PILC | Ea | 6
2.4.7 | Preparation kits for above terminations, complete with screened connectors. | Ea | 6
2.4.8 | 35mm² CU bare earth wire, complete with joints. | m | 80
2.4.9 | Terminations for the 35mm² CU bare earth wire | Ea | 2
2.4.10 | Cable pressure Testing | Ea | 1
2.5 | GROUND WORKS FOR LV CABLES | m |  |  |  |  | *
2.5.1 | Excavate 1m deep x 450mm wide x 80m length in trench | /m³ | 36
2.5.2 | Bedding as per specification | /m | 36
2.5.3 | Lay 2 x 185mm², 11kV, XLPE, CU, FRPVC, SWA, PE Cable | /m | 180
2.5.4 | Terminations for 70mm² x 3 Core, PILC | ea | 6
2.5.5 | Backfilling and compaction of excavated trench | /m³ | 27
2.5.6 | Cable pressure Testing
2.5.7 | Cable route markers | Ea | 3
2.5.8 | Cutting of concrete walk way/ crossings | m³ | 1
2.6 | Rehabilitation of groundworks
| For the rehabilitation of groundworks where the contractor excavated through existing paved areas, gardens, road crossings etc. | sum | 1

## Cables Building 33 (3)
CSIR TRANSFORMER REPLACEMENTS
BILL OF QUANTITIES AND SUMMARY OF PRICES
CABLES AND CONDUCTORS
BILL NO. 3
ITEM | DESCRIPTION | UNIT | QTY | RATE |  | TOTAL
|  |  |  | MATERIAL | LABOUR
3.1 | MEDIUM VOLTAGE CABLES (MV) TERMINATIONS - Building 33
For the delivery to site, supply and installation of 11kV Three Core Cables, Terminations and Joints for PILC Cable, as per specification.
3.1.1 | Contractor to allow for Tracing of existing 11kV PILC Cable | ea | 1 |  |  |  | 594.91
3.1.2 | Disconnect existing PILC 11kV cable, Cut and joint existing Cable with new 11kV, 3 core PILC Cable | m | 65 |  |  |  | 594.91
3.1.3 | Supply 70mm², 11kV, PILC, CU, FRPVC, SWA, PE Cable | M | 65
3.1.4 | Terminations for 70mm² x 3 Core, PILC | ea | 6
3.1.5 | Preparation kits for above terminations, complete with screened connectors. | ea | 6
3.1.6 | Through Joint (3ph) for the above PILC, MV cable | ea | 1
3.2 | Bare Copper Earth Wire installed with cable.
For the supply and instalation of the following BCEW with the 4 Core PVC insulated PVC Bedded SWA PVC sheathed 600/1000V copper cables as specified.
3.2.1 | 35mm² CU bare earth wire, complete with joints. | m | 65 |  |  |  | 39.78
3.2.2 | Terminations for the 35mm² CU bare earth wire | m | 2
3.3 | LV Cable Terminations - Building 33
For the supply, installation and Testing of the following terminations for the 4 Core PVC insulated PVC Bedded SWA PVC sheathed 600/1000V copper cables as specified.
3.3.1 | Supply 185mm², XLPE, 3-Core CU, FRPVC, SWA, PE Cable | m | 130 |  |  |  | 252.98
3.3.2 | Terminations for 2 x 185mm² x Three Core, PILC | Ea | 12
3.3.3 | Preparation kits for above terminations, complete with screened connectors. | Ea | 12
3.3.4 | Complete Installation & Commissioning of the 315kVA Mini-Substation | Ea | 1 |  |  |  | 252.98
3.4 | Bare Copper Earth Wire installed with cable.
For the supply and instalation of the following BCEW with the 4 Core PVC insulated PVC Bedded SWA PVC sheathed 600/1000V copper cables as specified.
3.4.1 | 95mm² CU bare earth wire, complete with joints. | ea | 130
3.4.2 | Terminations for the 95mm² CU bare earth wire | ea | 2
CSIR TRANSFORMER REPLACEMENTS
BILL OF QUANTITIES AND SUMMARY OF PRICES
CABLES AND CONDUCTORS
BILL NO. 3
ITEM | DESCRIPTION | UNIT | QTY | RATE |  | TOTAL
|  |  |  | MATERIAL | LABOUR
3.4 | GROUND WORKS FOR BUILDING 33
The Contractor shall do the setting out, excavation, removal of excavated material and backfilling of the following trenches:
3.4.1 | GROUND WORKS FOR MV CABLES
3.4.2 | Excavate 1m deep x 450mm wide x 65m length in trenches | /m³ | 30
3.4.3 | Bedding as per specification | m³ | 27
3.4.4 | Backfilling and compaction of excavated trenches | /m³ | 30
3.4.5 | Lay 70mm², 11kV, PILC, CU, FRPVC, SWA, PE Cable | m | 65
3.4.6 | Terminations for 70mm² x 3 Core, PILC | m | 6
3.4.7 | Preparation kits for above terminations, complete with screened connectors. | Ea | 6
3.4.8 | Through Joint (3ph) for the above PILC, MV cable | Ea | 1
3.4.9 | 35mm² CU bare earth wire, complete with joints. | m | 60
3.4.10 | Terminations for the 35mm² CU bare earth wire | Ea | 2
3.4.11 | Cable pressure Testing | Ea | 1
3.5 | GROUND WORKS FOR LV CABLES | [5 empty] | *
3.5.1 | Excavate 1m deep x 450mm wide x 65m length in trench | /m³ | 30
3.5.2 | Bedding as per specification | m³ | 27
3.5.3 | Lay 2 x 185mm², XLPE, 3-Core CU, FRPVC, SWA, PE Cable | m | 180
3.5.4 | Terminations for 2 x 185mm² x 3 Core, CU,FRPVC, SWA, PE Cable | ea | 12
3.5.5 | Backfilling and compaction of excavated trench | /m³ | 41
3.5.6 | Cable pressure Testing | ea | 2
3.5.7 | Cable route markers | Ea | 2 |  |  |  | 0.31
3.5.8 | Cutting of concrete walk way/ crossings | m³ | 2
3.6 | Rehabilitation of groundworks
| For the rehabilitation of groundworks where the contractor excavated through existing paved areas, gardens, road crossings etc. | sum | 1

## Sleeves (4)
CSIR TRANSFORMER REPLACEMENTS
BILL OF QUANTITIES AND SUMMARY OF PRICES
SLEEVES
BILL NO. 4
CSIR TRANSFORMER REPLACEMENTS
BILL OF QUANTITIES AND SUMMARY OF PRICES
SLEEVES
BILL NO. 4
ITEM | DESCRIPTION | UNIT | QTY | RATE |  | TOTAL
|  |  |  | MATERIAL | LABOUR
4.1 | SLEEVING
For the supply and installation of the following sleeves
4.1.1 | 110mm dia sleeves in trench | m | 50 |  |  |  | 42.63
4.1.2 | 50mm dia sleeves in trench | m | 0 |  |  |  | 56.88
(Unit prize required for each item)

## Earthing (5)
CSIR TRANSFORMER REPLACEMENTS
BILL OF QUANTITIES AND SUMMARY OF PRICES
EARTHING , BONDING AND LIGHTNING PROTECTION
BILL NO. 5
ITEM | DESCRIPTION | UNIT | QTY | RATE |  | TOTAL
|  |  |  | MATERIAL | LABOUR
5.1 | Earthing and lightning protection:
Measuring of earth resistance by an earthing specialist and issuing of a report
5.1.1 | Measuring of earth resistivity over the site | Sum | 1
5.1.2 | Issuing of a report | Sum | 1
5.2 | Earthing and lightning protection:
Design, supply and install lightning protection and earthing system as per general and detail specifications document.
5.2.1 | Design supply and installation of the full earthing system for the site | Sum | 1
5.2.2 | Design supply and install a complete earthing and lightning protection system for the building based on SANS 10199/ 10313/ 62305 and IEC 62305 | Sum | 1
5.2.3 | Issuing of earthing Certificates | Sum | 1

## Fire Alarm (11) (hidden)
BILL NO. 11:
FIRE ALARM INSTALLATION
Item | Description | Unit | Qty | Genl | Basement | Ground Floor | First Floor | Material Rate | Labour Rate | Total
11 | Supply, Install and commision fire alarm/protection system , simmular to Fire Class 500 System or approved.
11.1.1 | Fire Control Panel (2 loop panel (Slave)) | Ea | 2 | 0 | 1 | 0 | 1 | 23106 | 120 | 46452
11.1.2 | Fire Control Panel (1 loop panel (Master)) | Ea | 1 | 0 | 0 | 1 | 0 | 18060 | 120 | 18180
11.1.3 | Indoor Call Point / Class break unit | Ea | 20 | 0 | 4 | 11 | 5 | 1292 | 120 | 28240
11.1.4 | Call point surface mount back box | Ea | 20 | 0 | 4 | 11 | 5 | 81.6 | 120 | 4032
11.1.5 | FC loop -service tool- program detectors | Ea | 1 | 1 | 0 | 0 | 0 | 5326 | 87 | 5413
11.1.6 | Universal Mounting Base for detectors | Ea | 111 | 0 | 34 | 34 | 43 | 56 | 87 | 15873
11.1.7 | Heat detector - 25ºC to 70ºC | Ea | 30 | 0 | 27 | 3 | 0 | 652 | 120 | 23160
11.1.8 | Photo Electric smoke detector | Ea | 79 | 0 | 5 | 31 | 43 | 788 | 87 | 69125
11.1.9 | Sounder Base | Ea | 14 | 0 | 2 | 5 | 7 | 799 | 120 | 12866
11.1.10 | Loop Power Beacon | Ea | 13 | 0 | 1 | 5 | 7 | 850 | 210 | 13780
11.1.11 | Loop Isolator | Ea | 5 | 0 | 1 | 2 | 2 | 680 | 120 | 4000
11.1.12 | 2 core fire cable | m | 1075 | 300 | 250 | 260 | 265 | 8 | 7.75 | 16931.25
11.1.13 | 3 Pair Twisted mylar screened cable | Ea | 3 | 3 | 0 | 0 | 0 | 970 | 8 | 2934
11.1.14 | Fireclass software 2.0 | Ea | 3 | 3 | 0 | 0 | 0 | 970 | 8 | 2934
11.2 | Supply, Install and commision fire protection system for the kitchen canopy, simmular to the Piranha R-102 | Ea | 1 | 0 | 1 | 0 | 0 | 25000 | 5000 | 30000
11.3 | PVC Conduit, Boxes and acccessories
11.3.1 | 50 mm² Round PVC conduit box with cover | Ea | 111 | 0 | 34 | 34 | 43 | 3.33 | 25 | 3144.63
11.3.2 | 100 x 50 x 50 mm² Deep galvanized box | Ea | 15 | 0 | 5 | 5 | 5 | 3.71 | 25 | 430.65
11.3.3 | 50 x 50 x 50 mm² Deep galvanized box | Ea | 20 | 0 | 4 | 11 | 5 | 3.71 | 25 | 574.2
11.3.4 | 50 x 50 x 50 mm² Deep galvanized box | Ea | 20 | 0 | 4 | 11 | 5 | 3.71 | 25 | 574.2
11.3.5 | 300 x 300 x 100 mm² Deep galvanized box | m | 1 | 0 | 0 | 1 | 0 | 4.5 | 25 | 29.5
11.3.6 | 20 mm² PVC Conduit in concrete or fixed in ceilings | m | 775 | 0 | 250 | 260 | 265 | 2.38 | 12.5 | 11532
(Unit prize required for each item)
| Total Bill No. 11 carried forward to Summary | [8 empty] | 310205.43
Note on E13: nico:

## Auditorium Equipment(13) (hidden)
BILL NO. 13:
SUPPLY, INSTALLATION AND COMMISIONING OF SOUND AND VIDEO EQUIPMENT FOR THE AUDITORIUM
Item | Description | Unit | Qty | Material Rate | Total
13 | For the supply, installation and commissioning of Audio, Control and Video equipment:
13.1 | Video Equipment
13.1.1 | 6000 Lumen, XGA Data Projector |  | 1
13.1.2 | Standard Lens Option |  | 1
13.1.3 | Custom Made Presentation Points |  | 2
13.1.4 | Professional DVD Player |  | 1
13.1.5 | Professional Rack Mount CD Player |  | 1
13.2 | Audio Equipment
13.2.1 | 12In 8Out Digital Sound Processor |  | 1
13.2.2 | 8In Echo Cancellation with Hybrid |  | 1
13.2.3 | 500W Continuous line Array Element |  | 2
13.2.4 | Extension Subwoofer Module for 70J |  | 2
13.2.5 | 50 cm Straight Line Array Module(Side Fill) |  | 2
13.2.6 | Sound Delay Speakers |  | 2
13.2.7 | Professional Power Amplifier |  | 1
13.2.8 | Professional Power Amplifier (Control29AV) |  | 1
13.2.9 | Professional Power Amplifier (CBT-50LA) |  | 1
13.2.10 | Wireless UHF Radio Microphones |  | 2
13.2.11 | Professional Lapel Microphone System |  | 1
13.2.12 | Headworm Radio Microphone System |  | 2
13.2.13 | 4Channel Active Antennae Combiner/Splitter |  | 2
13.2.14 | Professional Gooseneck Microphone |  | 1
13.2.15 | Feedback Suppression Devices |  | 2
13.2.16 | Custom Panels for 3 Point Access |  | 3
13.3 | Control System
13.3.1 | Central Control System |  | 1
13.3.2 | Wireless Touch Panel |  | 1
13.3.3 | Docking Station for Touch Panel |  | 1
13.3.4 | Automatic VGA Switcher |  | 1
13.3.5 | Audio Distribution Amplifier |  | 1
13.4 | Installation and Cabling | Sum | 1
13.5 | Programming, Commisioning and Testing | Sum | 1
13.6 | Training and Handover. | Sum | 1
13.7 | 6 months Support and maintanance contract | Sum | 1
(Unit prize required for each item)
| Total Bill No. 12 carried forward to Summary |  |  |  | 414000

## Bulk Electrical (6)
CSIR TRANSFORMER REPLACEMENTS
BILL OF QUANTITIES AND SUMMARY OF PRICES
BULK ELECTRICAL EQUIPMENT
BILL NO. 6
ITEM | DESCRIPTION | UNIT | QTY | RATE |  | TOTAL
|  |  |  | MATERIAL | LABOUR
6.1 | ELECTRICAL EQUIPMENT
This is the bill to cover the supply, delivery installation, testing, cable termination and commissioning of all electrical equipment required for the Main Electrical supply as per Design Specification supplied. Detailed specification to be supplied for all equipment offered. Contractor to indicate period for Warranty and Gaurantee as per supplied Techical Schedules A and B
6.1.1 | 500kVA 11000/415V TYPE B MINISUB COMPLETE WITH RM6 SF6 RING MAIN UNIT (Schedule A and B to be submitted with Tender) | each | 1
6.1.2 | 250kVA 11000/415V TYPE B MINISUB COMPLETE WITH RM6 SF6 RING MAIN UNIT (Schedule A and B to be submitted with Tender) | each | 1
6.1.3 | MINISUB-Pre-cast Plinth | Sum | 2
6.1.4 | All notices and signs as per the OHAS act | Sum | 1

## Chromadek Shelter (7)
CSIR TRANSFORMER REPLACEMENTS
BILL OF QUANTITIES AND SUMMARY OF PRICES
BULK ELECTRICAL EQUIPMENT
BILL NO. 7
ITEM | DESCRIPTION | UNIT | QTY | RATE |  | TOTAL
|  |  |  | MATERIAL | LABOUR
7.1 | Chromadeck Shelter
This is the bill covers the supply, delivery, installation of Chromadek Shelter and Paving surround to Mini-Substation Bases and finishes
7.1.1 | Chromadek Shelter and Paving surround to Mini-Substation Bases: Pitched Chromadek covered steel structures to match existing on site, 3.3 x 5.2m, maximum 3m high. | each | 2
| Excavation:Excavate in soft soil 3.5m x 5.5m wide x 150mm deep. Excavated soil, grass and plants to be removed off site, to a legal dumping site. | m³ | 8
7.1.2
7.1.3 | Sub Base Compaction of ground surface under paving includes scarifying for a depth of 150mm, breaking down oversize material where necessary, areas opened deeper than 150mm (move services) to be completely opened and backfilled/compacted in layers of not more than 150mm. Stabilize with 3% cement (50kg/8m²) dampen and compact to 95% Mod AASHTO density, all to be weed and insecticide treated. | Sum | 2
7.1.4 | Bedding Layer Spread and level clean river sand bedding, 30mm thick after compaction. | m³ | 1
7.1.5 | Paving Blocks (14m²/mini-sub) “Infraset” 50mm Cottage Stone concrete paving blocks (to match existing) laid with bevel face down, in brick bond pattern. Paved areas edges to be finished with a full header course, all sides. Compact and sweep clean plaster-sand/cement mixture into joints between blocks, wet remainder of mix, vibrate wet mixture with plate compactor in to joints, hose down with clean water. | m² | 35
7.1.6 | Kerbing (17lm/mini-sub) | m | 36
KC31 Type light duty concrete kerbing to garden/lawn side of pathway, on min. 50mm concrete base, laid with 10mm perps between kerbing sections, perbes to be grouted with dagga and properly cleaned, leave open purbes @5m c/c. To allow for expansion. Provide unreinforced concrete haunching at back of each joint. Top of kerbing installed level with lawn and paving surfaces, 1m lengths used on straight sections and 300mm sections used on curved sections smaller than 5m radius.
7.1.7 | Landscaping: Direct surroundings of new pathway, levels to be adjusted to not exceed 1:12 gradient, level and reinstate lawn by using existing removed lawn, stockpiled for reuse | sum | 2
7.1.8 | Builders Rubble: Remove all redundant rubble from site and move to legal dumping site. Chromadek Shelter (Allow provisional sum of R 20 000.00/mini sub) | sum | 2 |  |  | 40000

## Decommissioning (8)
CSIR TRANSFORMER REPLACEMENTS
BILL OF QUANTITIES AND SUMMARY OF PRICES
DECOMMISSIONING OF ELECTRICAL EQUIPMENT
BILL NO. 8
ITEM | DESCRIPTION | UNIT | QTY | RATE |  | TOTAL
|  |  |  | MATERIAL | LABOUR
8.1 | DECOMMISSIONING OF ELECTRICAL EQUIPMENT
The Contractor to Decommision all Transformers a, cables, MV Equipment and Buy as Scrap material
8.1.1 | Building 3, 250kVA 11kV/400V Transformers with Associated LV Equipment | each | 3
8.1.2 | Building 3, 11kV Breakers with Associated MV Equipment including Busbars and Cables | each | 3
8.1.3 | Building 33, 250kVA 11kV/400V Transformers with Associated LV Equipment | each | 2
8.1.4 | Building 33, 11kV Breakers with Associated MV Equipment including Busbars | Sum | 2
8.2 | REDUNDANT EQUIPMENT
| Offer Price for Redundant Equipment | Sum | 1

## Summary
CSIR TRANSFORMER REPLACEMENT |  | Sub Total
BILL 01 | P&G
BILL 02 | Cables and Ground Works-Building 3
BILL 03 | Cables and Ground Works-Building 33
BILL 04 | Sleeves
BILL 05 | Earthing and Lightning Protection
BILL 06 | Bulk Electrical Equipment
BILL 07 | Chromadeck shelter
BILL 08 | Decommissioning
SUB TOTAL
10% Contingency
SUB TOTAL
15% Vat
TOTAL