## LCOE
INPUTS TO BE PROVIDED BY TENDERERS | [8 empty] | RESULT 1: BASIS FOR FINANCIAL EVALUATION OF PROPOSALS
Minimum requirement by CSIR (not to be modified)
Design system installed DC capacity |  | kWp | 900 | [5 empty] | Levelised Cost of Energy (LCOE) after-tax (nominal, escalating) | [5 empty] | #DIV/0! | R / kWh
Tendered price for EPC part |  | R
Tendered price for O&M for the first 3 years |  | R/yr
Guaranteed Performance Ratio (PR) during O&M period
INPUTS PREDEFINED BY CSIR (not to be modified) | [8 empty] | RESULT 2: BASIS FOR CALCULATION OF LIQUIDATED DAMAGES
Lifetime | 25 | yrs | [6 empty] | Liquidated damages per percentage point of underperforming PR | [5 empty] | #DIV/0! | R / %
Duration of O&M contract | 3 | yrs
Penalty factor for PR underperformance | 1.5
Efficiency loss after O&M period | 0.4% | / yr
OPEX after end of tendered O&M contract | 250 | R / kWp / yr
Replacements in year 11 as percentage of initial CAPEX | 5%
Inflation | 6%
WACC = discount rate (nominal) | 10%
Average GHI at site (historically) | 2040 | kWh / m2 / yr
Specific energy yield during O&M period | 0 | kWh / kWp / yr
CALCULATIONS AS DEFINED BY CSIR (not to be modified)
Year -->
| Unit | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Production on/off | ./. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
Energy | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenue |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CAPEX | R | Year --> 1: 0; Year --> 11: 0
OPEX | R | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash flow | R | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total cash flow discounted (nominal) | R | Year --> 1: 0
Energy stream | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total energy discounted (nominal) | kWh | Year --> 1: 0
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Note on K4: Tobias Bischof-Niemz: The lower the LCOE value, the more scoring points the tenderer will receive in the financial evaluation; the LCOE as calculated in this model are the "price" which is the basis for the financial evaluation of the proposal
Note on B7: Tobias Bischof-Niemz: PR for this project is defined as the ratio between net electric energy fed into the grid at the metered interconnection point per installed nominal DC module capacity in kWh / kWp during the contracted O&M period (numerator), and the total Global Horizontal Irradiation (GHI) as measured by a CSIR-maintained reference solar cell at site per area in kWh / m2 during the same period (denominator), multiplied with a unit conversion factor of 1 kWp / m2
Note on K13: Tobias Bischof-Niemz: For every percentage point that the actual average PR during the contracted O&M period is below the guaranteed PR as provided by the tenderer, liquidated damages as calculated here have to be paid by the tenderer to CSIR
Note on C17: Tobias Bischof-Niemz: in today's Rand
Note on C18: Tobias Bischof-Niemz: in today's Rand